## Slide 1: MZI tuning
Aleksandr Romanov
Quantum optics at IOTA
11 February 2022

## Slide 2: MZI alignment
There are 2(+2) free parameters (two planes):
  The points of splitting at the last splitter should coincide: 1+1
  Incident angles at the last splitter should coincide: 1+1
Horizontal plane:
  Point of contact can be adjusted with a single translation stage of any mirror or splitter
  Two angular modes:
    Rotation of the last splitter
Vertical plane
  Translation: +a tilt of the first splitter & -a tilt of the mirror in the reflected arm
  Two angles
    Tilt of the last splitter

## Slide 3: MZI components shifts in plane

## Slide 4: MZI components tilts in plane

## Slide 5: MZI delay tuning
Horizontal plane adjustment:
Reflected arm
  +a tilt of the first splitter, +a tilt of the second mirror & shift of the second mirror to keep spot at the last splitter fixed
Path-through arm
  +a tilt of the second mirror, shift of the second mirror to keep spot at the last splitter fixed & +a tilt of the last splitter