## Slide 1
Cryomodule Coupler Test Stand
Brayden Bahnke
Mechanical Engineering, University of Alaska--Fairbanks
Supervisor: Josh Helsper
5 minutes, 5 slides meeting
June 15, 2022

## Slide 2: Proton-Improvement-Plan II (PIP-II)
PIP-II
Uses
  Power Muon Experiments
  Fermilab test beam facility
  Neutrinos for DUNE
Linear accelerator
  1 MW proton beam
  superconducting radio-frequency
    Temperatures down to 2 Kelvin!

## Slide 3: Couplers
Coupler attached to cryomodule
Provide energy to the accelerators in the cryomodules
  Subject to extreme cold and vacuum
  Delicate internal components
Sourced out of UK
How can we make sure they work?
Fermilab employees, public office holders, and international collaborators meet for the groundbreaking of PIP-II.

## Slide 4: Vacuum Coupler Test Stand
NX Master model of the test stand with coupler highlighted
Why
  $$$
  Quality control
How
  Clean room
    Place coupler under a vacuum
  Cool it
  Test power
So what is the project?

## Slide 5: So, what’s the issue?
Photo of test stand with vacuum assembly installed (above)
CAD model of test stand (left)
Test stand shortcomings
  Difficult to assemble
  Labor intensive
  No way to compensate for axial deviation
  Additional components necessary post-completion

## Slide 6: The End Goal
Digital rendering of PIP-II facility (above)
New test stand
  Proper component support
  Efficient to set up
  Tolerant of misalignment
Learning outcomes
  Familiarity with NX CAD program
  Understand Fermilab Design Process
  Large scale-CAD document management
PIP-II facility under construction with the cryomodule building framed up. June 13, 2022.