## Slide 1
650 MHz Coupler Test Stand Redesign
Brayden Bahnke
Mechanical Engineering, University of Alaska--Fairbanks
Supervisor: Josh Helsper
Final Presentation
August 8, 2022

## Slide 2: Background
Plan for PIP-II to supply neutrino beam to LBNF/DUNE
PIP-II
  Cryomodule
    Couplers
Each coupler tested before install
  Radio Frequency Performance
Coupler mounted to test cavity assembly

## Slide 3: Purpose
Current Test Stand in use with hastily sketched air side components in red and blue arrows indicating their attachment points
Test Stand Shortcomings
Increased testing load
Goals:
  Save Time
  Equipment
  Reduce Risks

## Slide 4: Shortcomings
Photo of test stand with vacuum assembly installed (above)
CAD model of test stand (left)
Difficult to assemble
Labor intensive
Lack of axial deviation compensation
Components added post-design

## Slide 5: Methods
NX Master model of the test stand with coupler highlighted
User Feedback
Failure Mode Effects Analysis
  Design
  Process
Brainstorming
  Other Coupler Stands
  3 designs for each mechanism
Teamcenter and NX
A small portion of the FMEA
A rough sketch done during the brainstorming phase

## Slide 6: Former Test Cavity Mechanism
Former Test Cavity Assembly Clean Room Stand Mounting Mechanism
Difficult to mount to test stand
Tight clearances
Left: Former Test Cavity Assembly Test Stand Mounting Mechanism
Below: Test Cavity Assembly being lowered onto the test stand

## Slide 7: Redesigned Test Cavity Mechanism
Redesigned Test Cavity Assembly Mounting Mechanism
Mobile Test Stand
  Semi-Permanent Bracket
Pin guides
Pitch Adjusters
Redesigned Test Cavity Assembly Mounting Mechanism

## Slide 8: Coupler Supports
Redesigned Coupler Support
Holder Bolts
8020 Linear Rail
Former Coupler Supports

## Slide 9: Waveguide Support
Redesigned Waveguide Support
Linear movement
  Inner conductor
Height Adjustment
Air Side Outer Conductor Support
  Bellow Brackets
Waveguide support as it is currently

## Slide 10: Mobility Changes
Redesigned Test Stand
Wheel height/rotation
  Castors
Forklift guides
Strap guides
Former Test Stand.

## Slide 11: Remaining Work
Drafting
Final Design Review
Procurement of Materials
Production
Use
Current state of the test stand assembly

## Slide 12
Josh Helsper (Supervisor)
Carrie McGivern (Mentor), Donovan Tooke (Mentor), and the members of Group 2
SIST Committee
Thank you