## Slide 1: NGLS Layout and Cryomodules Russell Wells - NGLS Integration Fermi National Accelerator Laboratory March 15, 2012
Orinda
Great Valley Group

## Slide 2: Tunnel Through Single Rock Formation
Linac Tunnel
ALS
Orinda Formation Removed, Tunnel Fully Exposed

## Slide 3: NGLS Viewed From Bevatron Flat
Chicken Barn
(Excavation Shaft)
Bevatron Flat
Linac Tunnel
Spreader Cavern

## Slide 4: Buildings on Bevatron Flat
Cryomodule Acceptance Test Facility
Electrical Utilities
Mechanical
Utilities
Experimental
Hall
Earth Cover
(radiation shielding)
BLOC
Office Space
Cryosystem
Technical
Assembly

## Slide 5: NGLS Overlay on Hill Topo
Assumptions:
2.4 GeV electron energy
36 deg. Cumulative bend angle
Level tunnel
No added photon drift length
15m FEL – e-Dump drift length
53m Photon beam lines
Excavation shaft
Bevatron Flat
Electron gun
Photon Beam lines
Chicken Ck
Tunnel orientation defined by shape of Bevatron Flat and location of Chicken Creek

## Slide 6: FEL - Photon Beam lines on Bevatron Flat
Roadway
Parking Lot
(at grade)

## Slide 7: Possible Linac Expansion
277 meters
Electron Gun
Lab Boundary
Lab Property
Lab Property
Distance to Lab Boundary

## Slide 8: Electron Beam line
Bremsstrahlung shielding
Dipole magnet pair,
electron beam offset
Branch 1
Branch 10
Electron dump
Spreader Cavern
Branch Tunnels

## Slide 9: Earth Provides Cover over FEL Tunnels
Earth Cover
End Shield Wall
(no electrons pass this wall)
Photon Beam Lines
(multiple “end stations” per beam line)
Shielding required to attenuate radiation generated by stopping stray high energy electrons

## Slide 10: Free Electron Laser (FEL) Tunnels
FEL Tunnels
Spreader Cavern
10 ft Steps
Secant Wall

## Slide 11: Tunnels removed showing FELs
Undulator arrays

## Slide 12: Electron “Dumps” Located Below Grade
Electrons are magnetically deflected out of the photon beam path at the end of the FEL. The electrons are absorbed in “dumps” several meters below grade to take advantage of earth shielding.
Beam dump

## Slide 13: Electron Beam is Distributed to 10 FELs via the “spreader”
Concrete shielding
Beam Spreader
(beam distribution magnets)

## Slide 14: Linac Tunnel Cross Section
Concrete Tunnel
Extra thick invert to minimize differential settlement
Electronics Racks,
Includes RF power
supplies
Cable tray
HVAC
Duct
Cryomodules
Electron Gun
Cryogenic
Distribution
Water
Radiation
Shield Wall
Drain, for tunnel exterior

## Slide 15: Single Tunnel Design
Power supplies and accelerator modules must coexist. In tunnel maintenance and trouble shooting during operation is not possible due to radiation hazard. Current thinking is to modularize all “in-tunnel” equipment for rapid removal and replacement.

## Slide 16: Flaws and omissions in layout
Gas Storage for Cryosystem
Size of Cryosystem building may be insufficient
  “Cold boxes” housed in external vacuum enclosures. Suggested by Jlab but atypical
  Compressor building may be under-sized, remote location may be preferred due to vibration.
High Power Beam Dump
  Evaluation of absorber options: Water vs. solid vs. gas
Beam dump handling (radioactive material)

## Slide 17: Summary of Key Dimensions
Linac Tunnel 5.8 m wide x 3.82m tall (max)
Spreader Cavern 12 m wide x 6.2m tall (max)
Earth Cover ~7500 m2 x 5 m thick (?)
BLOC 2775 m2 (total, three floors)
Technical Prep Bld 768 m2 (highbay)
Elect Utility 622 m2
Mech Utility 1586 m2 (includes roof)
Cryosystem Bld 429 m2 (highbay), plus 3 ea. 2m dia. vacuum enclosures
CATF 435 m2 + 3 m wide x 124 m long tunnel
FEL tunnels 3 m wide x 124 m long, 10 each
Size and layout of structures under review
SmithGroup (A&E Firm) contracted to do a civil “Programming” study
  Evaluate space requirements for office and technical areas
  Size mechanical and electrical utilities
  Review tunnel cross section, incorporate utilities and address fire safety and egress issues

## Slide 18: NGLS Dimensions
Linac
Spreader
FEL
Photon Beam
Electron Drift Region
Injector
L1
L2
L3
BC1
BC2
Laser Heater

## Slide 19: Cryomodule Locations within Linac
Laser Heater
Harmonic Linearizer
(3rd Harmonic Cavity)
Bunch Compressor 1
Bunch Compressor 2

## Slide 20: Some Open Issues
Linac Length
  HOM absorbers may be needed within cryomodules, adds length
  Accelerating gradient TBD, higher gradient reduces length
Cryosystem size (He refrigerator and distribution)
  Helium Refrigerators for 2K - limit appears to be ~4.5MWe
  Effficiency increases with scale
  Cost doubles with number of refrigerators
Spreader
  New kicker/septum design may reduce length
  Bend angle may have flexibility, allows better fit on Hill site
    30 deg bend preserved beam quality, 36 deg being evaluated.

## Slide 21: Initial Conceptual NGLS Cryomodule

## Slide 22: Background
Cryosystem and cryomodule systems combined are ~30% of the total machine cost.
The cryomodule design has a strong influence on conventional facilites.
Cryomodule acceleration energy, stability and reliability are key machine parameters.
Cryosystem and cryomodule systems are inseparable
  Developments in one typically influence the design of the other.
  Typically the cryomodule design drives the system optimization but CW acceleration my change the balance due to high energy consumption.

## Slide 23: Initial NGLS Concept Cryomodule
Linac Composed of Independent Cryomodules (full segmentation)
7 TESLA 9 Cell Cavities per CM
No magnets within CM
Cryomodules length limited to about 12.5 meters for easy transport and installation
Moderate Gradient, 14 – 16 MV/m at 1.8 – 1.9K
2.4 GeV from 27 CMs

## Slide 24: Cryomodule Heat Load and Power Required

## Slide 25: General Issues
Operating gradient (function of Q, effects cryoplant capacity, construction costs, reliability…)
Operating temperature (effects Q, cryoplant and distribution costs)
Cryomodule segmentation (single vs. string) has implications on space utilization, transportation, installation, maintenance, machine reliability/availability.
Pressure stabilization of helium baths in CM’s and optimization of controls for the cold compressors.
Real time monitoring of cryomodule performance.
Cryomodule design (numerous variables and options)

## Slide 26: Cryomodule Design Issues
HOM power dissipation structures
Number of cavities within a single module
Shield temperature and arrangement
Final cryogenic stage internal or external to module
Cold vs. warm magnets
Type of main power coupler (wave guide vs. coaxial)
Nucleate boiling bubble suppression (pressurized cryostat)
Tuner type and access
Selection and sizing of cryogenic circuits.
Minimization of acoustic noise.
Compact warm to cold transitions.
Cornell HOM
absorber

## Slide 27: R&D vs. Design Studies
Most of the issues listed previously fall into the category of design studies, a subset require research effort to inform the design.
Plan to use existing designs where possible.
R&D tasks typically require a facility that has a significant existing installed infrastructure.
  Helium cryoplant
  Test cryostats capable of single cavity tests
  RF measurement equipment
  RF power (in some cases)
  Temperature and pressure measurement systems adapted for cryogenic applications

## Slide 28: Cryomodule R&D – Major issues
Cavity Q as a function of cavity processing at moderate gradient
  Possible improvements in surface processes (BCP, CBP, EP, heat treatment, HP rinse) and raw material processing (RRR, inclusions, large grain vs. fine grain, etc).
  Needed by CD1
HOM power absorption structures
  Presently being studied by Cornell for ERL up to 10GHz
  Short pulses in the NGLS design generates HOM into the THz range.
  Needed by CD1
Cavity Q as a function of acoustic noise (from localized nucleate flow bubble formation/collapse )
  Single cavity in test cryostat with heater and acoustic monitoring equip.
  Effects geometry of two-phase flow pipe, cryoline and cryoplant design.
  Needed by CD1

## Slide 29: Cryomodule R&D – Technically significant
“In module” heat exchanger assembly.
  Validate concept via design study by CD1
  Cold test of heat exchanger in prototype cryostat required
  Needed by CD2
Tuner motor, 80K option.
  Bench test with thermal shock capability
  Preliminary warm vs. cold down select by CD2
  Cold option prototype validated by CD3

## Slide 30: Summary
NGLS Layout takes advantage of LBNL Hill features:
Experimental Hall is on grade
Linac is buried under hill (natural radiation shielding)
Utilizes recently cleared Bevatron flat, the largest level spot at LBNL.
NGLS fits the Bevatron flat without reliance on improvements in undulator technology.
The Linac tunnel has room for future extension.
NGLS Cryomodules exist only in conceptual form
No existing cryomodule is a perfect fit for NGLS
Dynamic heat loads have a major impact on the global optimization of NGLS
Major questions regarding the cryomodule design are yet to be answered
Where possible the CM design will leverage existing knowledge and expertise.