## sources (37)
Location | Source ID | Isotope | Assigned To | Ext | Original MicroCuries | Decayed MicroCuries | Received | Configuration
AD-RCT HOT SHOP | 137-3.3-2 | CS-137 | Fulgham, Joel - 09634N | 6525 | 3000 | 939.804 | 1972-02-17 | ACCOUNTABLE 6-32 WAND 2.2 mR/hr at 1' in July 2021
AD-RCT OFFICES AREA | 137-0.3-15 | CS-137 | Fulgham, Joel - 09634N | 6525 | 3 | 1.136 | 1980-04-29 | SOURCE CHECK STATION 5
AD-RCT OFFICES AREA | 137-0.3-19 | CS-137 | Fulgham, Joel - 09634N | 6525 | 3 | 1.136 | 1980-04-29 | SOURCE CHECK STATION 5
AD-TRANS GALLERY NORTH BOX 14 | 137-1.2-1 | CS-137 | Thurman-Keup, Randy - 13957N | 6861 | 25 | 7.828 | 1972-02-09 | SS CAP 8-32 THRD WAND
AD-TRANS GALLERY NORTH BOX 14 | 90-3.1-51 | SR-90 | Thurman-Keup, Randy - 13957N | 6861 | 1000 | 406.31 | 1985-05-03 | SWIC SOURCE 2 MR/HR AT 1' MARCH 2015
BNB & NEUTRINO CAMPUS-LIQUID ARGON TEST FACILITY BOX 2 | 226-1.2-2 | RA-226 | Joe, Cindy - 15496N | 3886 | 13.6 | 13.504 | 2006-01-18 | RADON SOURCE IN METAL CYLINDER INSTALLED IN LArTF GAS LINE OR ON TOP OF MICROBOONE CRYOSTAT
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 133-0.1-3 | BA-133 | Hong, Ziqing - 16678V | - | 1 | 0.572 | 2013-09-30 | 1 INCH DISK
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 137-2.3-2 | CS-137 | Hong, Ziqing - 16678V | - | 270 | 84.582 | 1972-02-17 | ACCOUNTABLE SS CAP 6-32 THRD MAY BE INSTALLED IN NEXUS CLEAN ROOM UNDERGROUND
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 22-0.1-3 | NA-22 | Kurinsky, Noah - 31878V | - | 1 | 0.164 | 2015-08-05 | 1 INCH PLASTIC DISK
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 241-0.1-29 | AM-241 | Kurinsky, Noah - 31878V | - | 1 | 0.972 | 2004-08-31 | 3 MM FOIL INSTALLED IN 2 INCH DISK
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 57-0.1-2 | CO-57 | Kurinsky, Noah - 31878V | - | 1 | 0 | 2012-05-23 | 1 INCH ORANGE RED DISK USPAS SOURCE
BNB & NEUTRINO CAMPUS-MINOS SERVICE BUILDING BOX 8 | 60-1.5-1 | CO-60 | Hong, Ziqing - 16678V | - | 50 | 3.237 | 2001-07-20 | 8-32 WAND SOURCE
BNB & NEUTRINO CAMPUS-SBN NEAR DETECTOR BUILDING BOX 16 | 137-2.3-1 | CS-137 | Acciarri, Roberto - 16108N | - | 270 | 84.54 | 1972-02-09 | ACCOUNTABLE 8-32 WAND
BNB & NEUTRINO CAMPUS-SCIBOONE BOX 23 | 137-0.1-27 | CS-137 | He, Julie - 34048V | - | 1 | 0.951 | 2020-03-09 | 1 INCH PLASTIC DISK/UC DAVIS/ANNIE - INSTALLED IN DETECTOR TANK
BNB & NEUTRINO CAMPUS-SCIBOONE BOX 23 | 60-0.1-3 | CO-60 | He, Julie - 34048V | - | 1 | 0.631 | 2018-11-15 | 1 INCH PLASTIC DISK
MESON-MESON DET WEST BOX 7 | 137-1.1-25 | CS-137 | Kiburg, Mandy - 15393N | 2459 | 10 | 7.54 | 2010-02-25 | 1 INCH DISK PLA
MESON-MESON DET WEST BOX 7 | 90-3.1-37 | SR-90 | Kiburg, Mandy - 15393N | 2459 | 1000 | 305.714 | 1973-08-21 | STD BETA GUN MAY BE INSTALLED IN TEST SETUP
NEUTRINO-A/B BRIDGE TIMING LAB | 106-3.5-5 | RU-106 | Apresyan, Artur - 33335N | 2697 | 5000 | 1893.751 | 2020-12-18 | ACCOUNTABLE BETA GUN INSTALLED IN CUSTOM DOGHOUSE USED IN EXPERIMENT BOX A3203-4 CAPSULE MODEL PHI-106
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 106-3.5-4 | RU-106 | Heller, Ryan - 36964N | - | 5000 | 211.92 | 2017-10-12 | ACCOUNTABLE A3203 CAP IN STD BETA GUN
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 22-1.5-1 | NA-22 | Hong, Ziqing - 16678V | - | 50 | 2.857 | 2011-08-18 | 1 CM DISK POSN, 9.53 MM/0.375 INCH DIA
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 241-0.1-60 | AM-241 | Uemura, Sho - 44395N | - | 1 | 0.972 | 2004-08-31 | 3 MM FOIL IN 2 INCH AL DISK - MAY BE INSTALLED IN CROSS 3 VESSEL
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 241-0.1-62 | AM-241 | Uemura, Sho - 44395N | - | 1 | 0.972 | 2004-08-31 | 3 MM FOIL IN 2 INCH AL DISK - MAY BE INSTALLED IN LAB A CROSS 3 VESSEL
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 241-2.1-10 | AM-241 | Uemura, Sho - 44395N | - | 100 | 99.676 | 2020-05-08 | ACCOUNTABLE A-2 CAPSULE INSTALLED IN CCD TEST ROOM
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 55-3.1-11 | FE-55 | Kuk, Kevin - 06862N | 2788 | 1000 | 0.295 | 1990-09-14 | A-2 CAP INSTALLED IN LAB C NORTH CLEAN ROOM VACUUM VESSEL
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 55-3.1-12 | FE-55 | Kuk, Kevin - 06862N | 2788 | 1000 | 0.295 | 1990-09-14 | A-2 CAPSULE INSTALLED IN LAB A DARK RM VACUUM VESSEL
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 55-3.3-1 | FE-55 | Diehl, Thomas - 09403N | 8307 | 3000 | 0.169 | 1984-04-06 | A2 CAPSULE INSTALLED IN CCD TESTING ROOM
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 55-3.3-2 | FE-55 | Diehl, Thomas - 09403N | 8307 | 3000 | 0.169 | 1984-04-06 | A-2 CAPSULE INSTALLED CCD TESTING RM
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 60-2.1-2 | CO-60 | Kuk, Kevin - 06862N | 2788 | 100 | 6.473 | 2001-07-20 | WAND SOURCE
NEUTRINO-LAB C/D X-CONNECT BOX 5 | 90-3.1-41 | SR-90 | Heller, Ryan - 36964N | - | 1000 | 311.072 | 1974-05-09 | STD BETA GUN
NEUTRINO-NM4 BOX 15 | 106-2.2-1 | RU-106 | Tesarek, Rick - 12680N | 8609 | 187 | 0 | 1998-04-02 | 2 INCH DISK
NEUTRINO-NM4 BOX 15 | 106-3.4-9 | RU-106 | Tesarek, Rick - 12680N | 8609 | 4000 | 0.001 | 2000-03-06 | BETA GUN
NEUTRINO-NM4 BOX 15 | 106-3.5-3 | RU-106 | Tesarek, Rick - 12680N | 8609 | 5000 | 0.022 | 2004-06-21 | 2 INCH DISK
NEUTRINO-NM4 BOX 15 | 137-2.2-2 | CS-137 | Tesarek, Rick - 12680N | 8609 | 170 | 53.411 | 1972-04-03 | ACCOUNTABLE SS CAP 8-32 THRD WAND
NEUTRINO-NM4 BOX 15 | 55-2.1-141 | FE-55 | Tesarek, Rick - 12680N | 8609 | 100 | 0.011 | 1986-12-18 | A2 CAPSULE
NEUTRINO-NM4 BOX 15 | 55-4.1-6 | FE-55 | Tesarek, Rick - 12680N | 8609 | 10000 | 823.253 | 2012-08-24 | 15 MM X 5 MM CAPSULE BKGRD DOSE RATE
NEUTRINO-NM4 BOX 15 | 90-3.1-38 | SR-90 | Tesarek, Rick - 12680N | 8609 | 1000 | 305.714 | 1973-08-21 | 312 CAP/BETA GUN
PROTON-PAB BOX 6 | 241-0.1-38 | AM-241 | Mu, Wei - 38396N | 8736 | 1 | 0.972 | 2004-08-31 | CUSTOM SOURCE HOLDER CONTAINING 241-0.1-38, 39, AND 40 INSTALLED IN TALLBO
PROTON-PAB BOX 6 | 241-0.1-39 | AM-241 | Mu, Wei - 38396N | 8736 | 1 | 0.972 | 2004-08-31 | CUSTOM SOURCE HOLDER CONTAINING 241-0.1-38, 39, AND 40 INSTALLED IN TALLBO
PROTON-PAB BOX 6 | 241-0.1-40 | AM-241 | Mu, Wei - 38396N | 8736 | 1 | 0.972 | 2004-08-31 | CUSTOM SOURCE HOLDER CONTAINING 241-0.1-38, 39, AND 40 INSTALLED IN TALLBO
PROTON-PAB BOX 6 | 241-0.1-42 | AM-241 | Ourivio Escobar, Carlos - 06353N | 4519 | 1 | 0.972 | 2004-08-31 | 3 MM FOIL IN CUSTOM HOLDER - INSTALLED IN TALLBO
PROTON-PAB BOX 6 | 55-4.1-7 | FE-55 | Christian, David - 05639N | 4001 | 10000 | 886.292 | 2012-12-07 | IEC1333, VZ-2877 CAPSULE MAY BE INSTALLED IN GOAT VESSEL
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 241BE-5.2-1 | AM-241-BE | - | - | 100000 | 94632.595 | 1988-01-04 | ACCOUNTABLE X.3 CAPSULE/100 MILLICURIES/210000 NEUTRONS PER SEC- IAEA CAT 4
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 241BE-6.7-1 | AM-241-BE | - | - | 3000000 | 2839102.619 | 1988-01-14 | ACCOUNTABLE X.4 CAPSULE/3 CURIES/6500000 NEUTRONS PER SEC - IAEA CAT 3
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 241BE-7.2-1 | AM-241-BE | - | - | 10000000 | 9463966.548 | 1988-01-21 | ACCOUNTABLE X.14 CAPSULE/10 CURIES/20000000 NEUTRONS PER SECOND - IAEA CAT 3
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 241BE-7.6-1 | AM-241-BE | - | - | 25000000 | 24129642.327 | 2000-04-20 | ACCOUNTABLE X.2043 CAPSULE/25 CURIES/5.5E7 NEUTRONS PER SECOND - IAEA CAT 2
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 252-7.2-1 | CF-252 | - | - | 5400 | 0.675 | 1988-01-28 | X.224 CAPSULE/5.4 MILLICURIES INITIAL FLUX 2.31E7 CORRECTED NEUTRONS PER SECOND
RPS RPCF-CAVE 1 NEUTRON STORAGE SAFE | 252-7.2-2 | CF-252 | - | - | 5000 | 4.566 | 1995-09-01 | ACCOUNTABLE X.224 CAPSULE/5 MILLICURIES. INITIAL FLUX 2.79E7 NEUTRONS PER SECOND - IAEA CAT 4
RPS SITE 40-HIGH BAY | 137-0.2-78 | CS-137 | - | - | 2 | 0.978 | 1991-06-01 | DUMPSTER PROBE CHECK SOURCE (ANALYST 59)
RPS SITE 40-HIGH BAY | 137-0.3-111 | CS-137 | - | - | 3 | 1.257 | 1984-09-24 | SOURCE CHECK STATION 7
RPS SITE 40-HIGH BAY | 137-0.3-164 | CS-137 | - | - | 3.1 | 1.344 | 1986-03-11 | SOURCE CHECK STATION 7
TECHNICAL-IB1 | 137-0.3-112 | CS-137 | Graden, Kathy - 08304N | 4939 | 3 | 1.257 | 1984-09-24 | SOURCE CHECK STATION 2
TECHNICAL-IB1 | 137-0.3-159 | CS-137 | Graden, Kathy - 08304N | 4939 | 3.1 | 1.344 | 1986-03-11 | SOURCE CHECK STATION 2
VILLAGE-LAB 3 BOX 10 | 55-2.1-267 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.104 | 1995-08-11 | 1 INCH DISK
VILLAGE-LAB 3 BOX 10 | 55-2.1-268 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.104 | 1995-08-11 | 1 INCH DISK WITH KAPTON TAPE
VILLAGE-LAB 3 BOX 10 | 55-2.1-269 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.117 | 1996-02-01 | 1 INCH DISK
VILLAGE-LAB 3 BOX 10 | 55-2.1-270 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.117 | 1996-02-01 | 1 INCH DISK GOOD CONDITION
VILLAGE-LAB 3 BOX 10 | 55-2.1-273 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.117 | 1996-02-01 | 1 INCH DISK GOOD CONDITION
VILLAGE-LAB 3 BOX 10 | 55-2.1-274 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.117 | 1996-02-01 | 1 INCH DISK
VILLAGE-LAB 3 BOX 10 | 55-2.1-275 | FE-55 | Rusu, Vadim - 14858N | 6725 | 100 | 0.117 | 1996-02-01 | 1 INCH DISK WITH KAPTON TAPE
VILLAGE-LAB 3 BOX 10 | 55-3.3-19 | FE-55 | Rusu, Vadim - 14858N | 6725 | 3000 | 4.563 | 1997-02-04 | 1 INCH BY 2.5 INCH CYLINDER
VILLAGE-LAB 3 BOX 10 | 55-4.1-2 | FE-55 | Rusu, Vadim - 14858N | 6725 | 10000 | 6.088 | 1993-07-12 | 0.313 INCH DIAMETER X 0.182 INCH HIGH CAPSULE
VILLAGE-LAB 5 BOX 11 | 137-2.8-1 | CS-137 | Leung, Brian - 33719N | - | 840 | 263.012 | 1972-02-09 | ACCOUNTABLE 8-32 WAND SOURCE
VILLAGE-LAB 6 HALLWAY BOX 19 | 137-1.1-28 | CS-137 | Leung, Brian - 33719N | - | 10 | 7.94 | 2012-05-23 | 1 INCH BLUE DISK - MAY BE INSTALLED IN DARK BOX
VILLAGE-LAB 6 HALLWAY BOX 19 | 207-0.5-1 | BI-207 | Leung, Brian - 33719N | - | 5 | 1.829 | 1973-11-29 | 2 INCH AL DISK
VILLAGE-LAB 6 HALLWAY BOX 19 | 22-0.1-4 | NA-22 | Leung, Brian - 33719N | - | 1 | 0.393 | 2018-11-15 | 1 INCH PLASTIC DISK