## Slide 1: 48 Hour Summary
Patrick Dowdle
June 3, 2022

## Slide 2: Summary
In general:
  Tuning to keep the machines efficient
  Supporting machine studies
  Adjusting BNB intensity as needed to keep G:RD1139 below its limit
Wednesday:
  MI65 access for leak inspection, found sprayer on Q118
  The F4 LCW pump was replaced, resumed beam to SWYD
Thursday:
  MI65TH access to check on the condensate pump
  Secured MTA and MC1
  Network switch took down ACNET and the E-log
Friday:
  NuMI condensate tank hit its upper limit, beam was halted and the TH is being accessed