## Slide 1: Photodiode Laser Measurements
May 24, 2022

## Slide 2: Raw Data (baseline subtracted)
_gen_triggered_ versions
Data collected with 5 GHz, 20 GS/s Lecroy scope located outside the laser room

## Slide 3: Raw Data (baseline subtracted)
Zoomed in at start of
_gen_triggered_ versions

## Slide 4: Raw Data (baseline subtracted)
Problem here with 2.54?!
Seems to have been filtered or heavily averaged
No recollection of this happening

## Slide 5: Normalized and Time-aligned Data
Can see the bizarre filtering of 2.54 here (purple trace on top)
All other spectra go out to the 5 GHz BW of the scope

## Slide 6: Normalized and Time-aligned Data
Knee

## Slide 7: Normalized and Time-aligned Data
Fit the initial increase below the ‘knee’ to an exponential
a0 * exp(t/a1) + a2
Knee

## Slide 8: Normalized and Time-aligned Data
The 2.54 sample once again looks different (circles)
~Value at knee

## Slide 9: Normalized and Time-aligned Data
Upward trend?
~Value at knee
Fit parameter plots are rescaled to ignore the 2.54 case

## Slide 10: Fit Decay from 50 to 1200 ns

## Slide 11: Fit Decay from 50 to 1200 ns
Shifted Laser Beam
Fit parameters are correlated

## Slide 12: Fit Decay from 50 to 1200 ns
Normal vs. Shifted Laser Beam

## Slide 13: Fit Decay from 50 to 1200 ns
These are residuals
Lots of non-exponential structure

## Slide 14: Fit of Response
Peak Value assumes 2 pF capacitance
Laser Energy assumes 1e-3 ND3 attenuation