## Slide 1
Jeff Eldred
Wednesday, Dec 28, 2022
Huddle
9am Meeting

## Slide 2: Current Plan for This Week, Next Week
NuMI Horn
- Horn move expected to take place next week (i.e. between 1/3-1/7).
- Critical path remains stripline fabrication (projected mid. January).
Booster/Linac
- Booster access for BRF15 PA to be scheduled (maybe Wed 1/4).
- Continuing to monitor Linac DTL Tank 5 vacuum.
Main Injector
- MI-30 quad VCB successfully closed yesterday, thanks EES.
- RR quad trims power supply tripped and won’t reset this morning.
- MIRF12 at MI-60 water leak, 2 column-inches over 2 days
MTest
- When will next user request take place?
- Access for MT4 target access work on 1/4 (and if needed also 1/11).

## Slide 3: Current Plan for This Week, Next Week
Complete your Just-in-Time Rad Worker training by Jan 1st.
We are in “Delayed Response” mode until Tues 1/3
Friday 12/30 meeting is in Huddle (hybrid), half-holiday
Monday 1/2 meeting is cancelled for holiday.
Friday meetings will continue to be in the Huddle (hybrid) while under COVID High conditions.

## Slide 4: Winter break operations
Legend | No-call | Delayed Response |  |  |  |  |  |  |  |  |  | 
 | 12/23/22 | 12/24/22 | 12/25/22 | 12/26/22 | 12/27/22 | 12/28/22 | 12/29/22 | 12/30/22 | 12/31/22 | 1/1/23 | 1/2/23 | 1/3/23
 | Fri. | Sat. | Sun. | Mon. | Tues. | Wed. | Thurs. | Fri. | Sat. | Sun. | Mon. | Tues.
 | ½ Lab Holiday |  |  | Lab Holiday |  |  |  | ½ Lab Holiday |  |  | Lab Holiday | 
Owl | Normal | No-Call | No-Call | No-Call | DR | DR | DR | DR | DR | DR | DR | DR
Day | DR | No-Call | No-Call | DR | DR | DR | DR | DR | DR | DR | DR | Normal
Evening | DR | No-Call | No-Call | DR | DR | DR | DR | DR | DR | DR | DR | Normal

## Slide 5: Winter break operations
The laboratory scheduled the 2022/23 voluntary winter break from December 23, 2022 through January 2, 2023. During this period, the laboratory will not shut down but slow down to performing minimum operations and critical activities.
As a critical activity, the operations of the Fermilab accelerator complex and particle physics experiments will continue, however:
During “No Call-In Zone” periods, personnel will not be called in.
During “Delayed Response” periods, a failure occurring on the off-shifts will be expected to be addressed on the next day shift. Experts will be notified and will have the option of responding promptly or waiting until the following day shift.
Exceptions: in an emergency such as one that endangers personnel or equipment, we would expect people to respond if possible.

## Slide 6: Next Meetings
09:00 meeting
  Monday and Wednesday In the Huddle (hybrid).
  Friday meetings will be in the Huddle (hybrid) during COVID High
  No meeting Monday 1/2.
Thank You All