## Slide 1
Dean (Chip) Edstrom
01/27/2023
IOTA Proton Injector Update

## Slide 2: IPI Summary
Source
  HV Enclosure work continues
    Extractor Modulator Circuit Tested– Installation Soon™
    Auxiliary Electronics Shelf In Progress*
Mechanical
  Cable Procurement Summary*
  IPI Penetration*
RF
  Engineering review of variable coupler stand expected Feb/March...?
  Req submitted for circulator stand kit
  Req submitted for penetration stand material

## Slide 3: HV Enclosure Auxiliary Electronics Shelf
TTL Fiber Receiver Modules
Cisco Fiber Network Switch
375 Convectron Vacuum Gauge
WS6 200MHz TiePie Oscilloscope
120 VAC Distribution
Interconnects

## Slide 5: HV Enclosure Auxiliary Electronics Shelf & PLC
Interconnects Block
DC
AC

## Slide 6: Cable Procurement Summary
Longest Leads (so far…)
  10 Cond: 06/12/2023 (Backordered)
  8-Pair: 06/02/2023

## Slide 7: IPI Penetration
Would like access to labyrinth
  To secure structure
Two Supports to be moved
  (Unloaded) Cable Tray
    Tray will be cut during cable pull
  LCW / Fire Protection
    Shifting support should be innocuous.