## Slide 1
David Harding for Joe DiMarco
25D50 Preliminary Design Review
6 March 2023
25D50 Proposed Magnetic Measurements

## Slide 2
The proposed AC system would be similar to the one used on measurements of C-magnet measurements for the Fermilab MuCool Project (2005). This had:
  peak field of 0.65 T
  8.33 ms half-sine pulse
  15 Hz repetition rate.
DiMarco, Joseph, et al. “A Fast-sampling, Planar Array for Measuring the AC Field of Fermilab Pulsed Extraction Magnets”, 2008.
For comparison, the STS will have:
  ~30ms pulse and 20ms flattop at center of pulse.
  15Hz repetition rate (every fourth cycle of 60Hz).
Fairly similar measurement parameters.
Measurements similar previous pulsed magnets

## Slide 3
Current pulse for STS dipole measurements

## Slide 4
The C-magnet measurements used a single, 2-layer printed circuit board with 15 identical loops.
The array of coils was simultaneously sampled at data rates of up to 100 kHz with 10 kHz bandwidth using 24-bit ADC’s.
The PCBs were 550mm long by 97.5 mm wide,
We propose building a new, curved probe to cover the full magnet integral.
A similar probe is currently in the works for measurement of Fermilab Booster gradient magnets measurements slated for later this year (15 Hz and 20 Hz sine waves).

## Slide 5
Measurements at 100kHz data acquisition sampling rate

## Slide 6
Harmonic field coefficients across the aperture can be determined

## Slide 7
Slices of field shape at currents of interest
Harmonic Fields vs Current