## Slide 1
Pressing Issues / Special Topic:
  SEWS Test
  FDR45 Trip
Items of Note: F0, MS-3, XG Roof
Contractors Onsite (verbal update)
Utility Outages – None Upcoming
Road Closures – None scheduled
Prairie burns – Sparrow Hedge Area
Infrastructure Services Division Updates

## Slide 2
Sitewide Emergency Warning System(SEWS) Test
Tasked to survey results.
Posted in TG North
Surveyed occupants in Linac/X/TG, Boosters, A0
Reported results
Special Topic:
FDR45 Trip
Culprit: Musculus (Little Mouse)
Building mechanical/electrical shake down – no issues noted

## Slide 3
F-0 Roof work underway
MCR Roof leak repairs – Raptor relocated from BT to XG.
Generator work ongoing at MI-65
Items of Note

## Slide 4
Contractors on Site
Midwest Mechanical: 2 people: BGW, BGE, MI10-MI14.
ECS: OTE Door installation.
Rachke: Site 38 HVAC.
Seivert Electric: Crane Inspections: SBNND Crane upgrade
INTERSTATE: Generator inspections - Master Substation.
Leyden Electric: D0,MDB (lighting)
MidAmerican Elevator: Elevators

## Slide 5
Utility Outages

## Slide 6
Road Closures
None Scheduled

## Slide 7
Sparrow Hedge Area – 8Mar23
Prairie Burns