## Slide 1
Chart: AutoProbe Temperature Measurements
| 40 | 50 | 60 | 70 | 75 | 80 | 86
Cermic Temperature | 32.8 | 38.6 | 44.3 | 50.5 | 56.8 | 60
Silicon Temperature | 36.1 | 43 | 50 | 57.5 | 60.3
Ceramic Temperature
From Al Ito
From Elena
Conclusion: Trust the Thermo-Resistor
read out and set the chuck temperature to
~75 Co to achieve 60 Co at the sensor
Stability is reached in 5 minutes