## WQB003 trim Summary
WQB003 | Trim Studies |  | Measurement Summary For Final Fits
Fit Average Good Points
Ref Imain | Trim Polarity | Ref # | [5 empty] | Anomaly
200 | neg | 4325469 | 4327913 |  |  |  |  | 1.203%
1000 | neg | 4325616 | 4328060 |  |  |  |  | 0.6441%
2800 | neg | 4324234 | 4324870 | 4325203 | 4328231 | 4328585 | 4329462 | 0.9365%
3600 | neg | 4325787 | 4328402 |  |  |  |  | 4.408%
200 | pos | 4326414 | 4327595 | 4328756 | 4326928 |  |  | 1.116% | 0.7996% | (Error Estimate)
1000 | pos | 4326066 | 4327079 | 4327746 |  |  |  | 0.5386%
2800 | pos | 4326567 | 4327246 | 4328907 | 4329295 |  |  | 1.373%
3600 | pos | 4326735 | 4327413 | 4329074 |  |  |  | 4.969%
Note on J9: tartaglia: calculated by averaging trim coil points at each (average) trim current, then fitting dg/di
Note on K9: tartaglia: calculated by averaging dg/di for four separate trim coil measurements

## 200neg
200 | neg
Ref # | 4325469 |  | Comments: | trim current offset by 0.6A at "zero", causes main coil strength deficit
Imain | eff Imain | strength | non-lin str |  | Itrim | strength | non-lin str
152.352 | -19.341 | 1.9589 | 0.09626 |  | -19.6186 | 1.9691 | 0.11326
162.221 | -15.5031 | 2.0742 | 0.090868 |  | -15.7428 | 2.0857 | 0.10782
171.955 | -11.7176 | 2.1899 | 0.087592 |  | -12.0572 | 2.201 | 0.1074
182.013 | -7.8062 | 2.3102 | 0.084877 |  | -8.1713 | 2.3222 | 0.10637
192.056 | -3.9006 | 2.4308 | 0.082646 |  | -4.4157 | 2.4394 | 0.10542
202.086 | 0 | 2.5516 | 0.080828 |  | -0.68003 | 2.5558 | 0.10432
211.828 | 3.7886 | 2.669 | 0.079143
221.922 | 7.714 | 2.791 | 0.077703
231.96 | 11.6177 | 2.9123 | 0.076293
242.009 | 15.5256 | 3.0344 | 0.07558
251.738 | 19.3091 | 3.1523 | 0.074535
Ref # | 4327913 |  | Comments: | [5 empty] | non-lin strength
Imain | eff Imain | strength | non-lin str |  | Itrim | strength | non-lin str | nonlin ratio | anomaly
152.426 | -19.3503 | 1.9785 | 0.11493 |  | -19.7999 | 1.9645 | 0.11329 | 0.9857 | -1.43%
162.305 | -15.5085 | 2.094 | 0.10966 |  | -15.914 | 2.0835 | 0.11003 | 1.0033 | 0.3339%
172.051 | -11.7184 | 2.2097 | 0.10622 |  | -12.1684 | 2.1991 | 0.10782 | 1.0151 | 1.506%
182.112 | -7.8058 | 2.33 | 0.10346 |  | -8.2725 | 2.3202 | 0.10645 | 1.0289 | 2.889%
192.161 | -3.8978 | 2.4506 | 0.10124 |  | -4.5369 | 2.4367 | 0.1055 | 1.0421 | 4.213%
202.184 | 0 | 2.5713 | 0.099391 |  | 0 | 2.5784 | 0.10455 | 1.0519 | 5.191%
211.918 | 3.7854 | 2.6888 | 0.09786
222.006 | 7.7086 | 2.8107 | 0.096453
232.045 | 11.6126 | 2.9322 | 0.095144
242.092 | 15.5198 | 3.054 | 0.094108
251.84 | 19.3107 | 3.1722 | 0.093152
strength
[5 empty] | <Itrim> | avg | stdev | g ratio
[5 empty] | -19.7093 | 1.9668 | 0.0032873 | 0.99408
[5 empty] | -15.8284 | 2.0846 | 0.001545 | 0.99549 |  | dg/di(main) |  | 0.011925 | [6 empty] | dg/di(trim) |  | 0.031032
[5 empty] | -12.1128 | 2.2001 | 0.0013683 | 0.99563 |  | SUMMARY OUTPUT |  | 4325469 | [6 empty] | SUMMARY OUTPUT
[5 empty] | -8.2219 | 2.3212 | 0.0014672 | 0.99622
[5 empty] | -4.4763 | 2.438 | 0.0019085 | 0.99485 |  | Regression Statistics | [8 empty] | Regression Statistics
[5 empty] | -0.34001 | 2.5671 | 0.015964 | 0.99835 |  | Multiple R | 0.99999 | [7 empty] | Multiple R | 0.99999
[10 empty] | R Square | 0.99997 | [7 empty] | R Square | 0.99998
[10 empty] | Adjusted R Square | 0.99997 | [7 empty] | Adjusted R Square | 0.99997
[5 empty] | dg/di ratio | expected | anomaly (%) |  |  | Standard Error | 0.0012867 | [7 empty] | Standard Error | 0.0011529
[5 empty] | 2.6024 | 2.5714 | 1.203% | -0.0059219 |  | Observations | 6 | [7 empty] | Observations | 6
-0.0045102
[8 empty] | -0.0043718 |  | ANOVA | [8 empty] | ANOVA
[8 empty] | -0.0037771 |  |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
[8 empty] | -0.0051483 |  | Regression | 1 | 0.24641 | 0.24641 | 148837.3946 | 2.7084e-10 |  |  |  | Regression | 1 | 0.25001 | 0.25001 | 188100.3262 | 1.6957e-10
[8 empty] | -0.0016468 |  | Residual | 4 | 6.6224e-06 | 1.6556e-06 | [5 empty] | Residual | 4 | 5.3164e-06 | 1.3291e-06
[10 empty] | Total | 5 | 0.24642 | [6 empty] | Total | 5 | 0.25001
[11 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[10 empty] | Intercept | 0.14029 | 0.0055004 | 25.5061 | 1.4033e-05 | 0.12502 | 0.15556 | 0.12502 | 0.15556 | Intercept | 2.5768 | 0.0008633 | 2984.8604 | 7.5588e-14 | 2.5744 | 2.5792 | 2.5744 | 2.5792
[10 empty] | X Variable 1 | 0.011926 | 3.0914e-05 | 385.7945 | 2.7084e-10 | 0.01184 | 0.012012 | 0.01184 | 0.012012 | X Variable 1 | 0.031032 | 7.1551e-05 | 433.7053 | 1.6957e-10 | 0.030833 | 0.031231 | 0.030833 | 0.031231
[10 empty] | SUMMARY OUTPUT |  | 4327913
Regression Statistics
[10 empty] | Multiple R | 0.99999
[10 empty] | R Square | 0.99997
[10 empty] | Adjusted R Square | 0.99997
[10 empty] | Standard Error | 0.0012704
[10 empty] | Observations | 6
ANOVA
[11 empty] | df | SS | MS | F | Significance F
[10 empty] | Regression | 1 | 0.24654 | 0.24654 | 152752.0731 | 2.5713e-10
[10 empty] | Residual | 4 | 6.456e-06 | 1.614e-06
[10 empty] | Total | 5 | 0.24655
[11 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[10 empty] | Intercept | 0.15954 | 0.0054308 | 29.3777 | 7.9934e-06 | 0.14447 | 0.17462 | 0.14447 | 0.17462
[10 empty] | X Variable 1 | 0.011923 | 3.0506e-05 | 390.8351 | 2.5713e-10 | 0.011838 | 0.012008 | 0.011838 | 0.012008

## 1000neg
1000 | neg
Ref # | 4325616 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
880.518 | -46.4994 | 10.8676 | 0.10226 | -46.4501 | 10.8839 | 0.11528
900.129 | -38.8729 | 11.11 | 0.10491 | -38.8487 | 11.1312 | 0.12348
920.401 | -30.9894 | 11.36 | 0.10701 | -31.2572 | 11.3733 | 0.12701
939.929 | -23.3952 | 11.6012 | 0.10946 | -23.6257 | 11.6172 | 0.13085
960.22 | -15.5042 | 11.8515 | 0.11171 | -15.9741 | 11.8603 | 0.13328
980.134 | -7.7599 | 12.0976 | 0.11432 | -8.3226 | 12.1037 | 0.13622
1000.088 | 0 | 12.3443 | 0.11705 | -0.84127 | 12.3423 | 0.13962
1020.023 | 7.7525 | 12.5906 | 0.11965
1039.975 | 15.5116 | 12.8371 | 0.1222
1059.916 | 23.2664 | 13.0835 | 0.12477
1079.88 | 31.0302 | 13.3298 | 0.12701
1099.789 | 38.7726 | 13.5762 | 0.12999
1119.747 | 46.5341 | 13.8227 | 0.13255
Ref # | 4328060 |  | Comments: |  |  |  |  | non-linear strength
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str | non-lin ratio | anomaly
880.599 | -46.4979 | 10.8907 | 0.12433 | -46.5082 | 10.8823 | 0.11452 | 0.92106 | -7.894%
900.215 | -38.8694 | 11.1328 | 0.12666 | -38.8867 | 11.1293 | 0.12185 | 0.96203 | -3.797%
920.465 | -30.9944 | 11.3829 | 0.12911 | -31.2552 | 11.3725 | 0.12517 | 0.96946 | -3.054%
940.014 | -23.3921 | 11.6242 | 0.13144 | -23.6938 | 11.6154 | 0.13035 | 0.99168 | -0.8321%
960.29 | -15.5069 | 11.8746 | 0.13395 | -16.0522 | 11.8593 | 0.13395 | 1 | 0.00455%
980.208 | -7.7611 | 12.1206 | 0.13645 | -8.4207 | 12.1029 | 0.13757 | 1.0082 | 0.8228%
1000.165 | 0 | 12.3673 | 0.13909 | 0 | 12.3701 | 0.14014 | 1.0076 | 0.7553%
1020.102 | 7.7533 | 12.6134 | 0.14148
1040.061 | 15.5151 | 12.8599 | 0.14396
1060.003 | 23.2703 | 13.1065 | 0.14677
1079.953 | 31.0287 | 13.3529 | 0.14927
1099.869 | 38.7738 | 13.5991 | 0.15197
1119.829 | 46.536 | 13.8457 | 0.1545
[11 empty] | avg | stdev
[9 empty] | dg/di(main) |  | 0.012348 | 1.0071e-06 | [5 empty] | dg/di(trim) |  | 0.031958
[5 empty] | strength |  |  |  | SUMMARY OUTPUT |  | 4325616 | [6 empty] | SUMMARY OUTPUT
|  |  |  | <Itrim> | avg | stdev | g ratio
|  |  |  | -46.4792 | 10.8831 | 0.0011172 | 0.99931 |  | Regression Statistics | [8 empty] | Regression Statistics
|  |  |  | -38.8677 | 11.1302 | 0.0013718 | 0.99977 |  | Multiple R | 1 | [7 empty] | Multiple R | 1
|  |  |  | -31.2562 | 11.3729 | 0.00060811 | 0.99913 |  | R Square | 1 | [7 empty] | R Square | 0.99999
|  |  |  | -23.6597 | 11.6163 | 0.0012445 | 0.99932 |  | Adjusted R Square | 1 | [7 empty] | Adjusted R Square | 0.99999
|  |  |  | -16.0132 | 11.8598 | 0.00070711 | 0.99875 |  | Standard Error | 0.00020253 | [7 empty] | Standard Error | 0.0016032
|  |  |  | -8.3716 | 12.1033 | 0.00057276 | 0.99857 |  | Observations | 7 | [7 empty] | Observations | 7
|  |  |  | -0.42064 | 12.3562 | 0.019693 | 0.99911
[9 empty] | ANOVA | [8 empty] | ANOVA
[10 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
[9 empty] | Regression | 1 | 1.6987 | 1.6987 | 41414980.532 | 1.7195e-18 |  |  |  | Regression | 1 | 1.6769 | 1.6769 | 652432.8852 | 5.5202e-14
|  |  |  | ratio | expected | anomaly (%) |  |  | Residual | 5 | 2.0509e-07 | 4.1018e-08 | [5 empty] | Residual | 5 | 1.2851e-05 | 2.5702e-06
|  |  |  | 2.588 | 2.5714 | 0.6441% |  |  | Total | 6 | 1.6987 | [6 empty] | Total | 6 | 1.6769
[10 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | -0.0047365 | 0.0018056 | -2.6232 | 0.046915 | -0.0093779 | -9.5034e-05 | -0.0093779 | -9.5034e-05 | Intercept | 12.371 | 0.0011125 | 11120.1768 | 1.1162e-19 | 12.3681 | 12.3739 | 12.3681 | 12.3739
[9 empty] | X Variable 1 | 0.012348 | 1.9187e-06 | 6435.4472 | 1.7195e-18 | 0.012343 | 0.012353 | 0.012343 | 0.012353 | X Variable 1 | 0.031958 | 3.9564e-05 | 807.7332 | 5.5202e-14 | 0.031856 | 0.032059 | 0.031856 | 0.032059
[9 empty] | SUMMARY OUTPUT |  | 4328060
Regression Statistics
[9 empty] | Multiple R | 1
[9 empty] | R Square | 1
[9 empty] | Adjusted R Square | 1
[9 empty] | Standard Error | 0.00010133
[9 empty] | Observations | 7
ANOVA
[10 empty] | df | SS | MS | F | Significance F
[9 empty] | Regression | 1 | 1.6989 | 1.6989 | 165465610.8181 | 5.3893e-20
[9 empty] | Residual | 5 | 5.1338e-08 | 1.0268e-08
[9 empty] | Total | 6 | 1.6989
[10 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 0.015959 | 0.0009035 | 17.663 | 1.0671e-05 | 0.013636 | 0.018281 | 0.013636 | 0.018281
[9 empty] | X Variable 1 | 0.012349 | 9.6002e-07 | 12863.3437 | 5.3893e-20 | 0.012347 | 0.012352 | 0.012347 | 0.012352

## 2800neg
2800 | neg
Ref # | 4324870 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
2676.16 | -46.5496 | 32.9511 | 0.23193 | -45.691 | 32.9635 | 0.21763
2695.805 | -38.9099 | 33.1894 | 0.23004 | -38.0294 | 33.2078 | 0.22056
2716.091 | -31.0209 | 33.4331 | 0.22572 | -30.4179 | 33.4453 | 0.21878
2735.74 | -23.3796 | 33.6689 | 0.22131 | -22.7664 | 33.6826 | 0.21559
2755.985 | -15.5066 | 33.9112 | 0.21606 | -15.1449 | 33.9195 | 0.2129
2775.613 | -7.8734 | 34.1459 | 0.21079 | -7.5033 | 34.1559 | 0.20903
2795.859 | 0 | 34.3876 | 0.20501 | -0.012018 | 34.3871 | 0.2048
2815.4 | 7.5993 | 34.6203 | 0.19877
2835.682 | 15.4867 | 34.861 | 0.19154
2855.305 | 23.1179 | 35.0935 | 0.18413
2875.549 | 30.9906 | 35.3328 | 0.17591
2895.194 | 38.6303 | 35.5642 | 0.16711
2915.455 | 46.5096 | 35.8023 | 0.15752
Ref # | 4325203 |  | Comments: |  |  |  |  | non-linear strength
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str | non-lin ratio | anomaly
2676.161 | -46.5453 | 32.9505 | 0.23133 | -45.673 | 32.9627 | 0.21636 | 0.93528 | -0.064719
2695.799 | -38.9083 | 33.1885 | 0.22922 | -38.0515 | 33.2065 | 0.22022 | 0.96077 | -0.039231
2716.076 | -31.0228 | 33.4323 | 0.22514 | -30.464 | 33.4429 | 0.21819 | 0.96913 | -0.030866
2735.727 | -23.3808 | 33.6679 | 0.2205 | -22.8155 | 33.6804 | 0.21512 | 0.9756 | -0.024403
2755.976 | -15.5062 | 33.9104 | 0.21539 | -15.1669 | 33.9173 | 0.21158 | 0.98229 | -0.017706
2775.595 | -7.8766 | 34.145 | 0.21011 | -7.5184 | 34.1544 | 0.20822 | 0.99101 | -0.0089864
2795.849 | 0 | 34.3864 | 0.20395 | -0.034051 | 34.3856 | 0.20405 | 1.0005 | 0.00050367
2815.395 | 7.6012 | 34.6195 | 0.198
2835.669 | 15.4856 | 34.8602 | 0.19087
2855.289 | 23.1156 | 35.0926 | 0.18342
2875.537 | 30.9898 | 35.3319 | 0.17518
2895.189 | 38.6322 | 35.5635 | 0.16643
2915.444 | 46.5092 | 35.8015 | 0.15688
[9 empty] | dg/di(main) |  | 0.011993 | [6 empty] | dg/di(trim) |  | 0.031127
[9 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
Ref # | 4328231 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str |  |  | Regression Statistics | [8 empty] | Regression Statistics
2676.251 | -46.5434 | 32.9511 | 0.23086 | -46.4932 | 32.9356 | 0.214 |  |  | Multiple R | 1 | [7 empty] | Multiple R | 0.99999
2695.89 | -38.906 | 33.1889 | 0.22849 | -38.9017 | 33.1796 | 0.21898 |  |  | R Square | 0.99999 | [7 empty] | R Square | 0.99998
2716.175 | -31.0174 | 33.4328 | 0.22442 | -31.2602 | 33.4164 | 0.21553 |  |  | Adjusted R Square | 0.99999 | [7 empty] | Adjusted R Square | 0.99998
2735.819 | -23.3781 | 33.6682 | 0.21966 | -23.6888 | 33.6538 | 0.21497 |  |  | Standard Error | 0.0012936 | [7 empty] | Standard Error | 0.0024455
2756.071 | -15.5023 | 33.9105 | 0.21438 | -16.0472 | 33.8915 | 0.21243 |  |  | Observations | 7 | [7 empty] | Observations | 7
2775.688 | -7.8734 | 34.1452 | 0.20924 | -8.3957 | 34.1282 | 0.20852
2795.934 | 0 | 34.3869 | 0.20339 | 0.0070106 | 34.3881 | 0.20413 |  |  | ANOVA | [8 empty] | ANOVA
2815.492 | 7.6059 | 34.6197 | 0.19707 | [6 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
2835.753 | 15.4852 | 34.8607 | 0.19035 | [5 empty] | Regression | 1 | 1.6026 | 1.6026 | 957657.8864 | 2.1148e-14 |  |  |  | Regression | 1 | 1.5712 | 1.5712 | 262715.544 | 5.365e-13
2855.38 | 23.1179 | 35.0931 | 0.18274 | [5 empty] | Residual | 5 | 8.3672e-06 | 1.6734e-06 | [5 empty] | Residual | 5 | 2.9903e-05 | 5.9806e-06
2875.63 | 30.9929 | 35.3322 | 0.17433 | [5 empty] | Total | 6 | 1.6026 | [6 empty] | Total | 6 | 1.5712
2895.277 | 38.6334 | 35.5637 | 0.1656
2915.54 | 46.5134 | 35.8017 | 0.15581 | [6 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 0.85791 | 0.033532 | 25.5848 | 1.7034e-06 | 0.77172 | 0.94411 | 0.77172 | 0.94411 | Intercept | 34.3895 | 0.0016756 | 20524.2852 | 5.2115e-21 | 34.3852 | 34.3939 | 34.3852 | 34.3939
[9 empty] | X Variable 1 | 0.011993 | 1.2255e-05 | 978.6 | 2.1148e-14 | 0.011961 | 0.012024 | 0.011961 | 0.012024 | X Variable 1 | 0.031127 | 6.0729e-05 | 512.5578 | 5.365e-13 | 0.030971 | 0.031283 | 0.030971 | 0.031283
Ref # | 4328585 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
2676.176 | -46.5461 | 32.9501 | 0.23075 | -46.4612 | 32.9351 | 0.2133
2695.815 | -38.9087 | 33.1881 | 0.22861 | -38.8697 | 33.179 | 0.21821
2716.096 | -31.0217 | 33.4316 | 0.22422 | -31.2282 | 33.4155 | 0.21459
2735.739 | -23.3827 | 33.6673 | 0.21976 | -23.6768 | 33.6535 | 0.21508
2755.997 | -15.5046 | 33.9096 | 0.21441 | -16.0452 | 33.8906 | 0.2122
2775.613 | -7.8762 | 34.1444 | 0.20931 | -8.3736 | 34.1276 | 0.20804
2795.866 | 0 | 34.3858 | 0.20313 | 0 | 34.3866 | 0.20376
2815.405 | 7.5985 | 34.6185 | 0.19696
2835.685 | 15.4852 | 34.8594 | 0.1899
2855.297 | 23.1121 | 35.092 | 0.18268
2875.554 | 30.9898 | 35.3313 | 0.17432
2895.192 | 38.6268 | 35.5626 | 0.16557
2915.464 | 46.5103 | 35.8007 | 0.15582
Ref # | 4329462 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
2676.331 | -46.5457 | 32.9509 | 0.22969 | -45.7651 | 32.9627 | 0.21714
2695.968 | -38.9091 | 33.1889 | 0.22761 | -38.0735 | 33.2072 | 0.21941
2716.253 | -31.0205 | 33.4327 | 0.2234 | -30.472 | 33.4443 | 0.21754
2735.897 | -23.3812 | 33.6682 | 0.21868 | -22.8205 | 33.6818 | 0.21452
2756.143 | -15.5077 | 33.9106 | 0.21355 | -15.1789 | 33.9187 | 0.21121
2775.765 | -7.8769 | 34.1452 | 0.20826 | -7.5374 | 34.1553 | 0.20749
2796.02 | 0 | 34.3868 | 0.20224 | 0 | 34.3887 | 0.20397
2815.567 | 7.6016 | 34.6195 | 0.19592
2835.835 | 15.4836 | 34.8602 | 0.18887
2855.463 | 23.1167 | 35.0927 | 0.18135
2875.715 | 30.9925 | 35.3321 | 0.17321
2895.362 | 38.633 | 35.5637 | 0.16453
2915.623 | 46.5123 | 35.8018 | 0.15498
strength
<Imain> |  | avg | stdev | <Itrim> | avg | stdev | g ratio
2676.2158 |  | 32.9507 | 0.00044189 | -45.7097 | 32.963 | 0.00045347 | 1.0004
2695.8554 |  | 33.1887 | 0.00049565 | -38.3852 | 33.196 | 0.015281 | 1.0002 | points highlighted in RED not included in averages or fit
2716.1382 |  | 33.4325 | 0.00056096 | -30.4513 | 33.4441 | 0.0011699 | 1.0003
2735.7844 |  | 33.6681 | 0.00056297 | -23.1536 | 33.6704 | 0.01534 | 1.0001
2756.0344 |  | 33.9105 | 0.00054125 | -15.5166 | 33.9075 | 0.015062 | 0.99991
2775.6548 |  | 34.1451 | 0.00053332 | -7.8657 | 34.1443 | 0.014942 | 0.99998
2795.9056 |  | 34.3867 | 0.00065771 | -0.0078118 | 34.3872 | 0.0012488 | 1
2815.4518 |  | 34.6195 | 0.00062783
2835.7248 |  | 34.8603 | 0.00060847
2855.3468 |  | 35.0928 | 0.00057365 | ratio | expected | anomaly (%)
2875.597 |  | 35.3321 | 0.00055193 | 2.5955 | 2.5714 | 0.9365% |  | 0.0003713
2895.2428 |  | 35.5635 | 0.00057277 |  |  |  |  | 0.00021953
2915.5052 |  | 35.8016 | 0.00057799 |  |  |  |  | 0.00034824
6.9086e-05
-8.6286e-05
-2.4542e-05
1.4424e-05

## 3600neg
3600 | neg
Ref # | 4325787 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
3474.13 | -46.5566 | 41.9182 | -0.55705 | -46.4802 | 41.8865 | -0.59029
3493.809 | -38.9037 | 42.1208 | -0.595 | -38.8787 | 42.1008 | -0.61588
3514.078 | -31.0213 | 42.3261 | -0.63751 | -31.2772 | 42.3063 | -0.6493
3533.729 | -23.3792 | 42.5235 | -0.68046 | -23.6257 | 42.5112 | -0.68514
3553.974 | -15.5062 | 42.7257 | -0.72577 | -15.9841 | 42.7159 | -0.7206
3573.625 | -7.8641 | 42.9206 | -0.77113 | -8.3326 | 42.9188 | -0.7583
3593.847 | 0 | 43.12 | -0.81897 | -0.83126 | 43.1175 | -0.79542
Ref # | 4328402 |  | Comments: |  |  |  |  | non-linear strength
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str | non-lin ratio | anomaly
3474.22 | -46.5562 | 41.9375 | -0.53881 | -46.5383 | 41.8832 | -0.59332 | 1.1012 | 0.10118
3493.911 | -38.8986 | 42.14 | -0.57705 | -38.9168 | 42.0972 | -0.61957 | 1.0737 | 0.073674
3514.174 | -31.0186 | 42.3445 | -0.62029 | -31.2752 | 42.3027 | -0.65428 | 1.0548 | 0.054787
3533.822 | -23.3777 | 42.5416 | -0.66345 | -23.6938 | 42.508 | -0.6874 | 1.0361 | 0.036097
3554.07 | -15.5034 | 42.7437 | -0.70893 | -16.0623 | 42.7122 | -0.72305 | 1.0199 | 0.019926
3573.717 | -7.8629 | 42.9385 | -0.75435 | -8.4107 | 42.9155 | -0.76034 | 1.008 | 0.0079501
3593.936 | 0 | 43.1377 | -0.80232 | 0 | 43.1386 | -0.80159 | 0.9991 | -0.00089872
strength
<Imain> |  | avg | stdev | <Itrim> | avg | stdev
3474.175 |  | 41.9279 | 0.013675 | -46.5092 | 41.8848 | 0.0023971
3493.86 |  | 42.1304 | 0.013569 | -38.8977 | 42.099 | 0.0025739
3514.126 |  | 42.3353 | 0.013004 | -31.2762 | 42.3045 | 0.0025385
3533.7755 |  | 42.5325 | 0.012827 | -23.6597 | 42.5096 | 0.0022486
3554.022 |  | 42.7347 | 0.012742 | -16.0232 | 42.7141 | 0.0026022
3573.671 |  | 42.9295 | 0.012664 | -8.3716 | 42.9171 | 0.0023476
3593.8915 |  | 43.1288 | 0.012544 | -0.41563 | 43.1281 | 0.014892
[9 empty] | dg/di(main) |  | 0.010024 | [6 empty] | dg/di(trim) |  | 0.026913
[9 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
[9 empty] | Regression Statistics | [8 empty] | Regression Statistics
[9 empty] | Multiple R | 0.99998 | [7 empty] | Multiple R | 0.99996
[9 empty] | R Square | 0.99995 | [7 empty] | R Square | 0.99992
[9 empty] | Adjusted R Square | 0.99995 | [7 empty] | Adjusted R Square | 0.99991
|  |  |  | ratio | expected | anomaly (%) |  |  | Standard Error | 0.0031939 | [7 empty] | Standard Error | 0.0042618
|  |  |  | 2.6848 | 2.5714 | 4.408% |  |  | Observations | 7 | [7 empty] | Observations | 7
[9 empty] | ANOVA | [8 empty] | ANOVA
[10 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
[9 empty] | Regression | 1 | 1.1201 | 1.1201 | 109807.6964 | 4.7498e-12 |  |  |  | Regression | 1 | 1.1912 | 1.1912 | 65586.2365 | 1.7227e-11
[9 empty] | Residual | 5 | 5.1005e-05 | 1.0201e-05 | [5 empty] | Residual | 5 | 9.0814e-05 | 1.8163e-05
[9 empty] | Total | 6 | 1.1202 | [6 empty] | Total | 6 | 1.1913
[10 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 7.1058 | 0.10691 | 66.4633 | 1.46e-08 | 6.8309 | 7.3806 | 6.8309 | 7.3806 | Intercept | 43.1431 | 0.0029567 | 14591.5415 | 2.8694e-20 | 43.1355 | 43.1507 | 43.1355 | 43.1507
[9 empty] | X Variable 1 | 0.010024 | 3.0251e-05 | 331.3724 | 4.7498e-12 | 0.0099466 | 0.010102 | 0.0099466 | 0.010102 | X Variable 1 | 0.026913 | 0.00010509 | 256.0981 | 1.7227e-11 | 0.026643 | 0.027183 | 0.026643 | 0.027183

## 200pos
200 | pos
Ref # | 4326414 |  | Comments:
Imain | eff Imain | strength | non-lin str |  | Itrim | strength | non-lin str
152.348 | -19.3527 | 1.9961 | 0.13342 |  | 0.68103 | 2.5911 | 0.096994
162.222 | -15.5128 | 2.1112 | 0.12782 |  | 8.1523 | 2.8254 | 0.096209
182.188 | -7.7482 | 2.3493 | 0.12185 |  | 15.8039 | 3.0657 | 0.096033
202.112 | 0 | 2.5889 | 0.11789 |  | 23.4454 | 3.306 | 0.096078
222.08 | 7.7653 | 2.8303 | 0.11508 |  | 31.107 | 3.547 | 0.096185
242.02 | 15.5198 | 3.0719 | 0.11295 |  | 38.7385 | 3.7881 | 0.097442
261.964 | 23.2758 | 3.3137 | 0.11084 |  | 46.37 | 4.0307 | 0.099958
281.875 | 31.0189 | 3.5551 | 0.10888
301.831 | 38.7796 | 3.7981 | 0.10789
321.698 | 46.5057 | 4.0403 | 0.10717
Ref # | 4327595 |  | Comments:
Imain | eff Imain | strength | non-lin str |  | Itrim | strength | non-lin str
152.419 | -19.3476 | 1.9754 | 0.11188 |  | 0 | 2.5702 | 0.09675
162.289 | -15.5093 | 2.0908 | 0.10664 |  | 8.1683 | 2.826 | 0.095651
182.251 | -7.7463 | 2.3288 | 0.10057 |  | 15.8099 | 3.0663 | 0.095738
202.17 | 0 | 2.5684 | 0.096629 |  | 23.4414 | 3.3058 | 0.095295
222.124 | 7.7599 | 2.8095 | 0.093752 |  | 31.0028 | 3.5478 | 0.099559
242.073 | 15.5178 | 3.0509 | 0.09124 |  | 37.9233 | 3.7898 | 0.12405
262.02 | 23.275 | 3.293 | 0.089535 |  | 48.4492 | 4.0995 | 0.10274
281.935 | 31.0197 | 3.535 | 0.088003
301.889 | 38.7796 | 3.7776 | 0.086636
321.754 | 46.5049 | 4.0197 | 0.085901
Ref # | 4328756 |  | Comments:
Imain | eff Imain | strength | non-lin str |  | Itrim | strength | non-lin str
152.408 | -19.3449 | 1.9752 | 0.11179 |  | 0 | 2.5696 | 0.096317
162.293 | -15.5007 | 2.0903 | 0.1061 |  | 8.2455 | 2.8282 | 0.095541 | [5 empty] | 4326414 | only | [6 empty] | fit avg pts | fits avgd
182.248 | -7.7404 | 2.3284 | 0.10023 |  | 15.877 | 3.0684 | 0.095764 |  |  | dg/di(main) |  | 0.012139 | 0.012135 | [5 empty] | dg/di(trim) |  | 0.031562 | 0.031463
202.152 | 0 | 2.5681 | 0.096524 |  | 23.5586 | 3.3094 | 0.095315 |  |  | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
222.129 | 7.7688 | 2.8091 | 0.093283 |  | 31.2302 | 3.5507 | 0.09548
242.062 | 15.5206 | 3.0507 | 0.091206 |  | 38.8717 | 3.7932 | 0.097724 |  |  | Regression Statistics | [8 empty] | Regression Statistics
262.015 | 23.2801 | 3.2926 | 0.089188 |  | 46.5533 | 4.0361 | 0.099093 |  |  | Multiple R | 1 | [7 empty] | Multiple R | 0.99999
281.929 | 31.0244 | 3.5347 | 0.087796 | [6 empty] | R Square | 1 | [7 empty] | R Square | 0.99998
301.874 | 38.7808 | 3.7776 | 0.08684 | [6 empty] | Adjusted R Square | 1 | [7 empty] | Adjusted R Square | 0.99997
321.745 | 46.5084 | 4.0196 | 0.085863 | [6 empty] | Standard Error | 0.00087586 | [7 empty] | Standard Error | 0.0027
[10 empty] | Observations | 7 | [7 empty] | Observations | 7
Ref # | 4326928 |  | Comments: | [6 empty] | ANOVA | [8 empty] | ANOVA
Imain | eff Imain | strength | non-lin str | [7 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
152.339 | -19.348 | 1.9745 | 0.11195 | [6 empty] | Regression | 1 | 1.6394 | 1.6394 | 2137003.7715 | 2.8431e-15 |  |  |  | Regression | 1 | 1.6563 | 1.6563 | 227196.9071 | 7.714e-13
162.215 | -15.5073 | 2.09 | 0.10676 | [5 empty] | non-lin strength | Residual | 5 | 3.8357e-06 | 7.6714e-07 | [5 empty] | Residual | 5 | 3.645e-05 | 7.29e-06
182.168 | -7.7478 | 2.3282 | 0.10099 |  | Itrim | strength | non-lin str | non-lin ratio | anomaly | Total | 6 | 1.6394 | [6 empty] | Total | 6 | 1.6563
202.091 | 0 | 2.5676 | 0.096759 |  | 0 | 2.5694 | 0.096716 | 0.99955 | -0.00044963
222.07 | 7.7696 | 2.8088 | 0.093771 |  | 7.3852 | 2.8008 | 0.096025 | 1.024 | 0.024037 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
242.012 | 15.5248 | 3.0503 | 0.091375 |  | 15.0267 | 3.0408 | 0.095631 | 1.0466 | 0.04658 | Intercept | 0.11318 | 0.0022003 | 51.4376 | 5.2498e-08 | 0.10752 | 0.11884 | 0.10752 | 0.11884 | Intercept | 2.5679 | 0.0018495 | 1388.4298 | 3.6786e-15 | 2.5632 | 2.5727 | 2.5632 | 2.5727
261.96 | 23.2824 | 3.2921 | 0.089379 |  | 22.6582 | 3.2809 | 0.095816 | 1.072 | 0.072029 | X Variable 1 | 0.012139 | 8.3036e-06 | 1461.8494 | 2.8431e-15 | 0.012117 | 0.01216 | 0.012117 | 0.01216 | X Variable 1 | 0.031562 | 6.6216e-05 | 476.6518 | 7.714e-13 | 0.031392 | 0.031732 | 0.031392 | 0.031732
281.877 | 31.0279 | 3.5343 | 0.088031 |  | 30.3198 | 3.5218 | 0.095854 | 1.0889 | 0.088866
301.827 | 38.7862 | 3.7772 | 0.087057 |  | 37.9613 | 3.763 | 0.096732 | 1.1111 | 0.11114
321.688 | 46.5099 | 4.0191 | 0.086108 |  | 45.6029 | 4.0052 | 0.09873 | 1.1466 | 0.14659
[10 empty] | SUMMARY OUTPUT |  | 4326414 | [6 empty] | SUMMARY OUTPUT |  | 4326414
[6 empty] | strength |  |  |  | Regression Statistics | [8 empty] | Regression Statistics
<Imain> | avg | stdev |  |  | <Itrim> | avg | stdev |  |  | Multiple R | 1 | [7 empty] | Multiple R | 1
152.3887 | 1.975 | 0.00046895 |  |  | 0.17026 | 2.5751 | 0.010672 |  |  | R Square | 1 | [7 empty] | R Square | 1
162.2657 | 2.0904 | 0.00039702 |  |  | 7.9878 | 2.8201 | 0.012914 |  |  | Adjusted R Square | 1 | [7 empty] | Adjusted R Square | 0.99999
182.2223 | 2.3285 | 0.00030274 |  |  | 15.6294 | 3.0603 | 0.013056 |  |  | Standard Error | 0.00081633 | [7 empty] | Standard Error | 0.0011921
202.1377 | 2.568 | 0.00042143 |  |  | 23.2759 | 3.3005 | 0.013185 |  |  | Observations | 7 | [7 empty] | Observations | 7
222.1077 | 2.8091 | 0.00032446 |  |  | 30.8856 | 3.5398 | 0.015716
242.049 | 3.0506 | 0.0003155 |  |  | 38.3737 | 3.7835 | 0.013846 |  |  | ANOVA | [8 empty] | ANOVA
261.9983 | 3.2926 | 0.00044551 |  |  | 46.7438 | 4.0429 | 0.040083 |  |  |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
281.9137 | 3.5347 | 0.00034223 |  |  | points highlighted in RED not included in averages or fit |  |  |  |  | Regression | 1 | 1.6383 | 1.6383 | 2458507.7725 | 2.0027e-15 |  |  |  | Regression | 1 | 1.6154 | 1.6154 | 1136736.9894 | 1.3777e-14
301.8633 | 3.7775 | 0.0002009 | [7 empty] | Residual | 5 | 3.332e-06 | 6.664e-07 | [5 empty] | Residual | 5 | 7.1052e-06 | 1.421e-06
321.729 | 4.0195 | 0.00031257 |  |  | ratio | expected | anomaly (%) |  |  | Total | 6 | 1.6383 | [6 empty] | Total | 6 | 1.6154
|  |  |  | fit avg trim pts | 2.6001 | 2.5714 | 1.116%
|  |  |  | avg trim fits | 2.592 |  | 0.7996% |  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[10 empty] | Intercept | 0.13528 | 0.0020507 | 65.9691 | 1.5154e-08 | 0.13001 | 0.14055 | 0.13001 | 0.14055 | Intercept | 2.5685 | 0.00082686 | 3106.3634 | 6.5621e-17 | 2.5664 | 2.5706 | 2.5664 | 2.5706
[10 empty] | X Variable 1 | 0.012135 | 7.7397e-06 | 1567.9629 | 2.0027e-15 | 0.012116 | 0.012155 | 0.012116 | 0.012155 | X Variable 1 | 0.031494 | 2.9539e-05 | 1066.1787 | 1.3777e-14 | 0.031418 | 0.03157 | 0.031418 | 0.03157
[19 empty] | SUMMARY OUTPUT |  | 4327595
Regression Statistics
[19 empty] | Multiple R | 1
[19 empty] | R Square | 1
[19 empty] | Adjusted R Square | 1
[19 empty] | Standard Error | 0.00032401
[19 empty] | Observations | 4
ANOVA
[20 empty] | df | SS | MS | F | Significance F
[19 empty] | Regression | 1 | 0.29946 | 0.29946 | 2852374.6175 | 3.5058e-07
[19 empty] | Residual | 2 | 2.0997e-07 | 1.0499e-07
[19 empty] | Total | 3 | 0.29946
[20 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[19 empty] | Intercept | 2.57 | 0.00027346 | 9398.3262 | 1.1321e-08 | 2.5688 | 2.5712 | 2.5688 | 2.5712
[19 empty] | X Variable 1 | 0.031385 | 1.8583e-05 | 1688.8975 | 3.5058e-07 | 0.031305 | 0.031465 | 0.031305 | 0.031465
[19 empty] | SUMMARY OUTPUT |  | 4328756
Regression Statistics
[19 empty] | Multiple R | 1
[19 empty] | R Square | 1
[19 empty] | Adjusted R Square | 1
[19 empty] | Standard Error | 0.0011376
[19 empty] | Observations | 7
ANOVA
[20 empty] | df | SS | MS | F | Significance F
[19 empty] | Regression | 1 | 1.6571 | 1.6571 | 1280513.1025 | 1.0229e-14
[19 empty] | Residual | 5 | 6.4706e-06 | 1.2941e-06
[19 empty] | Total | 6 | 1.6572
[20 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[19 empty] | Intercept | 2.5685 | 0.0007822 | 3283.7404 | 4.9712e-17 | 2.5665 | 2.5705 | 2.5665 | 2.5705
[19 empty] | X Variable 1 | 0.031496 | 2.7833e-05 | 1131.5976 | 1.0229e-14 | 0.031424 | 0.031567 | 0.031424 | 0.031567
[19 empty] | SUMMARY OUTPUT |  | 4326928
Regression Statistics
[19 empty] | Multiple R | 1
[19 empty] | R Square | 1
[19 empty] | Adjusted R Square | 1
[19 empty] | Standard Error | 0.00098983
[19 empty] | Observations | 7
ANOVA
[20 empty] | df | SS | MS | F | Significance F
[19 empty] | Regression | 1 | 1.6094 | 1.6094 | 1642635.3376 | 5.4884e-15
[19 empty] | Residual | 5 | 4.8988e-06 | 9.7975e-07
[19 empty] | Total | 6 | 1.6094
[20 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[19 empty] | Intercept | 2.5684 | 0.00067157 | 3824.4002 | 2.32e-17 | 2.5666 | 2.5701 | 2.5666 | 2.5701
[19 empty] | X Variable 1 | 0.031478 | 2.456e-05 | 1281.6534 | 5.4884e-15 | 0.031415 | 0.031541 | 0.031415 | 0.031541

## 1000pos
1000 | pos
Ref # | 4326066 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
880.496 | -46.4948 | 10.9055 | 0.14042 | 0 | 12.3853 | 0.15656
900.098 | -38.8718 | 11.1473 | 0.14255 | 7.5514 | 12.6232 | 0.15715
920.363 | -30.9909 | 11.3974 | 0.14491 | 15.1929 | 12.8664 | 0.15998
939.905 | -23.3913 | 11.6388 | 0.14741 | 22.8345 | 13.1098 | 0.16315
960.178 | -15.5073 | 11.8893 | 0.15003 | 30.476 | 13.3534 | 0.16653
980.097 | -7.7611 | 12.1355 | 0.15263 | 38.0975 | 13.597 | 0.17058
1000.054 | 0 | 12.3821 | 0.15533 | 45.7591 | 13.8427 | 0.17546
1019.996 | 7.7552 | 12.6284 | 0.15781
1039.952 | 15.5159 | 12.8748 | 0.16022
1059.892 | 23.2703 | 13.1165 | 0.15807
1079.838 | 31.0271 | 13.3674 | 0.16512
1099.768 | 38.7777 | 13.6142 | 0.16822
1119.716 | 46.5352 | 13.8404 | 0.1506
Ref # | 4327079 |  | Comments:
Imain | eff Imain | strength | non-lin str
880.553 | -46.4971 | 10.8874 | 0.12162
900.17 | -38.8683 | 11.1296 | 0.12395
920.427 | -30.9906 | 11.3796 | 0.1263
939.972 | -23.3897 | 11.6209 | 0.12866
960.252 | -15.5031 | 11.8713 | 0.13113 |  |  |  |  | non-lin strength
980.17 | -7.7572 | 12.1172 | 0.13347 | Itrim | strength | non-lin str | non-lin ratio | anomaly
1000.117 | 0 | 12.3637 | 0.1361 | 0.59089 | 12.3657 | 0.11769 | 0.86475 | -0.13525
1020.038 | 7.7471 | 12.6096 | 0.13849 | 7.6516 | 12.6257 | 0.15576 | 1.1247 | 0.12472
1039.991 | 15.5066 | 12.8563 | 0.14123 | 15.7738 | 12.8679 | 0.14275 | 1.0108 | 0.010789
1059.935 | 23.2626 | 13.1028 | 0.14384 | 23.4354 | 13.1118 | 0.14584 | 1.0139 | 0.013891
1079.892 | 31.0236 | 13.3494 | 0.14647 | 31.0769 | 13.3558 | 0.14948 | 1.0205 | 0.020542
1099.812 | 38.7703 | 13.5956 | 0.14916 | 38.7285 | 13.6003 | 0.15346 | 1.0289 | 0.028859
1119.77 | 46.5317 | 13.8422 | 0.15171 | 46.39 | 13.8459 | 0.15819 | 1.0427 | 0.042736 | [11 empty] | average | stdev
[9 empty] | dg/di(main) |  | 0.012357 | [6 empty] | dg/di(trim) |  | 0.031946 | 7.648e-05
[9 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT |  | 4326066
Ref # | 4327746 |  | Comments:
Imain | eff Imain | strength | non-lin str | [5 empty] | Regression Statistics | [8 empty] | Regression Statistics
880.614 | -46.4932 | 10.8881 | 0.12161 | [5 empty] | Multiple R | 1 | [7 empty] | Multiple R | 1
900.223 | -38.8675 | 11.1302 | 0.12393 | [5 empty] | R Square | 1 | [7 empty] | R Square | 0.99999
920.475 | -30.9917 | 11.3803 | 0.1264 | [5 empty] | Adjusted R Square | 1 | [7 empty] | Adjusted R Square | 0.99999
940.022 | -23.3901 | 11.6214 | 0.12853 | [5 empty] | Standard Error | 6.0517e-05 | [7 empty] | Standard Error | 0.0013584
960.298 | -15.505 | 11.872 | 0.13128 |  |  |  |  | non-lin strength | Observations | 7 | [7 empty] | Observations | 7
980.217 | -7.7587 | 12.1181 | 0.13378 | Itrim | strength | non-lin str | non-lin ratio | anomaly
1000.168 | 0 | 12.3644 | 0.13619 | 0 | 12.3664 | 0.13637 | 1.0013 | 0.0012929 | ANOVA | [8 empty] | ANOVA
1020.112 | 7.756 | 12.6108 | 0.13877 | 8.2114 | 12.6279 | 0.1397 | 1.0067 | 0.0066778 |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
1040.068 | 15.5167 | 12.8574 | 0.14137 | 15.863 | 12.8712 | 0.14245 | 1.0076 | 0.0076188 | Regression | 1 | 1.7006 | 1.7006 | 464346301.4233 | 4.0851e-21 |  |  |  | Regression | 1 | 1.6548 | 1.6548 | 896722.7992 | 2.4926e-14
1060.008 | 23.2711 | 13.1037 | 0.14393 | 23.5045 | 13.1146 | 0.14564 | 1.0119 | 0.011873 | Residual | 5 | 1.8312e-08 | 3.6623e-09 | [5 empty] | Residual | 5 | 9.2269e-06 | 1.8454e-06
1079.96 | 31.0302 | 13.3501 | 0.14637 | 31.0759 | 13.3588 | 0.15179 | 1.037 | 0.037009 | Total | 6 | 1.7006 | [6 empty] | Total | 6 | 1.6548
1099.884 | 38.7784 | 13.5964 | 0.14908 | 38.7475 | 13.6036 | 0.15527 | 1.0416 | 0.041557
1119.839 | 46.5387 | 13.8432 | 0.15186 | 48.4722 | 13.9162 | 0.16218 | 1.068 | 0.06802 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 0.0053016 | 0.00060826 | 8.7159 | 0.00032912 | 0.003738 | 0.0068651 | 0.003738 | 0.0068651 | Intercept | 12.3833 | 0.00092431 | 13397.3044 | 4.3976e-20 | 12.3809 | 12.3857 | 12.3809 | 12.3857
points highlighted in RED not included in averages or fit | [8 empty] | X Variable 1 | 0.012357 | 5.7344e-07 | 21548.696 | 4.0851e-21 | 0.012355 | 0.012358 | 0.012355 | 0.012358 | X Variable 1 | 0.03186 | 3.3644e-05 | 946.9545 | 2.4926e-14 | 0.031773 | 0.031946 | 0.031773 | 0.031946
strength
<Imain> |  | avg | stdev | <Itrim> | avg | stdev
880.5835 |  | 10.8878 | 0.00051619 | Fit each trim measurement,
900.1965 |  | 11.1299 | 0.00044548 | average the resulting fit slopes | [13 empty] | SUMMARY OUTPUT |  | 4327079
920.451 |  | 11.3799 | 0.0004879
939.997 |  | 11.6211 | 0.00033941 | [14 empty] | Regression Statistics
960.275 |  | 11.8717 | 0.00050205 | [14 empty] | Multiple R | 0.99983
980.1935 |  | 12.1176 | 0.00062225 | ratio | expected | anomaly (%) | [11 empty] | R Square | 0.99965
1000.1425 |  | 12.364 | 0.00050912 | 2.5853 | 2.5714 | 0.5386% | [11 empty] | Adjusted R Square | 0.99958
1020.075 |  | 12.6102 | 0.00084146 | [14 empty] | Standard Error | 0.01085
1040.0295 |  | 12.8569 | 0.00076368 | [14 empty] | Observations | 7
1059.9715 |  | 13.1033 | 0.00069296
1079.926 |  | 13.3498 | 0.00051619 | [14 empty] | ANOVA
1099.848 |  | 13.596 | 0.00056569 | [15 empty] | df | SS | MS | F | Significance F
1119.8045 |  | 13.8427 | 0.00070004 | [14 empty] | Regression | 1 | 1.689 | 1.689 | 14346.7434 | 7.693e-10
[18 empty] | Residual | 5 | 0.00058863 | 0.00011773
[18 empty] | Total | 6 | 1.6896
[19 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[18 empty] | Intercept | 12.3622 | 0.0074726 | 1654.3339 | 1.5317e-15 | 12.343 | 12.3814 | 12.343 | 12.3814
[18 empty] | X Variable 1 | 0.032005 | 0.0002672 | 119.7779 | 7.693e-10 | 0.031318 | 0.032692 | 0.031318 | 0.032692
[18 empty] | SUMMARY OUTPUT |  | 4327746
Regression Statistics
[18 empty] | Multiple R | 1
[18 empty] | R Square | 1
[18 empty] | Adjusted R Square | 0.99999
[18 empty] | Standard Error | 0.0013178
[18 empty] | Observations | 7
ANOVA
[19 empty] | df | SS | MS | F | Significance F
[18 empty] | Regression | 1 | 1.7967 | 1.7967 | 1034621.3805 | 1.7432e-14
[18 empty] | Residual | 5 | 8.6829e-06 | 1.7366e-06
[18 empty] | Total | 6 | 1.7967
[19 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[18 empty] | Intercept | 12.365 | 0.00089605 | 13799.4866 | 3.7931e-20 | 12.3627 | 12.3673 | 12.3627 | 12.3673
[18 empty] | X Variable 1 | 0.031973 | 3.1434e-05 | 1017.1634 | 1.7432e-14 | 0.031892 | 0.032054 | 0.031892 | 0.032054

## 2800pos
2800 | pos
Ref # | 4326567 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
2676.197 | -46.5438 | 32.9701 | 0.25051 | 0.72109 | 34.404 | 0.19872
2695.836 | -38.9064 | 33.2081 | 0.24839 | 8.1924 | 34.6377 | 0.19715
2716.124 | -31.0166 | 33.4519 | 0.24419 | 15.8239 | 34.8732 | 0.19273
2735.762 | -23.3796 | 33.6874 | 0.23953 | 23.4654 | 35.1087 | 0.18811
2756.007 | -15.5066 | 33.9299 | 0.23455 | 31.127 | 35.3438 | 0.18229
2775.638 | -7.8723 | 34.1644 | 0.22898 | 38.7485 | 35.5786 | 0.17747
2795.881 | 0 | 34.4062 | 0.22334 | 46.4201 | 35.8143 | 0.172
2815.428 | 7.6016 | 34.618 | 0.19611
2835.7 | 15.4852 | 34.8796 | 0.20994
2855.325 | 23.1171 | 35.1122 | 0.20252
2875.578 | 30.9933 | 35.3511 | 0.19388
2895.215 | 38.6299 | 35.5828 | 0.18542
2915.478 | 46.5099 | 35.8206 | 0.17552
Ref # | 4327246 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str
2676.21 | -46.5446 | 32.9477 | 0.2279 | 0 | 34.382 | 0.1993
2695.858 | -38.9037 | 33.1854 | 0.2254 | 8.2505 | 34.6398 | 0.19714
2716.123 | -31.0228 | 33.4291 | 0.22137 | 15.7618 | 34.8701 | 0.19137
2735.776 | -23.38 | 33.6648 | 0.21675 | 23.3933 | 35.1057 | 0.18704
2756.022 | -15.5066 | 33.9075 | 0.21195 | 31.0549 | 35.3412 | 0.18175
2775.649 | -7.8738 | 34.1421 | 0.20658 | 38.8667 | 35.5774 | 0.17216
2795.896 | 0 | 34.3837 | 0.20065 | 46.348 | 35.8136 | 0.17326
2815.444 | 7.602 | 34.6164 | 0.19435
2835.715 | 15.4852 | 34.8572 | 0.18728
2855.332 | 23.114 | 35.0896 | 0.17986
2875.585 | 30.9902 | 35.3289 | 0.17154
2895.226 | 38.6283 | 35.5605 | 0.16297
2915.489 | 46.5084 | 35.7983 | 0.15305
[9 empty] | dg/di(main) |  | 0.011831 | [6 empty] | dg/di(trim) |  | 0.030839
[9 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
Ref # | 4328907 |  | Comments:
Imain | eff Imain | strength | non-lin str | Itrim | strength | non-lin str |  |  | Regression Statistics | [8 empty] | Regression Statistics
2676.226 | -46.5496 | 32.948 | 0.22804 | 0 | 34.3822 | 0.19916 |  |  | Multiple R | 1 | [7 empty] | Multiple R | 1
2695.868 | -38.9111 | 33.1857 | 0.22557 | 8.2715 | 34.6392 | 0.19567 |  |  | R Square | 0.99999 | [7 empty] | R Square | 1
2716.15 | -31.0236 | 33.4297 | 0.22167 | 15.9331 | 34.8747 | 0.19022 |  |  | Adjusted R Square | 0.99999 | [7 empty] | Adjusted R Square | 1
2735.796 | -23.3835 | 33.6652 | 0.2169 | 23.5546 | 35.1098 | 0.1857 |  |  | Standard Error | 0.0013369 | [7 empty] | Standard Error | 0.001012
2756.042 | -15.5101 | 33.9075 | 0.21175 | 31.2161 | 35.3455 | 0.18058 |  |  | Observations | 7 | [7 empty] | Observations | 7
2775.67 | -7.8769 | 34.1422 | 0.20648 | 39.0379 | 35.5804 | 0.16954
2795.925 | 0 | 34.3839 | 0.20048 | 46.5092 | 35.8165 | 0.17077 |  |  | ANOVA | [8 empty] | ANOVA
2815.472 | 7.6016 | 34.6167 | 0.19432 | [6 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
2835.74 | 15.4836 | 34.8575 | 0.1873 | [5 empty] | Regression | 1 | 1.5576 | 1.5576 | 871458.4974 | 2.6772e-14 |  |  |  | Regression | 1 | 1.5565 | 1.5565 | 1519707.2285 | 6.6665e-15
2855.362 | 23.1144 | 35.0898 | 0.17966 | [5 empty] | Residual | 5 | 8.9365e-06 | 1.7873e-06 | [5 empty] | Residual | 5 | 5.1212e-06 | 1.0242e-06
2875.606 | 30.9871 | 35.3292 | 0.17163 | [5 empty] | Total | 6 | 1.5576 | [6 empty] | Total | 6 | 1.5566
2895.244 | 38.6241 | 35.5605 | 0.16282
2915.513 | 46.5064 | 35.7986 | 0.15305 | [6 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 1.3084 | 0.036192 | 36.1502 | 3.0493e-07 | 1.2153 | 1.4014 | 1.2153 | 1.4014 | Intercept | 34.384 | 0.00069576 | 49419.6833 | 6.4388e-23 | 34.3822 | 34.3858 | 34.3822 | 34.3858
[9 empty] | X Variable 1 | 0.011831 | 1.2673e-05 | 933.5194 | 2.6772e-14 | 0.011798 | 0.011863 | 0.011798 | 0.011863 | X Variable 1 | 0.030839 | 2.5016e-05 | 1232.7641 | 6.6665e-15 | 0.030775 | 0.030903 | 0.030775 | 0.030903
Ref # | 4329295 |  | Comments:
Imain | eff Imain | strength | non-lin str
2676.313 | -46.5484 | 32.9497 | 0.22867
2695.953 | -38.9107 | 33.1873 | 0.22616
2716.233 | -31.024 | 33.4312 | 0.22207
2735.888 | -23.3804 | 33.6666 | 0.21719
2756.132 | -15.5077 | 33.9089 | 0.21204 |  |  |  |  | non-lin strength
2775.75 | -7.8785 | 34.1437 | 0.20697 | Itrim | strength | non-lin str | non-lin ratio | anomaly
2796.009 | 0 | 34.3851 | 0.20066 | 0 | 34.3838 | 0.19982 | 0.9958 | -0.4197%
2815.544 | 7.5969 | 34.618 | 0.19472 | 7.3952 | 34.6142 | 0.19733 | 1.0134 | 1.339%
2835.822 | 15.4828 | 34.8589 | 0.1877 | 15.0267 | 34.8495 | 0.19275 | 1.0269 | 2.687%
2855.442 | 23.1128 | 35.0913 | 0.18026 | 22.6782 | 35.0849 | 0.18762 | 1.0409 | 4.088%
2875.693 | 30.9882 | 35.3306 | 0.17196 | 30.3298 | 35.3199 | 0.182 | 1.0584 | 5.838%
2895.337 | 38.6276 | 35.562 | 0.16318 | 37.9513 | 35.5553 | 0.17767 | 1.0888 | 8.88%
2915.599 | 46.5072 | 35.8001 | 0.15355 | 45.6129 | 35.791 | 0.17262 | 1.1242 | 12.42%
strength
<Imain> |  | avg | stdev | <Itrim> | avg | stdev
2676.2497 |  | 32.9484 | 0.0010893 | 0.18027 | 34.388 | 0.010683
2695.893 |  | 33.1861 | 0.001035 | 8.0274 | 34.6327 | 0.012357
2716.1687 |  | 33.43 | 0.0010446 | 15.6364 | 34.8669 | 0.011761
2735.82 |  | 33.6655 | 0.00095259 | 23.2729 | 35.1023 | 0.011683
2756.0653 |  | 33.908 | 0.00082008 | 30.932 | 35.3376 | 0.011943
2775.6897 |  | 34.1427 | 0.00089846 | 38.3499 | 35.5669 | 0.016518 | points highlighted in RED not included in averages or fit
2795.9433 |  | 34.3842 | 0.00075593 | 46.2225 | 35.8088 | 0.011955
2815.4867 |  | 34.617 | 0.00084664
2835.759 |  | 34.8579 | 0.00092045
2855.3787 |  | 35.0902 | 0.00095929 | ratio | expected | anomaly (%)
2875.628 |  | 35.3296 | 0.00092224 | 2.6067 | 2.5714 | 1.373%
2895.269 |  | 35.561 | 0.00088692
2915.5337 |  | 35.799 | 0.00098929

## 3600pos
3600 | pos
Ref # | 4326735 |  | Comments:
Imain | eff Imain | strength | non-lin str
3354.439 | -46.5201 | 40.7167 | -0.29521
3374.138 | -38.8593 | 40.9257 | -0.32702
3394.373 | -30.9902 | 41.138 | -0.36209
3414.027 | -23.3469 | 41.3417 | -0.39876
3434.199 | -15.5023 | 41.5502 | -0.43683 |  |  |  |  | non-lin strength
3453.844 | -7.8626 | 41.752 | -0.47523 | Itrim | strength | non-lin str | non-lin ratio | anomaly
3474.062 | 0 | 41.9585 | -0.51596 | 0.76115 | 41.9563 | -0.54334 | 1.0531 | 5.307%
3494.015 | 7.7595 | 42.1611 | -0.55728 | 8.2124 | 42.1632 | -0.5714 | 1.0253 | 2.534%
3513.964 | 15.5174 | 42.3622 | -0.60009 | 15.8539 | 42.3693 | -0.6055 | 1.009 | 0.9018%
3533.916 | 23.2766 | 42.5617 | -0.64448 | 23.4955 | 42.5753 | -0.6397 | 0.99259 | -0.7413%
3553.86 | 31.0326 | 42.7605 | -0.68954 | 31.137 | 42.7807 | -0.6746 | 0.97834 | -2.166%
3573.816 | 38.7932 | 42.9582 | -0.73587 | 38.7685 | 42.9858 | -0.70947 | 0.96413 | -3.587%
3593.74 | 46.5414 | 43.1538 | -0.7838 | 46.4301 | 43.1913 | -0.74473 | 0.95016 | -4.984%
Ref # | 4327413 |  | Comments:
Imain | eff Imain | strength | non-lin str
3354.479 | -46.5154 | 40.6957 | -0.31671
3374.164 | -38.8601 | 40.905 | -0.34804
3394.393 | -30.9933 | 41.1168 | -0.38361
3414.049 | -23.3493 | 41.321 | -0.41965
3434.208 | -15.5097 | 41.5293 | -0.45788 |  |  |  |  | non-lin strength
3453.872 | -7.8626 | 41.7316 | -0.49601 | Itrim | strength | non-lin str | non-lin ratio | anomaly
3474.09 | 0 | 41.938 | -0.53671 | -0.0080121 | 41.9369 | -0.5388 | 1.0039 | 0.3897%
3494.037 | 7.7572 | 42.1407 | -0.57798 | 8.1924 | 42.163 | -0.57123 | 0.98833 | -1.167%
3513.987 | 15.5155 | 42.3421 | -0.62041 | 15.8239 | 42.3695 | -0.60476 | 0.97478 | -2.522%
3533.938 | 23.2742 | 42.5423 | -0.66417 | 23.4754 | 42.5743 | -0.64048 | 0.96433 | -3.567%
3553.883 | 31.0306 | 42.7411 | -0.70921 | 31.0869 | 42.7798 | -0.67424 | 0.95068 | -4.932%
3573.833 | 38.7889 | 42.9388 | -0.75542 | 38.6984 | 42.9853 | -0.70799 | 0.9372 | -6.28%
3593.759 | 46.5379 | 43.1354 | -0.80248 | 46.38 | 43.1899 | -0.7448 | 0.92812 | -7.188% | [11 empty] | average | stdev
[9 empty] | dg/di(main) |  | 0.0099977 | [6 empty] | dg/di(trim) |  | 0.026986 | 1.2326e-05
[9 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT |  | 4326735
Ref # | 4329074 |  | Comments:
Imain | eff Imain | strength | non-lin str | [5 empty] | Regression Statistics | [8 empty] | Regression Statistics
3354.481 | -46.5224 | 40.6942 | -0.31818 | [5 empty] | Multiple R | 0.99999 | [7 empty] | Multiple R | 0.99999
3374.172 | -38.8648 | 40.9038 | -0.34931 | [5 empty] | R Square | 0.99997 | [7 empty] | R Square | 0.99998
3394.415 | -30.9925 | 41.1154 | -0.38525 | [5 empty] | Adjusted R Square | 0.99997 | [7 empty] | Adjusted R Square | 0.99997
3414.067 | -23.3501 | 41.3197 | -0.42123 | [5 empty] | Standard Error | 0.0025095 | [7 empty] | Standard Error | 0.0023028
3434.235 | -15.5069 | 41.5281 | -0.45938 |  |  |  |  | non-lin strength | Observations | 7 | [7 empty] | Observations | 7
3453.884 | -7.8657 | 41.73 | -0.49767 | Itrim | strength | non-lin str | non-lin ratio | anomaly
3474.11 | 0 | 41.9367 | -0.5383 | 0 | 41.9354 | -0.54079 | 1.0046 | 0.461% | ANOVA | [8 empty] | ANOVA
3494.055 | 7.7564 | 42.1392 | -0.57967 | 8.3126 | 42.165 | -0.5732 | 0.98884 | -1.116% |  | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
3514 | 15.5128 | 42.3406 | -0.6221 | 15.9541 | 42.3714 | -0.60718 | 0.97602 | -2.398% | Regression | 1 | 1.1135 | 1.1135 | 176819.9444 | 1.4436e-12 |  |  |  | Regression | 1 | 1.1855 | 1.1855 | 223544.7828 | 8.0329e-13
3533.956 | 23.2734 | 42.5406 | -0.66607 | 23.5956 | 42.577 | -0.64174 | 0.96348 | -3.652% | Residual | 5 | 3.1487e-05 | 6.2974e-06 | [5 empty] | Residual | 5 | 2.6515e-05 | 5.303e-06
3553.898 | 31.0287 | 42.7396 | -0.71094 | 31.2472 | 42.7822 | -0.6771 | 0.95241 | -4.759% | Total | 6 | 1.1135 | [6 empty] | Total | 6 | 1.1855
3573.856 | 38.7901 | 42.9373 | -0.75718 | 38.8787 | 42.9876 | -0.71157 | 0.93975 | -6.025%
3593.774 | 46.536 | 43.1335 | -0.80459 | 46.5403 | 43.1924 | -0.74769 | 0.92929 | -7.071% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[9 empty] | Intercept | 7.2148 | 0.084027 | 85.8625 | 4.0612e-09 | 6.9988 | 7.4308 | 6.9988 | 7.4308 | Intercept | 41.9395 | 0.0016005 | 26203.8385 | 1.5363e-21 | 41.9354 | 41.9436 | 41.9354 | 41.9436
[9 empty] | X Variable 1 | 0.0099977 | 2.3776e-05 | 420.4996 | 1.4436e-12 | 0.0099365 | 0.010059 | 0.0099365 | 0.010059 | X Variable 1 | 0.026997 | 5.71e-05 | 472.8052 | 8.0329e-13 | 0.026851 | 0.027144 | 0.026851 | 0.027144
strength
<Imain> |  | avg | stdev | <Itrim> | avg | stdev
3354.4663 |  | 40.7022 | 0.01257 | Fit separately and average fit slopes
3374.158 |  | 40.9115 | 0.012303 | [14 empty] | SUMMARY OUTPUT |  | 4327413
3394.3937 |  | 41.1234 | 0.0127
3414.0477 |  | 41.3275 | 0.012316 | [14 empty] | Regression Statistics
3434.214 |  | 41.5359 | 0.012441 | ratio | expected | anomaly (%) | [11 empty] | Multiple R | 0.99999
3453.8667 |  | 41.7379 | 0.01226 | 2.6992 | 2.5714 | 4.969% | [11 empty] | R Square | 0.99998
3474.0873 |  | 41.9444 | 0.012192 | [14 empty] | Adjusted R Square | 0.99998
3494.0357 |  | 42.147 | 0.012242 | [14 empty] | Standard Error | 0.0021238
3513.9837 |  | 42.3483 | 0.012036 | [14 empty] | Observations | 7
3533.9367 |  | 42.5482 | 0.011727
3553.8803 |  | 42.7471 | 0.011665 | [14 empty] | ANOVA
3573.835 |  | 42.9448 | 0.011623 | [15 empty] | df | SS | MS | F | Significance F
3593.7577 |  | 43.1409 | 0.011247 | [14 empty] | Regression | 1 | 1.2074 | 1.2074 | 267686.832 | 5.1194e-13
[18 empty] | Residual | 5 | 2.2552e-05 | 4.5105e-06
[18 empty] | Total | 6 | 1.2074
[19 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[18 empty] | Intercept | 41.9403 | 0.0014599 | 28727.7215 | 9.7006e-22 | 41.9366 | 41.9441 | 41.9366 | 41.9441
[18 empty] | X Variable 1 | 0.026987 | 5.2161e-05 | 517.3846 | 5.1194e-13 | 0.026853 | 0.027121 | 0.026853 | 0.027121
[18 empty] | SUMMARY OUTPUT |  | 4329074
Regression Statistics
[18 empty] | Multiple R | 0.99999
[18 empty] | R Square | 0.99998
[18 empty] | Adjusted R Square | 0.99997
[18 empty] | Standard Error | 0.0023131
[18 empty] | Observations | 7
ANOVA
[19 empty] | df | SS | MS | F | Significance F
[18 empty] | Regression | 1 | 1.213 | 1.213 | 226706.3152 | 7.7558e-13
[18 empty] | Residual | 5 | 2.6752e-05 | 5.3504e-06
[18 empty] | Total | 6 | 1.213
[19 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
[18 empty] | Intercept | 41.939 | 0.0015929 | 26329.3785 | 1.5e-21 | 41.9349 | 41.9431 | 41.9349 | 41.9431
[18 empty] | X Variable 1 | 0.026973 | 5.6649e-05 | 476.1369 | 7.7558e-13 | 0.026827 | 0.027118 | 0.026827 | 0.027118