## Slide 1
Finding the optimal sterilization configuration using simulations
Tobias Funk, PhD and Daniel Badali, PhD

## Slide 2: Acknowledgments
This work was partially funded by FDA SBIR grants
  1R43FD007584-01 and 1R43FD007313-01 (The contents are those of the authors and do not necessarily represent the official views of, nor an endorsement, by FDA/HHS, or the U.S. Government)

## Slide 3
/
Co-development company
100+ employees in Newark, CA and Boston
Focus on life sciences and medical device development
Internal R&D partially funded by government grants
Spins out internal ideas as independent products
Has a virtual dose mapping tool
Offers virtual dose mapping to:
  Medical device developers
  Sterilization vendors
Visit us at: www.doseinsight.com

## Slide 4: What is the right configuration for my device?
Case study using syringes from McMaster
Beam orientation?
Radiation sterilization technique?
90 degrees
0 degrees
12 cm
3 cm

## Slide 5: What is the right packaging for my device?

## Slide 6: Comparison: Measurement vs. Modeling

## Slide 7: From Design Guidelines to Design for Sterilization (DFS)
Design guidelines
Design rules
EtO: avoid cavities where gas can get trapped, conformally coated circuit boards, etc.
Material compatibility
AAMI TIR17 Compatibility of materials subject to sterilization, 2017
Consulting with vendors
Leverage decades of experience
Notes: What does all this have to do with sterilization? Following a similar approach as DFM for injection molding will unlock similar benefits
We might not use this terminology in the industry, but you are probably already doing Design for Sterilization
Following the evolution of other DFX efforts, for example DFM for injection molding, we see modeling as the next step for Design for Sterilization
To take advantage of the benefits provided by modeling as were experienced for injection molding, we can do modeling for sterilization
This talk will focus on how modeling can be used for DFS, specifically for radiation sterilization
For radiation sterilization, dose is the key ingredient to achieve sterility, and modeling refers to calculating dose. But what is dose? The survey showed us that there is a range of familiarity with dose modeling, so let’s start with a basic understanding of how radiation delivers dose to achieve sterility

## Slide 8: From Design Guidelines to Design for Sterilization (DFS)
Design guidelines
Modeling
Dose Insight
Enables Design for Sterilization through modeling
Many industries went from design guidelines to modeling.
Examples: flow simulations for injection molding, data center design.
Notes: What does all this have to do with sterilization? Following a similar approach as DFM for injection molding will unlock similar benefits
We might not use this terminology in the industry, but you are probably already doing Design for Sterilization
Following the evolution of other DFX efforts, for example DFM for injection molding, we see modeling as the next step for Design for Sterilization
To take advantage of the benefits provided by modeling as were experienced for injection molding, we can do modeling for sterilization
This talk will focus on how modeling can be used for DFS, specifically for radiation sterilization
For radiation sterilization, dose is the key ingredient to achieve sterility, and modeling refers to calculating dose. But what is dose? The survey showed us that there is a range of familiarity with dose modeling, so let’s start with a basic understanding of how radiation delivers dose to achieve sterility

## Slide 9: What is dose?
Particles interact with matter
Get absorbed
Change direction
Change energy
Generate new particles
24.2 kGy
15.3 kGy
10.7 kGy
Dose is the energy of electrons or photons absorbed in the medical device

## Slide 10: How do we model dose deposited in the device?
Emulate the real statistical nature of particle transport by simulating each particle’s history
Source produces particles with random direction and energy
We model the particle interactions
Each particle’s history is tracked
Where did it get absorbed?
How much energy did it deposit?
24.2 kGy
15.3 kGy
10.7 kGy
Monte Carlo simulations

## Slide 11
Predicting the dose map using modeling
Source model
Geometry
Materials
Product model
Radiation
modeling
Dose map
Design For Sterilization

## Slide 12: Are Monte Carlo simulations accurate?
Yes!
See for example:
"Monte Carlo methods for device simulations in radiation therapy,"
by Park et al.
in: Physics in Medicine and Biology, vol. 66, no. 18, pp. 1361-6560, 2021

## Slide 13
Validation of Geant4 with a 6 MeV X-ray beam
M. Constantin et al., Medical Physics, 38 (2011). Collaboration between Stanford and Varian
98% of measurement values are within 2% of simulated dose
Collimator jaws
CAD model of treatment head Measured (black) vs. simulated (red) dose

## Slide 14: Validation of sterilization simulations

## Slide 15: Monte Carlo Simulations are increasingly used for sterilization simulations
Specialized MC tools for sterilization
  RayXpert
  Puffin
  Dose Insight

## Slide 16: RayXpert by TRAD
From:

## Slide 17: Puffin by Pacific Northwest National Laboratory
From:
Schwartz presented at IAEA

## Slide 22: Comparison: Measurement vs. Modeling

## Slide 23: Are Monte Carlo simulations fast?
Not really, but ….

## Slide 24: Acceleration with cloud computing

## Slide 25: Acceleration with cloud computing
>30x speed-up

## Slide 26: Acceleration with GPU computing
Current GPU implementation is only working on high energy photons.
900x faster than on CPU (single computer)

## Slide 27: What is the right packaging for my device?

## Slide 28: Dose map of a single syringe

## Slide 29: Understanding the dose map
Generate a 3d dose map of just the surface dose
Produce histogram of surface 3d dose map and calculate the DUR
~DUR

## Slide 30: Which beam direction is better?

## Slide 31: How much does simulation uncertainty skew the results?
DUR and histograms as function of number of particles

## Slide 32: Comparison of packaging configurations
Beam direction is 90 degree
Antiparallel Parallel

## Slide 33: Comparison of packaging configurations
No significant difference in the two configurations
Beam direction is 90 degree
Antiparallel Parallel

## Slide 34: Comparison of packaging configurations
Beam direction is 0 degree
Tip-to-tip Plunger-to-plunger

## Slide 35: Comparison of packaging configurations
Tip-to-tip configuration has significantly lower DUR
Beam direction is 0 degree
Tip-to-tip Plunger-to-plunger

## Slide 36: How many syringes can we stack?
Beam direction:
0 degrees
Beam direction:
90 degrees
2 3 4 # syringes
2 4 6 8 # syringes

## Slide 37: Final packaging configuration: 3x6x3 syringes

## Slide 38: Final packaging configuration: 3x6x3 syringes

## Slide 39: Conclusions
Monte Carlo simulations predict dose maps and dose uniformity ratios accurately
Measurements are the gold standard; however, measurement uncertainty can make meaningful conclusions difficult
Device and packaging design can be optimized for radiation sterilization using simulations

## Slide 40
Dose Insight enables any engineer to produce virtual dose maps
Collaborate with us to use modeling in your development process
Get in touch today! https://doseinsight.com or info@doseinsight.com
Design for Sterilization
Compare modalities
Device orientation/packaging
Dosimeter placement
Shielding design
Dose Insight’s approach