## Slide 1
David Gray
Co-op Update Presentation
9/21/2023
Summer 2023 End of Term Co-op Presentation

## Slide 2: Assigned Projects
C-0 Service Building Floor Plan
Project Under Frederique Pellemoine
LBNF Strip Line Block Stands
Project Under Keith Anderson
CMTF Columns Engineering Note
Project Under Curtis Baffes

## Slide 3: C-0 Service Building Floor Plan

## Slide 4: C-0 Service Building Floor Plan
Objective: Create a floorplan for the two rooms in the C-0 service building to be used for Sujit’s lab currently at Mi-8.
Parameters:
Create a rough floorplan of both rooms including details such as: overall room dimensions, immoveable objects, electrical, utilities (compressed air, water).
Measure all these details by hand using laser measurement device and tape measure.
Include a possible arrangement of all the machines, tables, gas cylinders and vents. Account for needed electrical, ventilation, and utilities.

## Slide 5: Existing Architectural Drawing
Bottom left and right rooms are the rooms being modeled in my project.
Some dimensions were taken from this drawing and used.
This drawing was made in 1984.

## Slide 6: Current Drawing

## Slide 7: Current Drawing

## Slide 8: Blocks and Layers
Layers below in use.
Blocks used for doors and 120/208V electrical

## Slide 9: LBNF Strip Line Block Stand

## Slide 10: LBNF Strip Line Assy Stands
Objective: Design a stand for assembly, transportation and storage of the LBNF Stripline Blocks.
Parameters:
Adjust NuMi stands currently in use for the increased weight and size of the LBNF stripline blocks (46,000 lbs).
1 assembly stand design for the assembly of all 3 block models.
  Block must be level during assembly
  Must be a method of alignment during assembly
Two attachment structures for tipping the stand and block into a vertical position.
Analysis of stand sitting horizontally, vertically, and during the tipping motion.

## Slide 11: Model Changes
Reference pictures showcasing the big progress made each term.

## Slide 12: Model Changes

## Slide 13: Model Changes

## Slide 14: Design Features
Strip line block will be assembled on the original stand.
  Needs to be tall enough for people to crawl underneath
Models B/C of the block don’t include the blue portion of the block.
12 bolts used on left side
  Height difference and leveling

## Slide 15: Design Features
Bottom plate has bolts running along the entire length.
  All need to be accessible
  Gap between holes is 3-3/16”
Also need a way to support the plates
  Angle Irons

## Slide 16: Design Features
Green structural tube is bolt connected to the original stand.
  Thicker plate has threaded hole.
The stripline block should only move minimally.
  The green attachment wraps around the entire stripline block.

## Slide 17: Design Features
Rotational pins
  Diameter based on design being used for an absorber module stand
Vertical support points highlighted

## Slide 18: Current Analysis
This calculation is aimed at analyzing the tube while horizontal
Assumptions:
  Half of block’s total weight is distributed on this half of the stand
  Weight is evenly distributed
  Longest length beam is worst case scenario
  A36 steel

## Slide 19: Current Hand Calculations
This calculation is aimed at analyzing the tube while horizontal
Assumptions:
  Weight is evenly distributed among the 12 bolts
  Half of block’s total weight is weighing on all 12 bolts
  Longest length beam with force in the center is worst case scenario
  Using A36 Steel
Thread shear analysis
Vertical Column Buckling

## Slide 20: CMTF Column Engineering Note

## Slide 21: CMTF Column Engineering Note
Objective: Analyze and create an engineering note for columns used at CMTF to outline the stress/force limits of the columns.
Parameters:
Analyze two load case scenarios for the column to determine maximum weight that can be added.
  The focus will be on the base plate and drop-in anchors
  Test various boundary conditions, forces and connection types to achieve the most realistic analysis in ansys
Follow Fermi Structural Support Guide.
Create an engineering note for the column showing allowable strength design.

## Slide 22: Engineering Note Progress
Analysis Outline
  Unistrut Welds
  Center beam buckling
  Base plate welds
  Base plate bending
  Drop-in anchors tension/shear

## Slide 23: Center Beam Buckling
Central Loading
  Critical Load of 17,690 lbs

## Slide 24: Base Plate Welds

## Slide 25: Ansys Setup
Load Case 1
  Remote force applied at the top of the column; 2 feet off-center in the x-direction.
Load Case 2
  An additional remote force is applied at the top of the column; 2 feet off-center in the y-direction
Connections
  All the parts are connected with a bonded connection at contact regions.
Allowable Stress
  21,600 psi calculated at 60% of A36 steel yield stress (36,000 psi)

## Slide 26: Old Base Plate Results
Result Set 1
0 displacement holes
  This simulates the drop-in anchors holding the base plate into the cement flooring
Allowable Stress Reached
  At weight of 580.9 lbs in load case 1
  At weight of 349.4 lbs in load case 2

## Slide 27: Ansys Setup
0 displacement
  There is a 0 displacement in the z-direction around these holes.
  This simulates the floor pushing back on the plate.
Connections
  There is a spring connection used in the holes to simulate the drop-in anchor.
  This spring has an inputted stiffness and preload.

## Slide 28: Drop-in Anchors
Spring Preload
  This was calculated based on Hilti’s technical guide.
  The allowable load for an edge distance of 4 inches is 5,713 N
    We have anchors installed with a 1.5-inch edge distance
Spring stiffness
  This was calculated for the different regions of the bolt/anchor cross section
  Region with bolt threads was the highest and most conservative value

## Slide 29: Drop-in Anchors and Base Plate Stress
Failure case for drop-in anchors
  When the 0-displacement starts to pull downwards.
  Load Case 1 Failure: 888 pounds
  Load Case 2 Failure: 438 pounds
Failure case for drop-in anchors
  When the von-mises stress in the base plate reaches yield stress
  Load Case 1 Failure: 360 pounds
  Load Case 2 Failure: 254 pounds