## Slide 1
FAST / IOTA Shutdown 2023-2024
Enclosure STATUS: ODH-0 & Supervised Access
IPI
  Cable pull started: start pulling next week
  Girders in cave: rough alignment started
Cryo Dpt. working on cryo system: repairs, testing, LN2 #45
ISD
  NML: Lights, Generator, boiler, ICW
  ESB HVAC
Water
  LCW GN2
  LCW 2-pump test (now)(looks good)
Contact FAST RunCo with any work or access requests
  There are a lot of jobs going on