Stand 3 Test Plans	(I.T. 070112)

| # | System | Date |
| --- | --- | --- |
| 1 | CH Solenoid, Prototype 2 (with Correction Dipole) | January, 4 days |
| 2 | CH Solenoid, Prototype 1 (retest) | February, 2 days |
| 4 | CH Solenoid, Prototype 3 (new Correction Dipole) | May, 4 days |
| 5 | SS-1 Solenoid, Prototype 1 | July, 4 days |
| 6 | SS-1 Solenoid, Prototype 2 (with Correction Dipole) | September, 4 days |

It is very possible that, based on results of testing # 1 and # 2, another tests in March and April will be needed.

HINS Focusing Lense Status (M.T. 070221)

Quench and Magnetic Measurements Completed:

HINS_CH_SOL_02 Tested 2/7-9				[Test Report in preparation]

Separate performance of Main, Buck, Main+Buck, Corrector Dipoles

Combined performance Main+Buck (PS2) and Correctors (PS1)

HINS_CH_SOL_01 Tested 10/25/06;

Rebuilt (external splices) & Tested 2/15 |TC| 2/19/07 	[Test Report in preparation]

Performance of Main, Buck, Main+Buck; Remembers training after TC

1D and 3D Hall Probe studies

3D probe slightly off-axis (est ~.75mm)

Shaft modified to add a second local bearing (probe still off-axis)

Future Plans:

- HINS_CH_SOL_01 cryostat assembly 	       horizontal test ~April 2007

Quench, alignment studies

- HINS_CH_SOL_02 modified cryostat (3 pair leads)		test ~ July?

Quench, alignment studies

- Construct 2 or 3 focusing lenses of each type 		test ~ FY 2007 when?

(w, w/o corrector dipoles – modified “production-oriented” design)

Testing in Stand 3 Dewar several at once

presumably quench performance only