## Slide 1: Fermilab to Argonne Entanglement Swapping
Andrew Cameron
December 13th, 2023

## Slide 2: Geographical Locations
IERC
2km
0.58km
2.08km
Argonne
59km

## Slide 3: Motivating ES – Repeaters!
Nicolas Sangouard, Christoph Simon, Hugues de Riedmatten, and Nicolas Gisin. Rev. Mod. Phys. 83, 33 (2011).

## Slide 4: Entanglement Swapping Theory
EPR Source 2
EPR Source 1
1
2
3
4
+
+
A projective measurement of photons 2 and 3 in the Bell basis entangles photons 1 and 4

## Slide 5: D0 Node
IERC
2km
0.58km
2.08km
Entanglement Swapping Testbed

## Slide 6: Experimental Setup – D0 Swapping

## Slide 7: D0 – Preliminary Results

## Slide 8: Fermilab Campus Network
Swapping between two D0 sources
Manuscript in preparation
Swapping between two FCC sources
One source built
Swapping between FCC – D0
2024

## Slide 9: FCC Node
IERC
2km
0.58km
2.08km

## Slide 10: FCC Node (1 source)
Z Basis Visibility ~100%
X Basis Visibility ~80%
6.5ns (153MHz)
360ps (2.88GHz)

## Slide 11: Argonne Quantum Network (ARQNET) Testbed
Connects 5 buildings in the Argonne campus on a star topology using deployed fiber
Long distance connections to Fermilab and StarLight using dark fiber
NuCrypt EPS – cascaded SHG-SPDC
  |HH> + |VV> Bell state generated in Sagnac Loop
  3-wavelength channels
  Pump @ 1550.1 nm (ITU Ch. 34)
Polatis 16x16 SDN Switch
  16 input and output channels
  Controlled via REST and NETCONF APIs
Quantum Opus SNSPD
  2 detectors
  85% efficiency at 1550 nm

## Slide 12: Timing and Synchronization Network
Timing circuit between Fermi and Argonne for Entanglement Distribution.
square pulses  clock signal grey Gaussian Pulse  quantum light
Red Gaussian Pulse  second harmonic (768 nm),
The photon pairs are produced at FNAL-FCC and routed either 2 km away to FNAL-DAB
or 57 km away to ANL through software provided with the optical switch
Ref: K. Kapoor et al., "Picosecond Synchronization System for the Distribution of Photon Pairs Through a Fiber Link Between Fermilab and Argonne National Laboratories," in IEEE Journal of Quantum Electronics, vol. 59, no. 4, pp. 1-7, Aug. 2023, Art no. 9300107, doi: 10.1109/JQE.2023.3240756.

## Slide 13: Where we’re headed
Prepare Argonne for the the Bob node
Modifying the timing synchronization circuit (if needed)
Participate in setting up the low jitter SNSPDs

## Slide 14: Where we’re headed
Working on coexistence of Classical and Quantum signals
Adding high-rate sources to the network
  Upgrading existing SNSPDs to lower jitter.
Swapping between Fermilab and Argonne