## Slide 1: Pretty Advanced Quantum Networking
Paul G. Kwiat
Department of Physics
Illinois Quantum Information Science & Technology Center (IQUIST)
University of Illinois Urbana-Champaign
Kwiat
Quantum
Information
Group

## Slide 2: Pretty Advanced Quantum Networking
Paul G. Kwiat
Department of Physics
Illinois Quantum Information Science & Technology Center (IQUIST)
University of Illinois Urbana-Champaign
Kwiat
Quantum
Information
Group

## Slide 3: KQC: Kwiat’s Quantum Consortium (Cohort, Clan, Collective, Comrades, …)
looking forward to new collaborators, postdocs, students …
Timur Javid
Benjamin Nussbaum
Keshav Kapoor
Andrew Conrad
Samantha
Isaac
John Floyd
Spencer Johnson

## Slide 4
Overview
Memory-enhanced quantum networking
Problem with fibers
Hybrid network
Outline

## Slide 5: Current Quantum Networks
Fiber Optic Cable
QUIUC-Net (QLAN)
Fiber Optic Quantum Link
Chicago
(QLAN)
Fiber Optic Cable

## Slide 6: QUIUC-Net Network Schematic

## Slide 7: Urbana-Chicago Fiber Link
Fiber Optic Cable
QUIUC-Net (QLAN)
Fiber Optic Quantum Link
Chicago
(QLAN)
Fiber Optic Cable
Kankakee
Rantoul

## Slide 8: Urbana-Chicago Fiber Link
12 ‘dark’ fibers from Illinois Century Network (ICN)
Fiber Loop from UIUCRantoulUIUC
52.6-km roundtrip fiber
~18.5-dB loss at 1550nm

## Slide 9: Hybrid Quantum Network
Quantum Satellite
Quantum Relay Drone
Quantum Relay Drone
Free-Space Quantum Link
Fiber Optic Cable
Quantum Satellite
Fiber Optic Quantum Link
Fiber Optic Cable
QR
QR
QR
QUIUC-Net (QLAN)
CQE-NET
(QLAN)

## Slide 10: Hybrid Quantum Network
U.S. Quantum Satellite
Quantum Relay Drone
Quantum Relay Drone
Free-Space Quantum Link
Fiber Optic Cable
U.S. Quantum Satellite
QLAN
Fiber Optic Quantum Link
QLAN
Fiber Optic Cable
Our Work

## Slide 11: “Stealth” Communication…
Notes: Current Progress
- Continuous bidirectional locking achieved in 5-m long laboratory tests for ~10 s (0.5-5 Mb projected key per locking interval) for flying  stationary platform
Half-duplex pointing stabilization + locking for >150 s flight
Flight-ready FPGA Time Tagger, single-photon detectors
Custom designed/fabricated TX/RX optical benches
Flight-ready FPGA driver board & IID RC-LED sources for all polarizations with decoy states

## Slide 12
Overview
Memory-enhanced quantum networking
Problem with fibers
Hybrid network
Outline

## Slide 13
Entanglement Swapping
1
Problem: sources sometimes emit 2 pairs
Solution: drive weakly
drive weekly

## Slide 14: Improved Performance via Memory
From
Bob
From Alice
Pockels Cell
Notes: Multiplexing combines multiple parametric down-conversion sources to produce higher single and swap rates. PDC sources can be combined in two main ways:
Temporally:
With temporal multiplexing, we use the natural repetition rate of the pump to define multiple time bins to combine. This scheme requires a delay-line that delays successful events until the end of the combined time bins. An event is heralded by the photon’s sister, which causes the photon to become trapped in the delay-line using fast switches.
Spatially:
With spatial multiplexing, we spatially combine multiple crystal outputs using a routing system made of polarization beamsplitters and fast switches. Similarly, we herald the production of a photon from one source by measuring the sister photon. Depending on which source clicks, we then alter our routing system to guide the photon to the shared output port.
On the bottom left is a graph that shows the required transmission of our fast switches to allow multiplexing to outperform single-shot methods.

## Slide 15
Operation:
Horizontal polarization in
Pockel cell switch to Vertical
Circulates N times
Pockel cell switch back to Horizontal to switch out
Performance:
Switch rise/fall ~3 ns
Low loss  only ~1.5%/cycle
But…. 0.985537 = 0!
Quantum Memory: low-loss optical delay line Applications to quantum cryptography, quantum “repeaters”, scalable quantum logic, novel quantum communication protocols

## Slide 16
Advantages
High bandwidth (~10 nm)
Polarization insensitive
Adjustable time delay (10 ns – 10s)
Low loss (custom mirror coatings)
Store multiple k-vectors, spatial modes
Quantum Memory: low-loss optical delay line Applications to quantum cryptography, quantum “repeaters”, scalable quantum logic, novel quantum communication protocols

## Slide 18: “Digital” Quantum Memory
Herriott cell cavity
18
Flat-mirror cavity
Modified Herriott cell cavity
Number of bounces limited by mirror area
E.g., 1.1-m spacing
→ 339 reflections
→ 1.25-µs delay
T537 cycles ~35%
Other ‘bases’ may be more optimal than ‘digital’, depending on application

## Slide 19: Memory performance limited by mirror reflectivity and polarization-switching efficiency
While fiber-based memories must deal with fundamental dispersion and loss limitations, mirror coatings and active-switching technologies are continuously improving
125-ns loop
end-to-end efficiency
1.25-µs loop
end-to-end efficiency
Can synchronize up to ~1000 time bins. Even better with QND!

## Slide 20: Sources, Sources, Sources
Needs:
High brightness = many pairs/second (but NOT many pairs/pulse)
High heralding efficiency = reduced effect of multi-pair events
High purity = factorizable joint spectral amplitude  ‘swappable’ entanglement
Notes: Multiplexing combines multiple parametric down-conversion sources to produce higher single and swap rates. PDC sources can be combined in two main ways:
Temporally:
With temporal multiplexing, we use the natural repetition rate of the pump to define multiple time bins to combine. This scheme requires a delay-line that delays successful events until the end of the combined time bins. An event is heralded by the photon’s sister, which causes the photon to become trapped in the delay-line using fast switches.
Spatially:
With spatial multiplexing, we spatially combine multiple crystal outputs using a routing system made of polarization beamsplitters and fast switches. Similarly, we herald the production of a photon from one source by measuring the sister photon. Depending on which source clicks, we then alter our routing system to guide the photon to the shared output port.
On the bottom left is a graph that shows the required transmission of our fast switches to allow multiplexing to outperform single-shot methods.

## Slide 21: Photon Pair Source – Joint Spectral Intensity Simulation
Expected purity with 1.5ps pump

## Slide 22: Nearly-degenerate source around 775 nm
Pump Wavelength | 387.484 nm
Crystal | ppKTP e → o + o
Pulse Width | 1 ps
Repetition Rate | 1 GHz
Crystal Length | 3 mm
Beam waists (p,s,i) | 10 um, 12 um, 12 um
Signal/Idler Filter | 0.75 nm
Approximate Brightness | x cc/mW•pulse
Heralding Efficiency | 91%
Purity | 81%
Pump Wavelength | 387.484 nm
Crystal | ppKTP e → o + o
Pulse Width | 1 ps
Repetition Rate | 1 GHz
Crystal Length | 3 mm
Beam waists (p,s,i) | 10 um, 12 um, 12 um
Signal/Idler Filter | 0.75 nm
Approximate Brightness | 
Heralding Efficiency | 91%
Purity | 81%
Slightly modified poling period to center JSI
Values have not been experimentally scaled/verified, where the effective nonlinear coefficient is set to 1 (2.6) pm/V.

## Slide 23: Non-Degenerate Source
Pump Wavelength | 520 nm
Crystal | ppKTP e → e + o
Pulse Width | 2 ps
Repetition Rate | 1 GHz
Crystal Length | 20 mm
Beam waists (p,s,i) | 18 um, 33 um, 22 um
Signal,Idler Filter | 1 nm, 1 nm
Approximate Brightne | x cc/mW•pulse
Heralding Efficiency | 95%
Purity | 92%
Pump Wavelength | 520 nm
Crystal | ppKTP e → e + o
Pulse Width | 2 ps
Repetition Rate | 1 GHz
Crystal Length | 20 mm
Beam waists (p,s,i) | 18 um, 33 um, 22 um
Signal,Idler Filter | 1 nm, 1 nm
Heralding Efficiency | 95%
Purity | 92%
Values have not been experimentally scaled/verified, where the effective nonlinear coefficient is set to 1 (2.49) pm/V.
Optimized waists for brightness

## Slide 24
Overview
Memory-enhanced quantum networking
Problem with fibers
Hybrid network
Outline

## Slide 25
The Problem with Fiber…
Causes unwanted modifications to polarization.
PLUS these can depend on wavelength
 “polarization mode dispersion” is effectively decoherence for quantum states encoded in polarization.

## Slide 26: Polarization Stability
Send different wavelengths utilizing tunable laser
  1549-1550nm
Measure the polarization after sending light of different wavelengths through the loop over multiple hours
Also measure with polarimeter

## Slide 27: Polarization Stability
Single polarization correction not viable for different wavelengths
Notes: Theta is the polar angle and phi is the azimuthal angle in all of these plots.

## Slide 28: Entanglement Source
Expected purity with 1.5-ps pump
PMD becomes issue given bandwidth of source…

## Slide 29: Polarization Mode Dispersion

## Slide 30: PMD Compensation
We find Principal Axis(PA) from polarimeter
Align laser output to PA with PC1
Send light into compensator
Minimize output in one branch of PBS to align PA axis with PMF axis with PC2
Process tomography at 1560 and 1561nm with and without compensation
  If compensated transfer matrix should not change with wavelength
  If not compensated transfer matrix should change with wavelength

## Slide 31: PMD Compensation
a = transfer matrix for the 1560-nm light
b = transfer matrix for the 1561-nm light

## Slide 32
Overview
Memory-enhanced quantum networking
Problem with fibers
Hybrid network
Outline

## Slide 33
The OTHER Problem with Fiber…
- direct optical path required (or trusted nodes)
- transmission drops exponentially with length
~ -0.2dB/km  T(200 km) = 10-5
T(1000 km) = 10-25 
- quantum repeaters possible, but not yet
- no fiber-free applications
- space, water, battlefield, …

## Slide 34: “Stealth” Communication…
Notes: Current Progress
- Continuous bidirectional locking achieved in 5-m long laboratory tests for ~10 s (0.5-5 Mb projected key per locking interval) for flying  stationary platform
Half-duplex pointing stabilization + locking for >150 s flight
Flight-ready FPGA Time Tagger, single-photon detectors
Custom designed/fabricated TX/RX optical benches
Flight-ready FPGA driver board & IID RC-LED sources for all polarizations with decoy states

## Slide 35: System Design
System Overview:
Quantum Transmitter (Alice)
  Quantum Key Distribution (QKD) source:
    Resonant cavity LED
    Decoy state
    Polarization encoded
  Custom optics benches
Quantum Receiver (Bob)
  Single-Photon Detectors (SPCM-AQ4C)
  FPGA-based Time-Tagger
  Qubit-based Time Synchronization (Post-processing)
Pointing, Acquisition, and Tracking (PAT) system
Mobile Platforms:
  Drone
  Car
Image Courtesy Timur Javid

## Slide 36: Modular Design
Modular Design:
Our QKD system shares no resources with host mobile platform
  Power
  Control
  Communication
Single quick-release connection with drone
   Place QKD transmitter (receiver) on other platforms (e.g., vehicle) with no required hardware changes
QKD Transmitter (Alice)
QKD Receiver (Bob)
Equipment Tray
Gimbal
Optical Benches
PAT Camera
Vibrational Dampers
Gimbal
Equipment Tray
NIR Beacon
PAT Camera
NIR Beacon
Notes: Spend a bit more time
-Not flying configuration (moving ground platform)

## Slide 37: PAT Subsystem (Course Adjustment)
Outer-Control Loop Calibration
Initial Pointing, acquisition, and course pointing
IR Beacon/IR Camera
Image processing to identify location in camera’s reference frame
Feedback Control
Tracking Performance:
  Pan RMS Error =
  Tilt RMS Error =
Gimbal Jitter Specification =
Gimbal
(Movi Pro)

## Slide 38: PAT Subsystem (Course and f Adjustment)
Outer-Control Loop Calibration
Initial Pointing, acquisition, and course pointing
IR Beacon/IR Camera
Image processing to identify location in camera’s reference frame
Feedback Control
Tracking Performance:
  Pan RMS Error =
  Tilt RMS Error =
Gimbal Jitter Specification =
Gimbal
(Movi Pro)

## Slide 39: PAT Subsystem (Fine Adjustment)
PAT Subsystem (Fine Adjustment)
Co-propagating laser beacons
  Transmitter: 705-nm beacon
  Receiver: 520-nm beacon
Fast Steering Mirrors + Position Sensitive Diode (PSD)
Senses incoming beacon beam Angle of Arrival (AoA)
Raspberry Pi single-board computer
Local (no PAT communication between drones)
653 nm QKD Source
705 nm TX Beacon
PSD
DM
DM
BP
FSM
Position Error Feedback Loop
LRC
IRB
IRC
520 nm RX Beacon
PSD
DM
DM
BP
FSM
Position Error Feedback Loop
LRC
IRB
IRC
Detection/Analysis
Free-Space Channel
LRC – Long Range Camera
IRB – Infrared Beacon
IRC – Infrared Camera
FSM – Fast Steering Mirror
DM – Dichroic Mirror
PSD – Position Sensitive Detector
BP – Narrowband Bandpass Filter
Transmitter
Receiver
Pointing Error_x = 21.1rad
Pointing Error_y = 22.9 rad
Fast Steering Mirrors
(Model LR-17)

## Slide 40: Air-to-Air Classical Locking
Land
Takeoff
Acquisition
Locked
Control Loops Off
Land
System Characterization
Classical Air-to-Air Locking into multimode fiber
Average 2.25 dB Channel Loss (60% transmission)
10-meter distance
Drone Platform
Alta 8 Pro Drone
20 lbs payload capacity
Two 10,000 mA-hr Lithium Polymer Batteries
Image Courtesy Timur Javid
60% Transmission
Notes: Duration of flight

## Slide 41: Drone Air-to-Air QKD Flights (Nov 2nd, 2022)
Quantum Transmission
Average QBER =2.9% (R/L Basis), 3.0% (H/V Basis)
1st demonstration of drone-to-drone QKD
Collaborating with Lütkenhaus group to develop tailor-made finite key analysis
Air-to-Air QKD Setup
Both drones hovering
10-meter distance between drones
Altitude ~5 meters above ground
 | Flight #1 | Flight #2 | Flight #3
QBER (R/L) | 2.0% | 1.8% | 5.0%
QBER (H/V) | 3.6% | 3.1% | 2.4%
Mean Photon Number | 0.78 | 0.78 | 0.73
 | Flight #1 | Flight #2 | Flight #3
QBER (R/L) | 2.0% | 1.8% | 5.0%
QBER (H/V) | 3.6% | 3.1% | 2.4%
 | 0.78 | 0.78 | 0.73
Image Courtesy Timur Javid

## Slide 42: Drone-to-Vehicle Results
Classical Transmission
Average coupling efficiency 38% into multimode fiber
QKD Transmission
Average QBER = 6.4% (R/L Basis), 3.0% (H/V Basis)
Air-to-Car Setup
Drone flying parallel to moving car
Speeds up to 10 mph
Transmitter on drone, receiver on car
Image Courtesy Timur Javid

## Slide 43: 70 mph Vehicle-to-Vehicle Quantum Transmission
Car-to-Car Quantum Setup
70 mph
Interstate Highway (I-57)
Outer-Control Loop only (Near-IR Beacon)
No alignment lasers
Attenuated laser quantum source
Coupled into multi-mode and single-mode fiber
Achieved 70 mph 28.6 dB SNR into multimode fiber and 17.4 dB SNR into single-mode fiber
We believe this is the first demonstration of a car-to-car quantum link on public highway
Highway
Route
Illinois
Image Courtesy Google Earth

## Slide 44: Entanglement Distribution Between Moving Platforms
Entanglement
Source A
Clock
Laser
1
Satellite
520 nm from frequency conversion
Wavelength relation
for swappable source
1
2
Goal: Distribute swappable entanglement between different platforms
1560 nm
1588 nm
773 nm
2
Notes: Entanglement can be generated on a satellite, or other moving platform, through indistinguishable nonlinear processes. The figure in top right shows the two processes we use are spatially separated.
The entanglement must be swappable. This means there can be no wavelength correlation between photon 1 & photon 2. To satisfy this requirement, we employ strong spectral filtering (at the expense of source brightness)

## Slide 45: Entanglement Distribution Between Moving Platforms
Entanglement
Source A
Clock
Laser
Ground
Station
Entanglement
Source B
3
4
Main Challenge: Synchronize entanglement sources, A & B.
Time (s)
Clock Frequency Change (kHz)
20
-20
0
-100
100
0
1 GHz Clock Doppler Shift
Doppler Shift:
Turbulence:
τ
Space
Earth
1
Satellite
1560 nm
1588 nm
773 nm
2
Goal: Distribute swappable entanglement between different platforms
Notes: The main challenge of this experiment is to synchronize the moving & stationary entanglement sources.
Since we are pumping our source using short pulses of light, Doppler shift on the repetition rate of the laser & turbulence through the atmosphere cause a time-dependent loss in synchronization.
We proposed to remedy this challenge by transmitting our pump & 1588-nm photons down in the same spatial mode. They would then experience the same Doppler shift & turbulence and remain synchronized.

## Slide 46: Entanglement Distribution Between Moving Platforms
Entanglement
Source A
Interference
Clock
Laser
Satellite 2
Ground
Station 1
Entanglement
Source B
2
3
4
When we interfere & measure photons & ,
photons & become entangled.
2
3
1
4
1
Ground
Station 2
2
A
B
1
2
3
4
Entanglement Swapping:
Main Challenge: Synchronize entanglement sources, A & B.
Satellite 1
For longer distances, we need to perform multiple swaps,
which requires high efficiency, non-cryogenic detectors on
satellites.
1560 nm
1588 nm
773 nm
Goal: Distribute swappable entanglement between different platforms
Notes: If synchronization is performed correctly, we can then interfere one photon from each source, photons 2 & 3, to “swap” entanglement to the other photons, 1 & 4.
The newly entangled photons can then be used to connect distant quantum networks, or the process can be repeated to connect networks farther apart.

## Slide 47: Entanglement Distribution in Hybrid Network
UAV
Ground Station Node 1
Photon a2
Photon a1
Photon b1
Photon b2
Node 3
Ground Station
Node 2
Bell State Measure-ment
Entanglement Source
(telecom fiber)

## Slide 48
Overview
Memory-enhanced quantum networking
Problem with fibers
Hybrid network
Summary