## Slide 1
FAST / IOTA Shutdown 2023-2024
Enclosure STATUS: ODH-0 & Supervised Access
ES&H: -South cave gate. LL OSC Intlks
IPI: -Cable pull ongoing (50% done)
  -Girders mounted. Stands started
  -RFQ rough™ position
Cryo: -Working on cryo system: repairs, testing, LN2 #45
ISD: -NML: Lights, Everything OK alarm, boiler, ICW
  -ESB HVAC
Water: -Air dryers. GN2 offset
  -LCW 2-pump test (finally balanced and quiet)
Contact FAST RunCo with any work or access requests
  There are a lot of jobs going on

## Slide 2: ISD Report on NML Status
NML Hi-Bay lights REQ is in procurement for some extra materials.
Walk-through done. Awaiting quote for Tech Room
Some lights and E-Lights have been scheduled and in part being worked on.
Bathroom sink should be fixed.
Generator: Block heater was replaced on 11/22. An exact replacement was used.
  It isn’t heating “enough”. The “pre-alarm” has been alarming since. It is hot, but not as hot as expected.
  Yesterday coolant was at 54C.
The generator will start and without issue.
  Currently ISD is waiting on contractor to come back with a plan