## Slide 1: Booster Operations
GMPS ramped all week
Configuration control unlock completed
Power supplies turned on, check outs ongoing
Kicker low level system energized
Investigating low gallery temps
Controlled Access request for Monday
  Measurements PIPII injection area
  BRF16 cavity short repair
  Chipmunk test for interlocks
  CHG0 toroid calibration