## Sheet1
Device | Location | Device Classification under 420.2D | Accelerating Potential | RWP with Operational Limits | Custodian
A2D2 | HAB | 1.c.(5) | 9 MeV electrons or gamma | RGD-24-008 | Charlie Cooper
ATC | HAB | Not built - Potential Equivalent Accelerator | a 20 kW, 1.6 MeV, superconducting RF, electron accelerator | N/A | Chris Edwards
Bruker S1 Turbo | IB-4 | 1.c.(1) | 40 kV and 20 uA (15kV and 60 uA without filter) | RGD-24-004 | Ted Beale
XRF | A0 | 1.c.(1) | x-ray tube, Rh anode up to 59kV, up to 125uA, 2.5 W | Not Issued | Kathrine Laureto
CMTS1 Cave | CMTF | Accelerator under 420.2d | Cavity vertical test gradient Eacc_VTS >18 MV/m Cavity horizontal test gradient Eacc_HTS > 18 MV/m Cavity cryomodule test gradient Eacc_CM > 16 MV/m Cavity cryomodule nominal gradient Eacc = 13.4 MV/m Cavity cryomodule maximum gradient Eacc = 14.9 MV/m | RGD-24-005 | Andrew Cravatta
PIP2IT Cave | CMTF | Accelerator under 420.2d | Nominal = 18.8 MV/m; Operational maximum = 20.7 MV/m; Administrative limit = 21.6 MV/m | RGD-24-006 and RGD-24-007 | Curt Baffes
DD Generator | MINOS | 1.c.(4) | 100 kV | Locked off | Patrick Lukens
DT Generator | Mu2e | 1.c.(4) | 120 kV | Locked off RGD-24-011 | Greg Rackness
HTS-2 | MDB | Not built - Potential Equivalent Accelerator | Unknown |  | Chris Edwards
NWA | NWA | 1.c .(5) | Power supplies are capable of 150 kV | Locked off Will be needed to test ESS-1 | N/A
PSTS | Linac | Unknown - RGD or Equivalent | 37.5 kV | RGD-24-012 | Dan Bollinger
JEOL SEM | ICB-MSL | RGD | N/A | RGD-24-002 | Akshay Murthy
Helios SEM | ICB-MSL | RGD | N/A | RGD-24-003 | Akshay Murthy
SPECS KREIOS | ICB-MSL | RGD | N/A | RGD-24-001 | Akshay Murthy
STC | MDB | Non-Exempt Accelerator | The 650 MHz cavities will be powered so as to reach an accelerating gradient of 25 MV/m. This implies a maximum gradient of 39 MV/m. The nine cell cavities will be tested to a accelerating gradient of 20 MV/m | RGD-24-010 | Bruce Hanna
VTS (VCTF) | IB-1 | Accelerator under 420.2d | Maximum reached so far is 47.7 MV/m | RGD-24-009 | Fumio Furuta