## Slide 1
FAST / IOTA Shutdown 2023-2024
Enclosure STATUS: ODH-0 & Supervised Access
ES&H: -South gate of cave (PO). OSC Mode continues in LL
IPI: -Cable pull resumed (2 wks left)(RG58, VAC, fiber)
  -Girders set. Stands in. Tray & cables in. Optics alignment.
  -6” coax installation in progress (w/ SME). Contactor installed
Cryo: -Working on cryo system: repairs, testing, LN2 #45, @5K Q3
ISD: -Lights changed™, “Everything OK alarm” (P™), ICW (Q2), -ESB HVAC (Q3), fdr #35 HV PM (May 2024)
Water: -GN2 Back-up system active. Chiller waiting on contractor???
FAST/IOTA Collaboration Meeting March 12-14
— Contact FAST RunCo with any work or access requests —

## Slide 2: ISD/CFM Report on NML Status
HiBay LEDs: in progress. Hard Hats under South Crane!
LED upgrade: (Exterior and Non-HiBay Interior) RFQ to contractors
Gravel for ESB south door (R&G) (Spring?)
Emergency Generator:
  New heater repair scheduled™ for Jan 24th (2024???)
  Procurement “working on it”™
ESB HVAC install – still waiting on contract submittal (P™)(Spring?)