## Slide 1
Temperature measurements of low-energy electrons using synchrotron radiation in a solenoid
S. Kladov, N. Banerjee

## Slide 2
1/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Goals and methods
In moving longitudinally frame:
usual synchrotron radiation with really low gamma ():
radiation
particle
Moving frame
In laboratory frame:
Two methods of measurement:
(radiating power)
(radiation frequency)

## Slide 3
2/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Realistic picture
Particle orbit
Cyclotron radius: mm
Waveguide:
So < 1% of the waveguide radius
TE01
TE11
TE21
TE31
TH01
TH11
Solid - E
Dashed - H
5 cm
Detector antenna
Waveguide modes propagating
Electron source

## Slide 4
3/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Signal Prediction
In laboratory frame:
– normalization
Radiation is incoherent
Low transverse energy
Spectrum :
energy radiated from 1 electron
Electron flux
a
2a
GHz

## Slide 5
4/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Coupling to Waveguide

## Slide 6
4/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Coupling to Waveguide
Averaging by initial electron position
Averaging by initial electron transverse velocity direction
Averaging by time

## Slide 7
5/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Numbers
Parameter | Lowest | Nominal | Highest
[T] | 0.06 | 0.1 | 0.5
[keV] | 1 | 1.36 | 10
[mA] | 5 | 100 | 3000
[m] |  | 0.7 | 
[mm] |  | 25 | 
[GHz] | 10.5 | 17.6 | 87.9
[eV] (expected) | 0.1 | 1 | 10
[mm] | 0.0021 | 0.034 | 0.18
[pW] | 0.08 | 12.4 | 10827
[GHz] | 0.2 | 0.4 | 5.53
Parameter | Lowest | Nominal | Highest
 | 0.06 | 0.1 | 0.5
 | 1 | 1.36 | 10
 | 5 | 100 | 3000
 |  | 0.7 | 
 |  | 25 | 
 | 10.5 | 17.6 | 87.9
 | 0.1 | 1 | 10
 | 0.0021 | 0.034 | 0.18
 | 0.08 | 12.4 | 10827
 | 0.2 | 0.4 | 5.53
IOTA parameters
IOTA radiation power and coupling to all modes
Doesn’t depend on the cyclotron radius if it is small enough
Parameter | T | T | T
[] | 3.38 | 305 | 61864
[%] | 0.09 | 0.19 | -
[%] | 0.59 | 1.1 | 2.6
[%] | 0.06 | 0.11 | -
[%] | 0.004 | 0.009 | -
[%] | 0.018 | 0.03 | 0.06
[%] | 0.38 | 0.56 | -
Parameter |  |  | 
 | 3.38 | 305 | 61864
 | 0.09 | 0.19 | -
 | 0.59 | 1.1 | 2.6
 | 0.06 | 0.11 | -
 | 0.004 | 0.009 | -
 | 0.018 | 0.03 | 0.06
 | 0.38 | 0.56 | -
1 keV, 0.5 T, 3A 1 eV

## Slide 8
6/6
S. Kladov, N. Banerjee, ? et al. SI in the solenoid of the Test Stand
Experimental setup
What can be done:
Increase the magnetic field: ?
Increase the solenoid length:
Increase the beam current:
Reduce the beam energy:
Reduce the amplifier temperature:
antenna
amplifier
voltmeter
Johnson–Nyquist Noise generated:
Fridge, T~30K
short
If one particle – power no infinity
If constant particle supply – the whole radiation reaches the detector ->
Infinity is determined by the field spread and waveguide quality factor
StN ~= 3

## Slide 9
Thank you! Questions time.

## Slide 10
r
z
beam
TE11:
( – waveguide radius)
The most efficient – rod?
TE01: