## Slide 1
Dean (Chip) Edstrom
02/23/2024
IOTA Proton Injector Update

## Slide 2: Electrical Status
Cave Pull Complete…
    120 / 208 VAC beamline power
    Routing cables along beamline
      ¼” Heliax & CAT5/6 (✔)
      8-Pair (✔)
      RG58 (✔)
      Fiber (✔)
      Small Multi-Conductor (✔)
    Safety Panel Installation (✔)
    Contactor Electronics (✔)
Gallery
    HLRF 600A Disconnect (✔)
    Cables: Heliax / RG58 / 10-Cond?

## Slide 3: Commissioning Status… No change
ORC Review for Full Source Operation
  Source Ready™ for Operation, but…
    HV Power Supply Failure/Repair
    Filament supply scaling questions
  RGD Registration
    Still waiting on FSO approval
  ES&H Monitoring Plan
    RCT presence for initial turn-on / for any increase in max voltage
    Passive monitoring (badges in-place)

## Slide 4: Next Steps
Beamline Component Installation (Dave Franck / Sasha R)
  RFQ Placement (✔) / Anchoring (✔) / Alignment
  LEBT Stand Placement (✔) / Anchoring (✔)
  Quadrupole Installation (✔) / Rough Alignment (✔)
  Multifunction Magnets Installation (✔) / Rough Alignment
  MEBT Allison Scanner & Other beamline components
Cable Routing / Termination
  500MCM Junction Boxes (✔ / …) (Daniel)
  8-Pair Magnet (✔ / ✔) / Turbo (✔ / …) (Chip)
  Heliax (✔ / ✔)
    BPMs (will need to be phase-matched)
  1 5/8” Buncher RF Heliax (✔ / …) (Ding)
  6” RFQ Waveguide Installation (✔ / …)
Dress / Fill Penetration

## Slide 5: Next Week…
AD/Inst Support
  Cable Termination, Mon / Wed, 10:00 – 15:00