## Slide 1: MQXFA15 SG Data during Testing
L. Garcia Fajardo, D. Cheng, P. Ferracin, G. Vallone
3/11/2024
LBNL

## Slide 2: MQXFA SG Gauges Layout
Only HBM gauges are installed.
Shell gauges --- three axial locations:
  Shell gauges (T & Z): on shell 2, 4, & 7
Coil gauges (T & Z): on the axial location of 3989 mm (RE) from LE.
Rod stations are located on the RE
  Each station is full bridge with four individual gauges.
LE
RE
MID
Shell 2
Shell 4
Shell 7
Coil Stations
Coil Stations
RE axial plate assembly
Rod Stations

## Slide 3: Data Processing Notes for MQXFA15
No strain data on the coils: Electrical SGs were disconnected before shipping the magnet to BNL, and FBG strain gauges not used during the test.
2/9/24 – 2/14/24  1st Cooldown
2/15/24 – 2/16/24  Low current ramps
2/27/24  Quenches 1 and 2
2/28/24  Ramp 1 (Ramp to 16530 A, 30 minutes hold, no quench), Ramp 2 (Ramp to 16230 A (+30 A/s, -100 A/s)), 5 minutes hold, no quench) and Quench 3
2/29/24  Ramp 3 (Ramp to 16530 A, 30 minutes hold, no quench), Ramp 4 (Ramp to 16230 A (+30 A/s, -100 A/s)), 5 minutes hold, no quench) and Quench 4
3/1/24  Ramp 5 (Ramp to 16530 A, 30 minutes hold, no quench)
3/4/24  Ramp 6 (Ramp to 16230 A (+30 A/s, -100 A/s), 5 minutes hold, no quench) and Ramp 7 (Ramp to 16530 A, 60 minutes hold, no quench)
3/5/2 – 3/6/24  Magnetic measurements
3/7/24  Ramp 8 (Ramp to 16230 A, at 4.5 K 20 A/s, 30 minutes hold, no quench)

## Slide 4: Shell02 stress. History plots

## Slide 5: Shell04 stress. History plots

## Slide 6: Shell07 stress. History plots

## Slide 7: Rods’ strain and stress. History plots

## Slide 8: SG Readings in the Cooldown 1

## Slide 9: Shells

## Slide 10: Shells and Rods

## Slide 11: Multiplots: Quenches 1-4

## Slide 12: Shell 2 - Strain

## Slide 13: Shell 2 – Delta Stress

## Slide 14: Shell 4 - Strain

## Slide 15: Shell 4 – Delta Stress

## Slide 16: Shell 7 - Strain

## Slide 17: Shell 7 – Delta Stress

## Slide 18: Rods – Strain and Delta Stress

## Slide 19: Multiplots: Ramps 1, 3, 5, 7 and 8 (Ramp 8 at 4.5 K)

## Slide 20: Shell 2 – Stress

## Slide 21: Shell 4 – Stress

## Slide 22: Shell 7 – Stress

## Slide 23: Rods – Stress

## Slide 24: Shells’ stress during preload, cooldown and powering
Preload
Cooldown
Powering (delta)

## Slide 25: Rods’ strain during preload, cooldown and powering
Preload
Cooldown
Powering (delta)

## Slide 26: Appendix

## Slide 27: Coil stress increase during powering (ramps-up and down averaged) Comparison with previous magnets
MQXFA03
Ramp to 16.65 kA
Av. delta stress: 101 MPa
MQXFA04
Ramp to 16.55 kA
Av. delta stress: 115 MPa
MQXFA05
Ramp to 16.46 kA
Av. delta stress: 102 MPa
MQXFA06
Ramp to 16.45 kA
Av. delta stress: 106 MPa
MQXFA07
Ramp to 15.45 kA
Av. delta stress: 107 MPa
MQXFA08
Ramp to 16.50 kA
Av. delta stress: 94 MPa
MQXFA10
Ramp to 16.54 kA
Av. delta stress: 89 MPa
MQXFA11
Ramp to 16.54 kA
Av. delta stress: 106 MPa

## Slide 28: Coil stress increase during powering (ramps-up and down averaged) Comparison with previous magnets
MQXFA08b
Ramp to 16.54 kA
MQXFA07b
Ramp to 16.54 kA
Av. delta stress: 112 MPa
Av. delta stress: 133 MPa

## Slide 29: Coil stress increase during powering (ramps-up and down averaged) Comparison with previous magnets
Maximum stress values of each coil were selected for these plots
In red: Coil quadrants with the highest stress increase
In blue: Coil quadrants with the lowest stress increase

## Slide 30: Coil azimuthal stress at room temperature

## Slide 31: E.M. Effect is Apparent on Coils and Shell 7 (this example is for magnet 5 but applies to all)
Despite not yet fully processing the files, the gauge readings of the coils and the shell 7 appear to be noisy during current ramps
Similar effects have been observed in earlier magnets
The noise on the signals is most likely from the dI/dt.
LP Filter
Cutoff frequency:0.25 Hz
Clean signal
Clean signal
Noisy signal
(note the different scale from Shells 02 and 04 plots)
Noisy signal

## Slide 32: Reference: MQXFA03 Coil Azimuthal --- over I2
LP Filter
Cutoff frequency:0.25 Hz
C204
C110
C111
C204 ramp up
C204 ramp down
C110 & 111 ramp up
C110 & 111 ramp down
The readings of this part may the combination of actual SG and inductive components
Combined the ramp up and ramp down data, the three coils actually behave identically.
The readings of the “turn around” part are likely to be combined with inductive components;
The “up-warp” on the curves of C110 & 111 may be not mechanical. It is “bended” by the field.
Inorm = 16.47 kA

## Slide 33: MQXFA04 Coil Strain --- over I2
The exact same behavior as seen in MQXFA03 (next slide).
From what we have learned from MQXFA03, there is no issue in the 10 kA ramp tests.
Inorm = 16.47 kA