## Slide 1
FAST / IOTA Shutdown 2023-2024
Enclosure STATUS: ODH-0 & Supervised Access
General: -ACNET alarms after power outage
ES&H: -South gate of cave. OSC Mode continues in LL
IPI: -480/120VAC Electric Req “to be entered Monday”™
  -Alignment Crew back on Monday.
  -6” coax completion on hold (Alignment)
  -Solenoid, Modulator, and CS cables routed
Cryo: -Working on cryo system: repairs, testing, LN2 #45, @5K Q3
Water: -GN2 Back-up system active. Chiller “waiting on contractor”™
FAST/IOTA Collaboration Meeting March 12-14 a success
— Contact FAST RunCo with any work or access requests —

## Slide 2: ISD/CFM Report on NML Status
HiBay LEDs in progress (again). Hard Hats under South Crane!
LED upgrade (Exterior and Non-HiBay Interior) RFQ to contractors
Tunnel Lights bulbs changed™ (again)
ICW flushing this Spring.
Emergency Generator:
  New heater repaired™ (again) 03/12. Beeping has stopped™
Door handles upgrade to ADA compliant
HV Electric PM done Wednesday, 03/20, successfully.
ESB HVAC install – still waiting on contract submittal
  In Procurement™ (Summer?)