## Slide 1
FAST / IOTA Shutdown 2023-2024
Enclosure STATUS: ODH-0 & Supervised Access (same)
General: -Continue to clean up NML!!! Supports groups occupied.
ES&H: -OSC Mode in LL. New South Gate. Interlock Test.
IPI: -HighBay 480/120VAC Electric Req entered last Friday
  -Alignment Crew done, buildout continues, 6” coax
  -HLRF work continues (Nick, Rene, Daniel, Trey)
  -EXCITING news on the Source
Cryo: -Working on cryo system: repairs, testing, LN2 #45, @5K Q3
Water: -GN2 Back-up system active. Chiller “in Procurement” ™
FAST/IOTA enclosure cleanliness documented (B-roll)
— Contact FAST RunCo with any work or access requests —

## Slide 2: ISD/CFM Report on NML Status
HiBay LEDs completed™. North row needs boom-lift.
LED upgrade (Exterior and Non-HiBay Interior) RFQ to contractors
NML light bulbs changed™ (again)
ICW flushing this Spring.
Emergency Generator:
  Repaired™ again, again 03/22. Beeping has stopped*
Door handles upgraded to ADA compliant
Fancoil PM done this week. Used strong solvent and VOCs.
ESB HVAC install – still waiting on contract submittal
  In Procurement™ (Summer?)