## tray_115
strip_ID | sipm_location | delivery_no | tray_no | overvoltage_V | DC# | DCR_mHz_per_mm2 | XTP | APP | valencia_DCR-reference_DCR (mHz/mm2) | set_no | meas_no | meas_ID | date | location | operator | setup_ID | system_characteristics | thermal_cycle | elapsed_cryo_time_min | electronic_board_number | electronic_board_location | electronic_board_socket | sampling_ns | waveform_window_mus | PDE | N_events | status | acquisition_time_min | threshold_mV | signal_unit | half_a_pe | one_and_a_half_pe | min_consecutive_peaks_for_burst | max_timedelay_for_consecutive_peak_in_s | burstless_DC# | burstless_DCR_mHz_per_mm2 | burstless_XTP | burstless_APP | is_filtered | filter_type
2210 | 1 | 1 | 115 | 3 | 2036 | 94.3157 | 0.1665 | 0.0128 | -438.0943 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:18 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 26 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2505 | None | 9.994 | 60 | V | 0.009 | 0.0256 | 5 | 0.1 | 1725 | 79.9089 | 0.1762 | 0.0139 | TRUE | integral
2210 | 2 | 1 | 115 | 3 | 1768 | 81.954 | 0.1488 | 0.0175 | -456.706 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:18 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 37 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2150 | None | 9.9875 | 60 | V | 0.0086 | 0.0243 | 5 | 0.1 | 1511 | 70.041 | 0.1602 | 0.0179 | TRUE | integral
2210 | 3 | 1 | 115 | 3 | 1890 | 87.5542 | 0.1339 | 0.0111 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 47 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2229 | None | 9.9938 | 60 | V | 0.0086 | 0.0245 | 5 | 0.1 | 1339 | 62.0291 | 0.1598 | 0.0112 | TRUE | integral
2210 | 4 | 1 | 115 | 3 | 2221 | 102.9507 | 0.1288 | 0.0108 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 58 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2594 | None | 9.9877 | 60 | V | 0.0095 | 0.0271 | 5 | 0.1 | 1233 | 57.1536 | 0.1646 | 0.0122 | TRUE | integral
2210 | 5 | 1 | 115 | 3 | 1532 | 71.0094 | 0.1416 | 0.0228 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 68 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1869 | None | 9.9882 | 60 | V | 0.0092 | 0.0261 | 5 | 0.1 | 1192 | 55.2501 | 0.156 | 0.026 | TRUE | integral
2210 | 6 | 1 | 115 | 3 | 1636 | 75.7958 | 0.1271 | 0.022 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 78 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1942 | None | 9.9927 | 60 | V | 0.0093 | 0.0266 | 5 | 0.1 | 986 | 45.6813 | 0.1613 | 0.0203 | TRUE | integral
2213 | 1 | 1 | 115 | 3 | 1339 | 62.0251 | 0.1307 | 0.0105 | -139.8249 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 89 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1607 | None | 9.9945 | 60 | V | 0.0083 | 0.0239 | 5 | 0.1 | 1048 | 48.5454 | 0.1431 | 0.0076 | TRUE | integral
2213 | 2 | 1 | 115 | 3 | 1579 | 73.3068 | 0.1153 | 0.0196 | -301.9232 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 99 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1805 | None | 9.972 | 60 | V | 0.01 | 0.0281 | 5 | 0.1 | 1033 | 47.9581 | 0.1394 | 0.0213 | TRUE | integral
2213 | 3 | 1 | 115 | 3 | 1490 | 69.0386 | 0.1242 | 0.0141 | -339.2914 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 109 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1702 | None | 9.9917 | 60 | V | 0.0098 | 0.027 | 5 | 0.1 | 1011 | 46.8443 | 0.1375 | 0.0119 | TRUE | integral
2213 | 4 | 1 | 115 | 3 | 1323 | 61.3635 | 0.1202 | 0.0227 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 120 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1473 | None | 9.9815 | 60 | V | 0.0094 | 0.027 | 5 | 0.1 | 887 | 41.1409 | 0.1387 | 0.0203 | TRUE | integral
2213 | 5 | 1 | 115 | 3 | 993 | 46.0248 | 0.1067 | 0.0161 | -407.6752 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 130 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1196 | None | 9.9886 | 60 | V | 0.0092 | 0.0263 | 5 | 0.1 | 737 | 34.1594 | 0.1289 | 0.0163 | TRUE | integral
2213 | 6 | 1 | 115 | 3 | 1382 | 64.1431 | 0.1006 | 0.0159 | -482.8469 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 140 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1536 | None | 9.9748 | 60 | V | 0.0093 | 0.0269 | 5 | 0.1 | 698 | 32.3965 | 0.1261 | 0.0215 | TRUE | integral
2214 | 1 | 1 | 115 | 3 | 1529 | 70.9608 | 0.0961 | 0.0183 | -91.0792 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 151 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1634 | None | 9.9755 | 60 | V | 0.0089 | 0.0253 | 5 | 0.1 | 707 | 32.8118 | 0.1174 | 0.0184 | TRUE | integral
2214 | 2 | 1 | 115 | 3 | 910 | 42.2992 | 0.0912 | 0.0099 | -275.0608 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 161 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 982 | None | 9.9599 | 60 | V | 0.0091 | 0.0259 | 5 | 0.1 | 657 | 30.5391 | 0.0959 | 0.0076 | TRUE | integral
2214 | 3 | 1 | 115 | 3 | 1336 | 61.8844 | 0.11 | 0.0097 | -334.6456 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 181 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1395 | None | 9.9947 | 60 | V | 0.0089 | 0.0251 | 5 | 0.1 | 462 | 21.4001 | 0.1299 | 0.0065 | TRUE | integral
2214 | 4 | 1 | 115 | 3 | 979 | 45.6748 | 0.1205 | 0.0133 | -421.6852 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 191 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1007 | None | 9.9232 | 60 | V | 0.0088 | 0.0261 | 5 | 0.1 | 374 | 17.4488 | 0.107 | 0.0187 | TRUE | integral
2214 | 5 | 1 | 115 | 3 | 704 | 32.7682 | 0.1321 | 0.0142 | -208.4318 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 201 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 734 | None | 9.9464 | 60 | V | 0.009 | 0.0255 | 5 | 0.1 | 260 | 12.1019 | 0.1462 | 0.0231 | TRUE | integral
2214 | 6 | 1 | 115 | 3 | 1683 | 78.3676 | 0.1182 | 0.0178 | 0 | 2 | 1 | Regular massibo measurement | 2024-03-06 11:56:19 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 212 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1687 | None | 9.9425 | 60 | V | 0.0083 | 0.0238 | 5 | 0.1 | 245 | 11.4082 | 0.1224 | 0.0122 | TRUE | integral
2216 | 1 | 1 | 115 | 3 | 2502 | 117.925 | 0.1187 | 0.0096 | -39.255 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:50 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 30 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.8226 | 60 | V | 0.0092 | 0.0268 | 5 | 0.1 | 1673 | 78.8524 | 0.1393 | 0.0096 | TRUE | integral
2216 | 2 | 1 | 115 | 3 | 2140 | 99.1215 | 0.1294 | 0.0178 | -227.9585 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:50 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 41 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2515 | None | 9.9952 | 60 | V | 0.009 | 0.0258 | 5 | 0.1 | 1481 | 68.5976 | 0.1553 | 0.0182 | TRUE | integral
2216 | 3 | 1 | 115 | 3 | 1704 | 79.0112 | 0.1373 | 0.02 | -257.0988 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 51 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2038 | None | 9.9845 | 60 | V | 0.0088 | 0.0252 | 5 | 0.1 | 1306 | 60.5567 | 0.1524 | 0.0184 | TRUE | integral
2216 | 4 | 1 | 115 | 3 | 1357 | 62.8996 | 0.1408 | 0.0125 | -96.5904 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 61 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1718 | None | 9.988 | 60 | V | 0.0091 | 0.0268 | 5 | 0.1 | 1139 | 52.7949 | 0.1545 | 0.0123 | TRUE | integral
2216 | 5 | 1 | 115 | 3 | 1581 | 73.3549 | 0.1303 | 0.0196 | -303.4951 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 72 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1884 | None | 9.9781 | 60 | V | 0.0096 | 0.0273 | 5 | 0.1 | 1094 | 50.7592 | 0.1636 | 0.0183 | TRUE | integral
2216 | 6 | 1 | 115 | 3 | 1273 | 59.1024 | 0.1304 | 0.0204 | -383.7176 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 82 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1532 | None | 9.9717 | 60 | V | 0.0093 | 0.0275 | 5 | 0.1 | 873 | 40.5313 | 0.1592 | 0.0229 | TRUE | integral
2218 | 1 | 1 | 115 | 3 | 1604 | 74.2688 | 0.1253 | 0.0224 | -306.9812 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 92 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1800 | None | 9.9987 | 60 | V | 0.0087 | 0.0252 | 5 | 0.1 | 1006 | 46.5801 | 0.1501 | 0.0258 | TRUE | integral
2218 | 2 | 1 | 115 | 3 | 1292 | 59.9251 | 0.106 | 0.0077 | -320.8649 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 103 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1523 | None | 9.9816 | 60 | V | 0.0092 | 0.0266 | 5 | 0.1 | 928 | 43.0422 | 0.125 | 0.0097 | TRUE | integral
2218 | 3 | 1 | 115 | 3 | 1060 | 49.2163 | 0.1038 | 0.0123 | -378.7937 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 113 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1222 | None | 9.9711 | 60 | V | 0.0103 | 0.0295 | 5 | 0.1 | 868 | 40.3017 | 0.1094 | 0.0138 | TRUE | integral
2218 | 4 | 1 | 115 | 3 | 1312 | 60.8822 | 0.1098 | 0.016 | -467.5878 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 123 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1472 | None | 9.9768 | 60 | V | 0.0092 | 0.0262 | 5 | 0.1 | 816 | 37.8657 | 0.1348 | 0.0159 | TRUE | integral
2218 | 5 | 1 | 115 | 3 | 1340 | 62.1061 | 0.1015 | 0.0119 | -366.8339 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 133 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1470 | None | 9.9889 | 60 | V | 0.0095 | 0.0273 | 5 | 0.1 | 720 | 33.3704 | 0.1125 | 0.0139 | TRUE | integral
2218 | 6 | 1 | 115 | 3 | 1285 | 59.8218 | 0.1082 | 0.014 | -392.7282 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 134 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1369 | None | 9.9447 | 60 | V | 0.0098 | 0.0278 | 5 | 0.1 | 609 | 28.3513 | 0.1281 | 0.0164 | TRUE | integral
2219 | 1 | 1 | 115 | 3 | 1286 | 59.8927 | 0.1019 | 0.0109 | -412.3273 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 144 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1370 | None | 9.9406 | 60 | V | 0.0094 | 0.0275 | 5 | 0.1 | 578 | 26.9191 | 0.1332 | 0.0104 | TRUE | integral
2219 | 2 | 1 | 115 | 3 | 954 | 44.3459 | 0.1153 | 0.0189 | -461.9041 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 154 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1028 | None | 9.9596 | 60 | V | 0.0091 | 0.0263 | 5 | 0.1 | 391 | 18.1753 | 0.1279 | 0.0077 | TRUE | integral
2219 | 3 | 1 | 115 | 3 | 1040 | 48.4871 | 0.1087 | 0.0087 | -492.0229 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 164 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1084 | None | 9.9301 | 60 | V | 0.0093 | 0.0273 | 5 | 0.1 | 296 | 13.8002 | 0.1419 | 0.0135 | TRUE | integral
2219 | 4 | 1 | 115 | 3 | 708 | 32.9615 | 0.1229 | 0.0141 | 0 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 174 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 757 | None | 9.9443 | 60 | V | 0.0097 | 0.0283 | 5 | 0.1 | 260 | 12.1045 | 0.1192 | 0.0115 | TRUE | integral
2219 | 5 | 1 | 115 | 3 | 749 | 34.8583 | 0.1308 | 0.0067 | -472.3217 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 185 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 791 | None | 9.9477 | 60 | V | 0.0091 | 0.0262 | 5 | 0.1 | 226 | 10.518 | 0.1239 | 0 | TRUE | integral
2219 | 6 | 1 | 115 | 3 | 878 | 40.8587 | 0.139 | 0.0148 | -537.3813 | 2 | 2 | Regular massibo measurement | 2024-03-06 17:34:51 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 195 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 908 | None | 9.9485 | 60 | V | 0.0094 | 0.0274 | 5 | 0.1 | 201 | 9.3538 | 0.1343 | 0.01 | TRUE | integral
2220 | 1 | 1 | 115 | 3 | 2255 | 104.4801 | 0.1202 | 0.0306 | -110.5699 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 27 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2601 | None | 9.9922 | 60 | V | 0.0096 | 0.0276 | 5 | 0.1 | 1698 | 78.6729 | 0.129 | 0.0271 | TRUE | integral
2220 | 2 | 1 | 115 | 3 | 1815 | 84.0861 | 0.1223 | 0.0364 | -312.9039 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 38 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2136 | None | 9.9931 | 60 | V | 0.0089 | 0.0255 | 5 | 0.1 | 1494 | 69.2146 | 0.1265 | 0.0341 | TRUE | integral
2220 | 3 | 1 | 115 | 3 | 1786 | 82.7489 | 0.1361 | 0.0258 | -368.8711 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 48 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2044 | None | 9.9923 | 60 | V | 0.0093 | 0.0271 | 5 | 0.1 | 1374 | 63.6601 | 0.147 | 0.0247 | TRUE | integral
2220 | 4 | 1 | 115 | 3 | 2534 | 117.447 | 0.1046 | 0.0375 | -403.613 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 59 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2775 | None | 9.9887 | 60 | V | 0.0095 | 0.0276 | 5 | 0.1 | 1301 | 60.2993 | 0.1307 | 0.0346 | TRUE | integral
2220 | 5 | 1 | 115 | 3 | 1781 | 82.6194 | 0.1252 | 0.0359 | -363.6806 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 69 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2003 | None | 9.9799 | 60 | V | 0.01 | 0.029 | 5 | 0.1 | 1128 | 52.3272 | 0.1516 | 0.0372 | TRUE | integral
2220 | 6 | 1 | 115 | 3 | 1437 | 66.6146 | 0.1162 | 0.0418 | -422.2754 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 79 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1646 | None | 9.987 | 60 | V | 0.0098 | 0.0286 | 5 | 0.1 | 929 | 43.0654 | 0.1302 | 0.0484 | TRUE | integral
2221 | 1 | 1 | 115 | 3 | 1366 | 63.2692 | 0.1193 | 0.0351 | -119.1408 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 90 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1531 | None | 9.9955 | 60 | V | 0.0095 | 0.0271 | 5 | 0.1 | 964 | 44.6497 | 0.1224 | 0.028 | TRUE | integral
2221 | 2 | 1 | 115 | 3 | 1728 | 80.0516 | 0.11 | 0.0318 | -254.6684 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 100 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1862 | None | 9.9936 | 60 | V | 0.0097 | 0.0279 | 5 | 0.1 | 972 | 45.029 | 0.1286 | 0.0319 | TRUE | integral
2221 | 3 | 1 | 115 | 3 | 2105 | 97.7058 | 0.0988 | 0.0295 | -172.2042 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 110 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2190 | None | 9.9742 | 60 | V | 0.01 | 0.0289 | 5 | 0.1 | 948 | 44.0024 | 0.116 | 0.0274 | TRUE | integral
2221 | 4 | 1 | 115 | 3 | 1096 | 50.7736 | 0.1086 | 0.031 | -156.4064 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 121 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1187 | None | 9.9935 | 60 | V | 0.01 | 0.0287 | 5 | 0.1 | 739 | 34.2351 | 0.1218 | 0.0203 | TRUE | integral
2221 | 5 | 1 | 115 | 3 | 1378 | 63.9022 | 0.1016 | 0.0247 | -397.6678 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 131 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1446 | None | 9.9834 | 60 | V | 0.0098 | 0.0286 | 5 | 0.1 | 722 | 33.4814 | 0.1108 | 0.0263 | TRUE | integral
2221 | 6 | 1 | 115 | 3 | 1351 | 62.5913 | 0.091 | 0.0289 | -433.7087 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 141 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1387 | None | 9.9928 | 60 | V | 0.0102 | 0.0291 | 5 | 0.1 | 667 | 30.9018 | 0.1034 | 0.027 | TRUE | integral
2223 | 1 | 1 | 115 | 3 | 711 | 33.0472 | 0.128 | 0.0211 | 0 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 151 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 744 | None | 9.9605 | 60 | V | 0.0097 | 0.0284 | 5 | 0.1 | 296 | 13.758 | 0.125 | 0.0068 | TRUE | integral
2223 | 2 | 1 | 115 | 3 | 984 | 45.7837 | 0.124 | 0.0346 | -382.6863 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 162 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1011 | None | 9.9502 | 60 | V | 0.0092 | 0.0268 | 5 | 0.1 | 342 | 15.9126 | 0.1579 | 0.0409 | TRUE | integral
2223 | 3 | 1 | 115 | 3 | 300 | 14.0167 | 0.1233 | 0.02 | -455.1933 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 172 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 367 | None | 9.9088 | 60 | V | 0.0097 | 0.0282 | 5 | 0.1 | 239 | 11.1667 | 0.1423 | 0.0251 | TRUE | integral
2223 | 4 | 1 | 115 | 3 | 795 | 37.2783 | 0.1094 | 0.0239 | -134.2517 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 182 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 852 | None | 9.8732 | 60 | V | 0.0097 | 0.0284 | 5 | 0.1 | 295 | 13.8328 | 0.1525 | 0.0203 | TRUE | integral
2223 | 5 | 1 | 115 | 3 | 808 | 37.8825 | 0.1349 | 0.0173 | -425.7775 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 192 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 851 | None | 9.8746 | 60 | V | 0.0091 | 0.0265 | 5 | 0.1 | 233 | 10.924 | 0.1288 | 0.0086 | TRUE | integral
2223 | 6 | 1 | 115 | 3 | 1617 | 75.4638 | 0.1175 | 0.0284 | -391.4362 | 2 | 3 | Regular massibo measurement | 2024-03-06 17:57:12 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 202 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1632 | None | 9.9201 | 60 | V | 0.009 | 0.0259 | 5 | 0.1 | 317 | 14.7941 | 0.1293 | 0.0252 | TRUE | integral
2224 | 1 | 1 | 115 | 3 | 1267 | 58.777 | 0.1413 | 0.026 | -367.153 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 275 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1486 | None | 9.9796 | 60 | V | 0.0098 | 0.0283 | 5 | 0.1 | 533 | 24.7262 | 0.1426 | 0.0206 | TRUE | integral
2224 | 2 | 1 | 115 | 3 | 786 | 36.7302 | 0.126 | 0.014 | -453.7798 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 285 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 848 | None | 9.9071 | 60 | V | 0.009 | 0.0259 | 5 | 0.1 | 315 | 14.7201 | 0.1333 | 0.0095 | TRUE | integral
2224 | 3 | 1 | 115 | 3 | 2607 | 121.2574 | 0.1304 | 0.0272 | -430.8226 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 33 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.9536 | 60 | V | 0.0092 | 0.0263 | 5 | 0.1 | 1786 | 83.0709 | 0.1461 | 0.028 | TRUE | integral
2224 | 4 | 1 | 115 | 3 | 2056 | 95.3728 | 0.1352 | 0.0302 | -482.4072 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 43 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2420 | None | 9.9803 | 60 | V | 0.0096 | 0.0274 | 5 | 0.1 | 1522 | 70.6018 | 0.1478 | 0.0269 | TRUE | integral
2224 | 5 | 1 | 115 | 3 | 1837 | 85.2071 | 0.1394 | 0.0365 | -406.2329 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 54 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2219 | None | 9.9811 | 60 | V | 0.0099 | 0.0276 | 5 | 0.1 | 1355 | 62.8501 | 0.155 | 0.0339 | TRUE | integral
2224 | 6 | 1 | 115 | 3 | 2217 | 102.9508 | 0.1065 | 0.0347 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 64 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2547 | None | 9.9697 | 60 | V | 0.0094 | 0.0273 | 5 | 0.1 | 1146 | 53.2168 | 0.1431 | 0.0375 | TRUE | integral
2243 | 1 | 1 | 115 | 3 | 1826 | 84.5705 | 0.1276 | 0.0389 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 75 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2108 | None | 9.996 | 60 | V | 0.009 | 0.0257 | 5 | 0.1 | 1264 | 58.5417 | 0.1479 | 0.0332 | TRUE | integral
2243 | 2 | 1 | 115 | 3 | 1923 | 89.1235 | 0.1097 | 0.0224 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 85 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2215 | None | 9.9893 | 60 | V | 0.0105 | 0.03 | 5 | 0.1 | 1119 | 51.8613 | 0.1269 | 0.025 | TRUE | integral
2243 | 3 | 1 | 115 | 3 | 1581 | 73.23 | 0.1063 | 0.0221 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 96 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1801 | None | 9.9951 | 60 | V | 0.0102 | 0.0296 | 5 | 0.1 | 1108 | 51.3212 | 0.1327 | 0.0181 | TRUE | integral
2243 | 4 | 1 | 115 | 3 | 1495 | 69.4209 | 0.1077 | 0.0328 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 106 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1647 | None | 9.97 | 60 | V | 0.01 | 0.029 | 5 | 0.1 | 973 | 45.1816 | 0.1326 | 0.0257 | TRUE | integral
2243 | 5 | 1 | 115 | 3 | 1125 | 52.1629 | 0.112 | 0.0373 | -484.8771 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 116 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1298 | None | 9.9847 | 60 | V | 0.0098 | 0.028 | 5 | 0.1 | 832 | 38.5774 | 0.125 | 0.0373 | TRUE | integral
2243 | 6 | 1 | 115 | 3 | 1628 | 75.6571 | 0.0995 | 0.0344 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 126 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1840 | None | 9.9621 | 60 | V | 0.0096 | 0.0275 | 5 | 0.1 | 748 | 34.7614 | 0.1176 | 0.0254 | TRUE | integral
2251 | 1 | 1 | 115 | 3 | 809 | 37.5077 | 0.0803 | 0.0235 | -115.7323 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 137 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1337 | None | 9.9856 | 60 | V | 0.0093 | 0.0276 | 5 | 0.1 | 652 | 30.2287 | 0.0844 | 0.023 | TRUE | integral
2251 | 2 | 1 | 115 | 3 | 1536 | 71.153 | 0.0964 | 0.026 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 147 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1616 | None | 9.9941 | 60 | V | 0.0097 | 0.0277 | 5 | 0.1 | 776 | 35.9471 | 0.1108 | 0.0168 | TRUE | integral
2251 | 3 | 1 | 115 | 3 | 904 | 42.0723 | 0.0796 | 0.0166 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 157 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 960 | None | 9.9476 | 60 | V | 0.0093 | 0.0274 | 5 | 0.1 | 658 | 30.6234 | 0.0745 | 0.0182 | TRUE | integral
2251 | 4 | 1 | 115 | 3 | 1614 | 75.0116 | 0.1078 | 0.0217 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 167 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1729 | None | 9.9614 | 60 | V | 0.0092 | 0.0262 | 5 | 0.1 | 575 | 26.7235 | 0.0991 | 0.0104 | TRUE | integral
2251 | 5 | 1 | 115 | 3 | 1149 | 53.7289 | 0.1166 | 0.0296 | -416.1811 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 177 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1178 | None | 9.9005 | 60 | V | 0.009 | 0.0267 | 5 | 0.1 | 317 | 14.8234 | 0.1356 | 0.0252 | TRUE | integral
2251 | 6 | 1 | 115 | 3 | 1051 | 48.8307 | 0.1151 | 0.0219 | 0 | 2 | 4 | Regular massibo measurement | 2024-03-07 12:12:25 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 187 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1303 | None | 9.9645 | 60 | V | 0.009 | 0.0259 | 5 | 0.1 | 334 | 15.518 | 0.1228 | 0.009 | TRUE | integral
2252 | 1 | 1 | 115 | 3 | 2640 | 142.978 | 0.1057 | 0.0292 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 29 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.5483 | 60 | V | 0.009 | 0.026 | 5 | 0.1 | 1588 | 86.0034 | 0.1297 | 0.0277 | TRUE | integral
2252 | 2 | 1 | 115 | 3 | 1979 | 91.6625 | 0.14 | 0.0308 | -362.0375 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 39 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2359 | None | 9.9954 | 60 | V | 0.0088 | 0.0252 | 5 | 0.1 | 1699 | 78.6936 | 0.1507 | 0.0306 | TRUE | integral
2252 | 3 | 1 | 115 | 3 | 1959 | 90.7103 | 0.1409 | 0.0286 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 40 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2293 | None | 9.9983 | 60 | V | 0.0086 | 0.0244 | 5 | 0.1 | 1437 | 66.5394 | 0.1628 | 0.0237 | TRUE | integral
2252 | 4 | 1 | 115 | 3 | 1597 | 74.0012 | 0.1359 | 0.0319 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 50 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1928 | None | 9.9911 | 60 | V | 0.0093 | 0.026 | 5 | 0.1 | 1239 | 57.4123 | 0.1542 | 0.0307 | TRUE | integral
2252 | 5 | 1 | 115 | 3 | 1690 | 78.3294 | 0.1373 | 0.0373 | -454.0806 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 60 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2035 | None | 9.9887 | 60 | V | 0.0093 | 0.0265 | 5 | 0.1 | 1161 | 53.8109 | 0.1525 | 0.037 | TRUE | integral
2252 | 6 | 1 | 115 | 3 | 1786 | 82.7268 | 0.1321 | 0.0297 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 71 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2084 | None | 9.995 | 60 | V | 0.0091 | 0.0262 | 5 | 0.1 | 998 | 46.227 | 0.1543 | 0.0341 | TRUE | integral
2253 | 1 | 1 | 115 | 3 | 1505 | 69.8219 | 0.1256 | 0.0292 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 81 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1800 | None | 9.9791 | 60 | V | 0.0086 | 0.0246 | 5 | 0.1 | 1162 | 53.909 | 0.1411 | 0.0301 | TRUE | integral
2253 | 2 | 1 | 115 | 3 | 1293 | 59.9164 | 0.1176 | 0.0302 | -450.2736 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 91 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1493 | None | 9.9908 | 60 | V | 0.01 | 0.029 | 5 | 0.1 | 1023 | 47.4049 | 0.1232 | 0.0303 | TRUE | integral
2253 | 3 | 1 | 115 | 3 | 1292 | 59.8838 | 0.1115 | 0.0193 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 102 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1477 | None | 9.9885 | 60 | V | 0.0101 | 0.0281 | 5 | 0.1 | 1019 | 47.2303 | 0.1266 | 0.0186 | TRUE | integral
2253 | 4 | 1 | 115 | 3 | 1235 | 57.2426 | 0.1069 | 0.0291 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 112 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1402 | None | 9.9884 | 60 | V | 0.0091 | 0.0264 | 5 | 0.1 | 902 | 41.808 | 0.122 | 0.0299 | TRUE | integral
2253 | 5 | 1 | 115 | 3 | 722 | 33.5405 | 0.1177 | 0.0291 | -514.1495 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 122 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 889 | None | 9.9659 | 60 | V | 0.0105 | 0.0298 | 5 | 0.1 | 674 | 31.3106 | 0.1246 | 0.0252 | TRUE | integral
2253 | 6 | 1 | 115 | 3 | 1065 | 49.3834 | 0.1099 | 0.0272 | -508.9466 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 132 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1178 | None | 9.9842 | 60 | V | 0.0099 | 0.0286 | 5 | 0.1 | 598 | 27.7289 | 0.1171 | 0.0234 | TRUE | integral
2254 | 1 | 1 | 115 | 3 | 1042 | 48.4404 | 0.0969 | 0.0163 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 143 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1141 | None | 9.9588 | 60 | V | 0.0094 | 0.0268 | 5 | 0.1 | 652 | 30.3101 | 0.1028 | 0.0123 | TRUE | integral
2254 | 2 | 1 | 115 | 3 | 1543 | 71.5474 | 0.1069 | 0.0305 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 153 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1594 | None | 9.9843 | 60 | V | 0.0089 | 0.0259 | 5 | 0.1 | 654 | 30.3253 | 0.1162 | 0.0214 | TRUE | integral
2254 | 3 | 1 | 115 | 3 | 1669 | 77.4525 | 0.1126 | 0.0252 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 163 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1729 | None | 9.9763 | 60 | V | 0.0093 | 0.0268 | 5 | 0.1 | 477 | 22.1359 | 0.1237 | 0.0231 | TRUE | integral
2254 | 4 | 1 | 115 | 3 | 1164 | 54.1704 | 0.1254 | 0.0275 | 0 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 173 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1216 | None | 9.948 | 60 | V | 0.0092 | 0.0266 | 5 | 0.1 | 339 | 15.7764 | 0.1681 | 0.0118 | TRUE | integral
2254 | 5 | 1 | 115 | 3 | 1054 | 49.1897 | 0.1376 | 0.0199 | -520.2503 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 184 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1082 | None | 9.92 | 60 | V | 0.0093 | 0.0265 | 5 | 0.1 | 303 | 14.1409 | 0.132 | 0.0099 | TRUE | integral
2254 | 6 | 1 | 115 | 3 | 868 | 40.4614 | 0.1233 | 0.0207 | -509.3086 | 2 | 5 | Regular massibo measurement | 2024-03-08 17:17:55 | Valencia | Carlos G. Benítez | Massibo v1 | None | 1 | 194 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 905 | None | 9.9317 | 60 | V | 0.0089 | 0.0263 | 5 | 0.1 | 254 | 11.8401 | 0.1299 | 0.0157 | TRUE | integral

## tray_68
strip_ID | sipm_location | delivery_no | tray_no | overvoltage_V | DC# | DCR_mHz_per_mm2 | XTP | APP | valencia_DCR-reference_DCR (mHz/mm2) | set_no | meas_no | meas_ID | date | location | operator | setup_ID | system_characteristics | thermal_cycle | elapsed_cryo_time_min | electronic_board_number | electronic_board_location | electronic_board_socket | sampling_ns | waveform_window_mus | PDE | N_events | status | acquisition_time_min | threshold_mV | signal_unit | half_a_pe | one_and_a_half_pe | min_consecutive_peaks_for_burst | max_timedelay_for_consecutive_peak_in_s | burstless_DC# | burstless_DCR_mHz_per_mm2 | burstless_XTP | burstless_APP | is_filtered | filter_type
1425 | 1 | 1 | 68 | 3 | 898 | 42.3208 | 0.1737 | 0.0256 | 13.1541 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 201 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 950 | None | 9.8236 | 60 | V | 0.0108 | 0.0311 | 5 | 0.1 | 281 | 13.2429 | 0.1601 | 0.0178 | TRUE | integral
1425 | 2 | 1 | 68 | 3 | 2358 | 113.6109 | 0.1522 | 0.0216 | 91.8516 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 21 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.6088 | 60 | V | 0.0108 | 0.0309 | 5 | 0.1 | 1792 | 86.3404 | 0.1702 | 0.0218 | TRUE | integral
1425 | 3 | 1 | 68 | 3 | 2416 | 119.7516 | 0.1776 | 0.0319 | 45.4461 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 31 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.3403 | 60 | V | 0.0104 | 0.0298 | 5 | 0.1 | 1667 | 82.6266 | 0.2058 | 0.0336 | TRUE | integral
1425 | 4 | 1 | 68 | 3 | 2153 | 99.7582 | 0.1602 | 0.032 | 72.2119 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 41 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2733 | None | 9.9918 | 60 | V | 0.011 | 0.031 | 5 | 0.1 | 1553 | 71.9575 | 0.1835 | 0.0328 | TRUE | integral
1425 | 5 | 1 | 68 | 3 | 1679 | 77.7674 | 0.1614 | 0.0226 | 51.147 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 51 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2254 | None | 9.9954 | 60 | V | 0.0106 | 0.0311 | 5 | 0.1 | 1306 | 60.4909 | 0.183 | 0.0237 | TRUE | integral
1425 | 6 | 1 | 68 | 3 | 1553 | 72.0138 | 0.197 | 0.0277 | -126.1343 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 61 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2089 | None | 9.9839 | 60 | V | 0.0111 | 0.0322 | 5 | 0.1 | 1147 | 53.1873 | 0.2153 | 0.0253 | TRUE | integral
1426 | 1 | 1 | 68 | 3 | 1947 | 90.2824 | 0.1448 | 0.0365 | 67.8287 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 71 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2454 | None | 9.9841 | 60 | V | 0.01 | 0.0285 | 5 | 0.1 | 1255 | 58.1944 | 0.1602 | 0.0311 | TRUE | integral
1426 | 2 | 1 | 68 | 3 | 1646 | 76.2372 | 0.1695 | 0.034 | 60.0335 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 81 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2104 | None | 9.9956 | 60 | V | 0.0111 | 0.0317 | 5 | 0.1 | 1270 | 58.8222 | 0.1811 | 0.0362 | TRUE | integral
1426 | 3 | 1 | 68 | 3 | 1869 | 86.5547 | 0.1391 | 0.0305 | 62.7121 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 91 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2284 | None | 9.9969 | 60 | V | 0.0116 | 0.0325 | 5 | 0.1 | 1235 | 57.1937 | 0.1514 | 0.0275 | TRUE | integral
1426 | 4 | 1 | 68 | 3 | 1485 | 68.8265 | 0.1542 | 0.0263 | 60.4932 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 101 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1852 | None | 9.9889 | 60 | V | 0.0111 | 0.0318 | 5 | 0.1 | 1099 | 50.9362 | 0.1711 | 0.0255 | TRUE | integral
1426 | 5 | 1 | 68 | 3 | 1574 | 72.9562 | 0.1506 | 0.0235 | 49.5766 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 111 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1881 | None | 9.9882 | 60 | V | 0.0112 | 0.0324 | 5 | 0.1 | 994 | 46.0727 | 0.1781 | 0.0221 | TRUE | integral
1426 | 6 | 1 | 68 | 3 | 1253 | 58.1445 | 0.1245 | 0.0311 | 22.7278 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 121 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1521 | None | 9.9767 | 60 | V | 0.0117 | 0.0343 | 5 | 0.1 | 808 | 37.4946 | 0.1423 | 0.0371 | TRUE | integral
1429 | 1 | 1 | 68 | 3 | 1255 | 58.1554 | 0.1386 | 0.0327 | 38.248 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 131 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1472 | None | 9.9908 | 60 | V | 0.0108 | 0.0313 | 5 | 0.1 | 825 | 38.2297 | 0.1503 | 0.0315 | TRUE | integral
1429 | 2 | 1 | 68 | 3 | 1000 | 46.3637 | 0.116 | 0.02 | 13.9563 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 141 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1210 | None | 9.9855 | 60 | V | 0.0107 | 0.0305 | 5 | 0.1 | 764 | 35.4219 | 0.127 | 0.0196 | TRUE | integral
1429 | 3 | 1 | 68 | 3 | 955 | 44.2832 | 0.1361 | 0.0262 | 18.1258 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 151 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1130 | None | 9.9841 | 60 | V | 0.0113 | 0.0322 | 5 | 0.1 | 797 | 36.9568 | 0.1368 | 0.0314 | TRUE | integral
1429 | 4 | 1 | 68 | 3 | 928 | 43.1072 | 0.1379 | 0.0237 | 9.7739 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 161 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1065 | None | 9.9665 | 60 | V | 0.0108 | 0.0301 | 5 | 0.1 | 589 | 27.3601 | 0.1341 | 0.0238 | TRUE | integral
1429 | 5 | 1 | 68 | 3 | 1499 | 69.4791 | 0.1247 | 0.022 | 49.8032 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 171 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1569 | None | 9.9883 | 60 | V | 0.0109 | 0.0309 | 5 | 0.1 | 643 | 29.8032 | 0.1306 | 0.0124 | TRUE | integral
1429 | 6 | 1 | 68 | 3 | 909 | 42.2628 | 0.1342 | 0.0253 | 8.235 | 1 | 1 | Regular massibo measurement | 2023-12-28 13:28:04 | Valencia | Carlos G. Benitez | Massibo | None | 2 | 181 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 987 | None | 9.9575 | 60 | V | 0.011 | 0.0314 | 5 | 0.1 | 395 | 18.365 | 0.1291 | 0.0152 | TRUE | integral
1431 | 1 | 1 | 68 | 3 | 1426 | 66.1663 | 0.1374 | 0.0281 | 47.8793 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 221 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1548 | None | 9.9777 | 60 | V | 0.0108 | 0.0307 | 5 | 0.1 | 638 | 29.6032 | 0.163 | 0.0266 | TRUE | integral
1431 | 2 | 1 | 68 | 3 | 2192 | 103.1369 | 0.2108 | 0.026 | 58.461 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 33 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.8395 | 60 | V | 0.0103 | 0.029 | 5 | 0.1 | 2082 | 97.9612 | 0.2137 | 0.0264 | TRUE | integral
1431 | 3 | 1 | 68 | 3 | 2217 | 102.7019 | 0.1903 | 0.028 | 82.3315 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 44 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2993 | None | 9.9939 | 60 | V | 0.0105 | 0.0298 | 5 | 0.1 | 1850 | 85.7007 | 0.207 | 0.0281 | TRUE | integral
1431 | 4 | 1 | 68 | 3 | 1944 | 90.0398 | 0.2104 | 0.0252 | 70.3639 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 54 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2673 | None | 9.9956 | 60 | V | 0.0096 | 0.0276 | 5 | 0.1 | 1732 | 80.2207 | 0.224 | 0.026 | TRUE | integral
1431 | 5 | 1 | 68 | 3 | 2022 | 93.6614 | 0.2003 | 0.0247 | 54.7725 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 65 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2727 | None | 9.9946 | 60 | V | 0.0115 | 0.033 | 5 | 0.1 | 1590 | 73.6507 | 0.2245 | 0.0264 | TRUE | integral
1431 | 6 | 1 | 68 | 3 | 2312 | 108.8375 | 0.1743 | 0.0277 | 69.0227 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 75 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 9.8346 | 60 | V | 0.0115 | 0.0332 | 5 | 0.1 | 1319 | 62.092 | 0.2244 | 0.0296 | TRUE | integral
1432 | 1 | 1 | 68 | 3 | 1870 | 86.6157 | 0.1995 | 0.0342 | 63.0045 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 86 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2563 | None | 9.9952 | 60 | V | 0.01 | 0.0283 | 5 | 0.1 | 1484 | 68.7367 | 0.217 | 0.0303 | TRUE | integral
1432 | 2 | 1 | 68 | 3 | 2202 | 102.2496 | 0.1812 | 0.0268 | 81.1848 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 96 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2824 | None | 9.9702 | 60 | V | 0.0111 | 0.0309 | 5 | 0.1 | 1393 | 64.6838 | 0.2146 | 0.0258 | TRUE | integral
1432 | 3 | 1 | 68 | 3 | 2127 | 98.5494 | 0.1801 | 0.0324 | 68.9197 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 107 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2667 | None | 9.9922 | 60 | V | 0.0119 | 0.0339 | 5 | 0.1 | 1409 | 65.2826 | 0.2101 | 0.0334 | TRUE | integral
1432 | 4 | 1 | 68 | 3 | 1502 | 79.9187 | 0.1664 | 0.0146 | 181.1367 | 1 | 2 | Re-test to confirm or discard outlier | 2024-02-16 11:28:33 | Valencia | Carlos G. Benítez | Massibo | None | 2 | 47 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.701 | 60 | V | 0.0064 | 0.0175 | 5 | 0.1 | 964 | 51.2927 | 0.1898 | 0.0135 | TRUE | integral
1432 | 4 | 1 | 68 | 3 | 2741 | 205.2108 | 0.1394 | 0.0372 | 181.1367 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 114 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 3000 | None | 6.1838 | 60 | V | 0.0111 | 0.0314 | 5 | 0.1 | 770 | 57.6477 | 0.2273 | 0.0208 | TRUE | integral
1432 | 5 | 1 | 68 | 3 | 2239 | 103.7234 | 0.1675 | 0.0237 | 80.5753 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 124 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2701 | None | 9.9936 | 60 | V | 0.0109 | 0.0316 | 5 | 0.1 | 1248 | 57.8146 | 0.2236 | 0.0264 | TRUE | integral
1432 | 6 | 1 | 68 | 3 | 1405 | 65.1884 | 0.1687 | 0.0242 | 39.2625 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 135 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1911 | None | 9.9782 | 60 | V | 0.0116 | 0.0329 | 5 | 0.1 | 1021 | 47.3718 | 0.1939 | 0.0284 | TRUE | integral
1435 | 1 | 1 | 68 | 3 | 2493 | 115.5552 | 0.1424 | 0.0253 | 76.2034 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 145 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 2947 | None | 9.988 | 60 | V | 0.011 | 0.0318 | 5 | 0.1 | 1139 | 52.7948 | 0.1809 | 0.0325 | TRUE | integral
1435 | 2 | 1 | 68 | 3 | 2173 | 100.7139 | 0.127 | 0.0249 | 70.1583 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 156 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 2548 | None | 9.9889 | 60 | V | 0.0107 | 0.0305 | 5 | 0.1 | 1109 | 51.3998 | 0.1569 | 0.0207 | TRUE | integral
1435 | 3 | 1 | 68 | 3 | 1268 | 58.7523 | 0.1459 | 0.026 | -22.7292 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 166 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1604 | None | 9.9917 | 60 | V | 0.0116 | 0.0328 | 5 | 0.1 | 978 | 45.3153 | 0.1595 | 0.0297 | TRUE | integral
1435 | 4 | 1 | 68 | 3 | 1464 | 68.0157 | 0.166 | 0.0321 | 26.5806 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 177 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1778 | None | 9.965 | 60 | V | 0.0115 | 0.0328 | 5 | 0.1 | 835 | 38.7931 | 0.1988 | 0.0311 | TRUE | integral
1435 | 5 | 1 | 68 | 3 | 1893 | 87.7162 | 0.1363 | 0.0195 | 49.2903 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 187 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 2157 | None | 9.9912 | 60 | V | 0.0108 | 0.0313 | 5 | 0.1 | 914 | 42.3521 | 0.1827 | 0.0175 | TRUE | integral
1435 | 6 | 1 | 68 | 3 | 1433 | 66.4278 | 0.1403 | 0.0251 | 13.4186 | 1 | 2 | Regular massibo measurement | 2024-01-11 15:56:57 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 197 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1653 | None | 9.9872 | 60 | V | 0.011 | 0.0314 | 5 | 0.1 | 755 | 34.9986 | 0.1629 | 0.0305 | TRUE | integral
1436 | 1 | 1 | 68 | 3 | 2100 | 97.357 | 0.1643 | 0.02 | 59.1626 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 28 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2601 | None | 9.9862 | 60 | V | 0.0107 | 0.0304 | 5 | 0.1 | 1623 | 75.2431 | 0.1805 | 0.0197 | TRUE | integral
1436 | 2 | 1 | 68 | 3 | 1975 | 91.809 | 0.159 | 0.0289 | 57.5498 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 42 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2442 | None | 9.9593 | 60 | V | 0.0111 | 0.0317 | 5 | 0.1 | 1322 | 61.4539 | 0.1778 | 0.0265 | TRUE | integral
1436 | 3 | 1 | 68 | 3 | 1939 | 89.7974 | 0.163 | 0.0284 | 52.7603 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 53 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2303 | None | 9.9968 | 60 | V | 0.0113 | 0.0319 | 5 | 0.1 | 1288 | 59.6488 | 0.1817 | 0.0272 | TRUE | integral
1436 | 4 | 1 | 68 | 3 | 1754 | 81.2818 | 0.1705 | 0.0308 | 46.7911 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 63 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2133 | None | 9.9904 | 60 | V | 0.0094 | 0.0268 | 5 | 0.1 | 1182 | 54.7749 | 0.1954 | 0.0271 | TRUE | integral
1436 | 5 | 1 | 68 | 3 | 1954 | 90.5278 | 0.1643 | 0.0312 | 37.5185 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 74 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2281 | None | 9.9928 | 60 | V | 0.0114 | 0.0331 | 5 | 0.1 | 1049 | 48.5996 | 0.2011 | 0.0372 | TRUE | integral
1436 | 6 | 1 | 68 | 3 | 1466 | 67.9667 | 0.1473 | 0.0252 | 19.1241 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 84 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1821 | None | 9.9858 | 60 | V | 0.0114 | 0.0329 | 5 | 0.1 | 907 | 42.0504 | 0.1775 | 0.0232 | TRUE | integral
1437 | 1 | 1 | 68 | 3 | 1337 | 62.0396 | 0.1616 | 0.0329 | 12.9655 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 95 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1583 | None | 9.9772 | 60 | V | 0.0107 | 0.0302 | 5 | 0.1 | 1002 | 46.4949 | 0.1747 | 0.0279 | TRUE | integral
1437 | 2 | 1 | 68 | 3 | 2638 | 122.2025 | 0.1418 | 0.0315 | 77.5266 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 105 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2801 | None | 9.994 | 60 | V | 0.0115 | 0.0327 | 5 | 0.1 | 1036 | 47.9916 | 0.1699 | 0.0193 | TRUE | integral
1437 | 3 | 1 | 68 | 3 | 1369 | 63.4242 | 0.1432 | 0.027 | 29.3965 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 115 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1537 | None | 9.993 | 60 | V | 0.0125 | 0.0359 | 5 | 0.1 | 876 | 40.5841 | 0.1575 | 0.0263 | TRUE | integral
1437 | 4 | 1 | 68 | 3 | 1129 | 52.4663 | 0.124 | 0.0239 | 14.5033 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 126 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1436 | None | 9.9623 | 60 | V | 0.0112 | 0.0329 | 5 | 0.1 | 749 | 34.8071 | 0.1362 | 0.0254 | TRUE | integral
1437 | 5 | 1 | 68 | 3 | 990 | 45.8485 | 0.1253 | 0.0212 | -11.3274 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 136 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1093 | None | 9.9967 | 60 | V | 0.012 | 0.0344 | 5 | 0.1 | 645 | 29.871 | 0.138 | 0.0186 | TRUE | integral
1437 | 6 | 1 | 68 | 3 | 1189 | 55.2763 | 0.1211 | 0.0294 | 0.4152 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 146 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1273 | None | 9.9584 | 60 | V | 0.0114 | 0.0328 | 5 | 0.1 | 522 | 24.2677 | 0.1513 | 0.0211 | TRUE | integral
1438 | 1 | 1 | 68 | 3 | 1610 | 74.8523 | 0.1534 | 0.0273 | 67.2135 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 156 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1635 | None | 9.9579 | 60 | V | 0.0111 | 0.0318 | 5 | 0.1 | 403 | 18.7363 | 0.1886 | 0.0199 | TRUE | integral
1438 | 2 | 1 | 68 | 3 | 899 | 41.9642 | 0.1791 | 0.0211 | 10.7142 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 166 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 968 | None | 9.9181 | 60 | V | 0.0104 | 0.0301 | 5 | 0.1 | 312 | 14.5638 | 0.1699 | 0.0224 | TRUE | integral
1438 | 3 | 1 | 68 | 3 | 1255 | 58.4016 | 0.1697 | 0.0295 | 23.9109 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 177 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1284 | None | 9.9487 | 60 | V | 0.0121 | 0.0348 | 5 | 0.1 | 288 | 13.4021 | 0.1806 | 0.0208 | TRUE | integral
1438 | 4 | 1 | 68 | 3 | 399 | 18.5388 | 0.1604 | 0.0201 | -11.0908 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 187 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 445 | None | 9.9641 | 60 | V | 0.0106 | 0.0312 | 5 | 0.1 | 230 | 10.6865 | 0.1739 | 0.0174 | TRUE | integral
1438 | 5 | 1 | 68 | 3 | 481 | 22.3382 | 0.1601 | 0.0229 | -18.8655 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 197 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 548 | None | 9.9688 | 60 | V | 0.0112 | 0.0327 | 5 | 0.1 | 209 | 9.7062 | 0.1579 | 0.0048 | TRUE | integral
1438 | 6 | 1 | 68 | 3 | 1355 | 62.8652 | 0.155 | 0.0236 | 24.4392 | 1 | 3 | Regular massibo measurement | 2024-01-26 10:58:46 | Valencia | Carlos G. Benitez | Massibo v1 | None | 2 | 207 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1397 | None | 9.9787 | 60 | V | 0.011 | 0.0321 | 5 | 0.1 | 286 | 13.269 | 0.1713 | 0.021 | TRUE | integral
1441 | 1 | 1 | 68 | 3 | 2507 | 140.5373 | 0.1472 | 0.0239 | 99.3336 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 28 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.2586 | 60 | V | 0.0102 | 0.0293 | 5 | 0.1 | 1445 | 81.0038 | 0.1765 | 0.0242 | TRUE | integral
1441 | 2 | 1 | 68 | 3 | 1870 | 86.6611 | 0.169 | 0.0235 | 42.4481 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 40 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2439 | None | 9.99 | 60 | V | 0.011 | 0.0312 | 5 | 0.1 | 1545 | 71.5997 | 0.1761 | 0.022 | TRUE | integral
1441 | 3 | 1 | 68 | 3 | 1736 | 80.3841 | 0.1959 | 0.0248 | 31.5415 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 50 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2281 | None | 9.9983 | 60 | V | 0.0107 | 0.0304 | 5 | 0.1 | 1441 | 66.7244 | 0.2096 | 0.0264 | TRUE | integral
1441 | 4 | 1 | 68 | 3 | 1064 | 49.2864 | 0.1476 | 0.0226 | 60.0744 | 1 | 4 | Re-test to confirm or discard outlier | 2024-02-16 11:28:33 | Valencia | Carlos G. Benítez | Massibo | None | 2 | 78 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1372 | None | 9.9945 | 60 | V | 0.0113 | 0.0325 | 5 | 0.1 | 696 | 32.24 | 0.1595 | 0.0201 | TRUE | integral
1441 | 4 | 1 | 68 | 3 | 1676 | 91.5559 | 0.185 | 0.028 | 60.0744 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 59 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.4749 | 60 | V | 0.0073 | 0.0205 | 5 | 0.1 | 1130 | 61.7292 | 0.2133 | 0.0292 | TRUE | integral
1441 | 5 | 1 | 68 | 3 | 1944 | 90.1149 | 0.178 | 0.0288 | 60.4852 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 70 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2381 | None | 9.9873 | 60 | V | 0.0116 | 0.0328 | 5 | 0.1 | 1246 | 57.7588 | 0.2135 | 0.0265 | TRUE | integral
1441 | 6 | 1 | 68 | 3 | 1464 | 67.8091 | 0.1585 | 0.0191 | 37.0221 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 80 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1961 | None | 9.9954 | 60 | V | 0.0109 | 0.0316 | 5 | 0.1 | 1029 | 47.6609 | 0.1788 | 0.0204 | TRUE | integral
1442 | 1 | 1 | 68 | 3 | 1296 | 60.0933 | 0.1736 | 0.0239 | 40.6489 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 91 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1715 | None | 9.9845 | 60 | V | 0.0104 | 0.0299 | 5 | 0.1 | 1117 | 51.7934 | 0.1817 | 0.0251 | TRUE | integral
1442 | 2 | 1 | 68 | 3 | 1747 | 80.9216 | 0.1488 | 0.0275 | 53.8383 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 101 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2087 | None | 9.9948 | 60 | V | 0.0117 | 0.033 | 5 | 0.1 | 1116 | 51.6935 | 0.1738 | 0.0242 | TRUE | integral
1442 | 3 | 1 | 68 | 3 | 1563 | 72.4765 | 0.1798 | 0.0384 | 42.1525 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 111 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1819 | None | 9.9841 | 60 | V | 0.0116 | 0.0332 | 5 | 0.1 | 1057 | 49.0132 | 0.1911 | 0.0378 | TRUE | integral
1442 | 4 | 1 | 68 | 3 | 1571 | 72.8697 | 0.1725 | 0.0261 | 49.4901 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 122 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1830 | None | 9.981 | 60 | V | 0.0113 | 0.0319 | 5 | 0.1 | 959 | 44.4825 | 0.1898 | 0.025 | TRUE | integral
1442 | 5 | 1 | 68 | 3 | 1295 | 60.1227 | 0.1367 | 0.0263 | 21.4653 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 132 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1490 | None | 9.9719 | 60 | V | 0.0117 | 0.0339 | 5 | 0.1 | 810 | 37.6057 | 0.1667 | 0.0247 | TRUE | integral
1442 | 6 | 1 | 68 | 3 | 1822 | 84.9499 | 0.1224 | 0.0329 | 48.8388 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 142 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1990 | None | 9.9296 | 60 | V | 0.0117 | 0.0335 | 5 | 0.1 | 687 | 32.0311 | 0.1557 | 0.032 | TRUE | integral
1443 | 1 | 1 | 68 | 3 | 1286 | 59.7591 | 0.1345 | 0.0187 | -39.778 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 153 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1434 | None | 9.9628 | 60 | V | 0.011 | 0.0315 | 5 | 0.1 | 683 | 31.7383 | 0.1362 | 0.0146 | TRUE | integral
1443 | 2 | 1 | 68 | 3 | 1538 | 71.5973 | 0.1021 | 0.0169 | 42.8936 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 163 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1651 | None | 9.945 | 60 | V | 0.0106 | 0.0305 | 5 | 0.1 | 638 | 29.7003 | 0.1019 | 0.0157 | TRUE | integral
1443 | 3 | 1 | 68 | 3 | 1578 | 73.112 | 0.1255 | 0.0196 | 48.3434 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 173 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1655 | None | 9.9923 | 60 | V | 0.0111 | 0.0318 | 5 | 0.1 | 568 | 26.3166 | 0.1338 | 0.0176 | TRUE | integral
1443 | 4 | 1 | 68 | 3 | 1209 | 56.6955 | 0.1356 | 0.0215 | 32.1585 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 183 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1273 | None | 9.8724 | 60 | V | 0.0108 | 0.0311 | 5 | 0.1 | 454 | 21.2901 | 0.1608 | 0.0264 | TRUE | integral
1443 | 5 | 1 | 68 | 3 | 629 | 29.3239 | 0.1351 | 0.0143 | -0.3057 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 194 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 705 | None | 9.9306 | 60 | V | 0.0107 | 0.0307 | 5 | 0.1 | 267 | 12.4475 | 0.1723 | 0.015 | TRUE | integral
1443 | 6 | 1 | 68 | 3 | 462 | 21.6107 | 0.1364 | 0.0173 | 10.9626 | 1 | 4 | Regular massibo measurement | 2024-01-16 11:43:45 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 204 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 530 | None | 9.8974 | 60 | V | 0.0108 | 0.0303 | 5 | 0.1 | 259 | 12.1151 | 0.1429 | 0.0116 | TRUE | integral
1444 | 1 | 1 | 68 | 3 | 2426 | 105.5647 | 0.1682 | 0.0289 | 15.5184 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 36 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 10.6394 | 60 | V | 0.0108 | 0.0307 | 5 | 0.1 | 1774 | 77.1937 | 0.1883 | 0.0271 | TRUE | integral
1444 | 2 | 1 | 68 | 3 | 1952 | 90.4551 | 0.1783 | 0.0292 | 61.2885 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 48 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2445 | None | 9.9906 | 60 | V | 0.0111 | 0.0314 | 5 | 0.1 | 1504 | 69.6949 | 0.1981 | 0.0306 | TRUE | integral
1444 | 3 | 1 | 68 | 3 | 1933 | 89.5584 | 0.1536 | 0.0212 | 48.3547 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 58 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2425 | None | 9.9924 | 60 | V | 0.0107 | 0.0304 | 5 | 0.1 | 1358 | 62.9179 | 0.1789 | 0.0236 | TRUE | integral
1444 | 4 | 1 | 68 | 3 | 1442 | 66.929 | 0.1817 | 0.0298 | 44.4753 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 69 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1922 | None | 9.9746 | 60 | V | 0.0087 | 0.0246 | 5 | 0.1 | 1160 | 53.8402 | 0.1922 | 0.0284 | TRUE | integral
1444 | 5 | 1 | 68 | 3 | 1707 | 79.1092 | 0.1693 | 0.0252 | 50.4055 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 79 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2096 | None | 9.9897 | 60 | V | 0.0114 | 0.0321 | 5 | 0.1 | 1082 | 50.1442 | 0.1867 | 0.0259 | TRUE | integral
1444 | 6 | 1 | 68 | 3 | 1027 | 47.5503 | 0.1685 | 0.0321 | 12.8281 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 89 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 1427 | None | 9.9992 | 60 | V | 0.0114 | 0.0332 | 5 | 0.1 | 897 | 41.5313 | 0.1761 | 0.0323 | TRUE | integral
1445 | 1 | 1 | 68 | 3 | 1523 | 70.8044 | 0.1399 | 0.0263 | 46.4988 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 100 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1845 | None | 9.9583 | 60 | V | 0.0103 | 0.029 | 5 | 0.1 | 1039 | 48.3032 | 0.1578 | 0.026 | TRUE | integral
1445 | 2 | 1 | 68 | 3 | 1351 | 62.6429 | 0.134 | 0.0318 | 39.0318 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 110 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1598 | None | 9.9846 | 60 | V | 0.0116 | 0.0324 | 5 | 0.1 | 1018 | 47.2025 | 0.1464 | 0.0354 | TRUE | integral
1445 | 3 | 1 | 68 | 3 | 986 | 45.7591 | 0.143 | 0.0213 | 23.0739 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 120 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1198 | None | 9.9758 | 60 | V | 0.0118 | 0.0345 | 5 | 0.1 | 865 | 40.1436 | 0.1514 | 0.0197 | TRUE | integral
1445 | 4 | 1 | 68 | 3 | 1474 | 68.2896 | 0.137 | 0.0217 | 44.2155 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 131 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1669 | None | 9.9928 | 60 | V | 0.0111 | 0.0317 | 5 | 0.1 | 877 | 40.6309 | 0.1448 | 0.0171 | TRUE | integral
1445 | 5 | 1 | 68 | 3 | 973 | 45.2219 | 0.1398 | 0.0298 | 17.9071 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 141 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1143 | None | 9.9612 | 60 | V | 0.0116 | 0.0329 | 5 | 0.1 | 724 | 33.6492 | 0.1478 | 0.0304 | TRUE | integral
1445 | 6 | 1 | 68 | 3 | 1372 | 63.9453 | 0.1327 | 0.0262 | 33.3898 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 151 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1480 | None | 9.9333 | 60 | V | 0.0117 | 0.0332 | 5 | 0.1 | 670 | 31.2269 | 0.1478 | 0.0313 | TRUE | integral
1446 | 1 | 1 | 68 | 3 | 707 | 33.124 | 0.1259 | 0.0198 | -4.376 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 161 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 801 | None | 9.8815 | 60 | V | 0.0111 | 0.0319 | 5 | 0.1 | 441 | 20.6615 | 0.1338 | 0.0227 | TRUE | integral
1446 | 2 | 1 | 68 | 3 | 932 | 43.3464 | 0.1448 | 0.0172 | 18.8094 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 171 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 982 | None | 9.9543 | 60 | V | 0.0111 | 0.0312 | 5 | 0.1 | 409 | 19.0222 | 0.154 | 0.0098 | TRUE | integral
1446 | 3 | 1 | 68 | 3 | 927 | 43.0108 | 0.1532 | 0.0259 | 21.946 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 182 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 970 | None | 9.9781 | 60 | V | 0.0112 | 0.0328 | 5 | 0.1 | 321 | 14.8937 | 0.1682 | 0.028 | TRUE | integral
1446 | 4 | 1 | 68 | 3 | 885 | 41.1131 | 0.1627 | 0.026 | 13.3353 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 192 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 949 | None | 9.9657 | 60 | V | 0.011 | 0.0316 | 5 | 0.1 | 284 | 13.1934 | 0.162 | 0.0211 | TRUE | integral
1446 | 5 | 1 | 68 | 3 | 1632 | 75.7595 | 0.1213 | 0.0178 | 47.0558 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 202 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1690 | None | 9.9731 | 60 | V | 0.0109 | 0.0316 | 5 | 0.1 | 268 | 12.4409 | 0.1866 | 0.0187 | TRUE | integral
1446 | 6 | 1 | 68 | 3 | 742 | 34.4127 | 0.1698 | 0.0256 | 4.5516 | 1 | 5 | Regular massibo measurement | 2024-01-25 16:41:10 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 212 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 798 | None | 9.9823 | 60 | V | 0.011 | 0.0318 | 5 | 0.1 | 226 | 10.4815 | 0.1637 | 0.0133 | TRUE | integral
1447 | 1 | 1 | 68 | 3 | 2374 | 125.7358 | 0.1546 | 0.0299 | 80.5969 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:26 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 28 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.7411 | 60 | V | 0.0111 | 0.0319 | 5 | 0.1 | 1649 | 87.3372 | 0.1783 | 0.0334 | TRUE | integral
1447 | 2 | 1 | 68 | 3 | 1999 | 92.7399 | 0.1926 | 0.023 | 64.0362 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:26 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 39 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2710 | None | 9.9791 | 60 | V | 0.0104 | 0.0298 | 5 | 0.1 | 1507 | 69.9145 | 0.217 | 0.0219 | TRUE | integral
1447 | 3 | 1 | 68 | 3 | 1858 | 86.2055 | 0.1771 | 0.035 | 58.4277 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:26 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 50 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2443 | None | 9.9783 | 60 | V | 0.0106 | 0.0308 | 5 | 0.1 | 1511 | 70.1058 | 0.1959 | 0.0351 | TRUE | integral
1447 | 4 | 1 | 68 | 3 | 1833 | 84.8842 | 0.1653 | 0.0218 | 54.5601 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 60 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2444 | None | 9.9973 | 60 | V | 0.0101 | 0.0289 | 5 | 0.1 | 1396 | 64.6472 | 0.1927 | 0.0229 | TRUE | integral
1447 | 5 | 1 | 68 | 3 | 1433 | 66.4618 | 0.18 | 0.0314 | 38.4526 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 71 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2019 | None | 9.9821 | 60 | V | 0.0109 | 0.0315 | 5 | 0.1 | 1197 | 55.5163 | 0.1963 | 0.0326 | TRUE | integral
1447 | 6 | 1 | 68 | 3 | 1541 | 71.3695 | 0.1713 | 0.0383 | 44.7491 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 81 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2060 | None | 9.9962 | 60 | V | 0.0117 | 0.0339 | 5 | 0.1 | 1111 | 51.4546 | 0.1998 | 0.0396 | TRUE | integral
1449 | 1 | 1 | 68 | 3 | 1674 | 77.5214 | 0.1768 | 0.0287 | 54.1418 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 91 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2161 | None | 9.9972 | 60 | V | 0.0102 | 0.029 | 5 | 0.1 | 1212 | 56.1266 | 0.203 | 0.0322 | TRUE | integral
1449 | 2 | 1 | 68 | 3 | 2044 | 94.6588 | 0.1512 | 0.021 | 67.807 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 102 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2524 | None | 9.9969 | 60 | V | 0.0109 | 0.0313 | 5 | 0.1 | 1191 | 55.1559 | 0.1914 | 0.0185 | TRUE | integral
1449 | 3 | 1 | 68 | 3 | 1599 | 74.1142 | 0.1551 | 0.0269 | 57.216 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 112 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2016 | None | 9.9883 | 60 | V | 0.0119 | 0.0342 | 5 | 0.1 | 1102 | 51.078 | 0.1706 | 0.0263 | TRUE | integral
1449 | 4 | 1 | 68 | 3 | 1315 | 61.2471 | 0.1688 | 0.0281 | 39.7193 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 123 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1676 | None | 9.94 | 60 | V | 0.011 | 0.0319 | 5 | 0.1 | 954 | 44.4332 | 0.1908 | 0.0304 | TRUE | integral
1449 | 5 | 1 | 68 | 3 | 969 | 45.0248 | 0.1548 | 0.0351 | 19.5618 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 133 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1330 | None | 9.9636 | 60 | V | 0.0115 | 0.0328 | 5 | 0.1 | 858 | 39.8672 | 0.1655 | 0.035 | TRUE | integral
1449 | 6 | 1 | 68 | 3 | 1534 | 71.4063 | 0.1441 | 0.03 | 43.86 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 143 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1806 | None | 9.9457 | 60 | V | 0.0115 | 0.0337 | 5 | 0.1 | 865 | 40.2649 | 0.1792 | 0.0243 | TRUE | integral
1451 | 1 | 1 | 68 | 3 | 1971 | 91.3646 | 0.1243 | 0.0228 | 73.772 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 154 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 2177 | None | 9.9875 | 60 | V | 0.0108 | 0.0312 | 5 | 0.1 | 771 | 35.7393 | 0.1712 | 0.022 | TRUE | integral
1451 | 2 | 1 | 68 | 3 | 1857 | 86.2831 | 0.1185 | 0.0312 | 63.3665 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 164 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 2044 | None | 9.964 | 60 | V | 0.0115 | 0.0333 | 5 | 0.1 | 742 | 34.4761 | 0.1388 | 0.0323 | TRUE | integral
1451 | 3 | 1 | 68 | 3 | 911 | 42.2158 | 0.1394 | 0.0395 | 12.8176 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 174 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1053 | None | 9.9906 | 60 | V | 0.0124 | 0.0352 | 5 | 0.1 | 698 | 32.3453 | 0.159 | 0.043 | TRUE | integral
1451 | 4 | 1 | 68 | 3 | 1083 | 50.2555 | 0.1108 | 0.0249 | 26.6444 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 184 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1208 | None | 9.9768 | 60 | V | 0.0108 | 0.0311 | 5 | 0.1 | 467 | 21.6706 | 0.1263 | 0.0236 | TRUE | integral
1451 | 5 | 1 | 68 | 3 | 1747 | 81.1001 | 0.111 | 0.0315 | 58.1835 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 195 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 1812 | None | 9.9728 | 60 | V | 0.0107 | 0.031 | 5 | 0.1 | 558 | 25.9038 | 0.1416 | 0.0179 | TRUE | integral
1451 | 6 | 1 | 68 | 3 | 580 | 26.9044 | 0.1069 | 0.0224 | -71.7068 | 1 | 6 | Regular massibo measurement | 2024-01-25 17:02:27 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 205 | 1 | Unique | 3 | 3.2 | 9.9968 | 0.5 | 679 | None | 9.9805 | 60 | V | 0.0106 | 0.0313 | 5 | 0.1 | 405 | 18.7867 | 0.1062 | 0.0272 | TRUE | integral
1452 | 1 | 1 | 68 | 3 | 2436 | 130.0612 | 0.1498 | 0.0209 | 110.6167 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:24 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 17 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 8.6711 | 60 | V | 0.0107 | 0.0307 | 5 | 0.1 | 2033 | 108.5445 | 0.1613 | 0.0197 | TRUE | integral
1452 | 2 | 1 | 68 | 3 | 2202 | 102.0097 | 0.1767 | 0.0313 | 81.4078 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:24 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 29 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2735 | None | 9.9936 | 60 | V | 0.0107 | 0.0309 | 5 | 0.1 | 1685 | 78.0592 | 0.1941 | 0.0285 | TRUE | integral
1452 | 3 | 1 | 68 | 3 | 1861 | 86.305 | 0.1521 | 0.0226 | 63.8513 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:24 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 40 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2397 | None | 9.9829 | 60 | V | 0.0108 | 0.0308 | 5 | 0.1 | 1354 | 62.7926 | 0.1795 | 0.0229 | TRUE | integral
1452 | 4 | 1 | 68 | 3 | 1773 | 82.1269 | 0.1788 | 0.0282 | 45.4968 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 50 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2483 | None | 9.9947 | 60 | V | 0.0075 | 0.0213 | 5 | 0.1 | 1391 | 64.4323 | 0.1963 | 0.0288 | TRUE | integral
1452 | 4 | 1 | 68 | 3 | 1600 | 74.2006 | 0.1313 | 0.0225 | 45.4968 | 1 | 7 | Re-test to confirm or discard outlier | 2024-02-16 11:28:33 | Valencia | Carlos G. Benítez | Massibo | None | 2 | 57 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1916 | None | 9.983 | 60 | V | 0.0111 | 0.032 | 5 | 0.1 | 1078 | 49.9926 | 0.1568 | 0.025 | TRUE | integral
1452 | 5 | 1 | 68 | 3 | 2068 | 95.9196 | 0.1069 | 0.029 | 178.573 | 1 | 7 | Re-test to confirm or discard outlier | 2024-02-16 11:28:33 | Valencia | Carlos G. Benítez | Massibo | None | 2 | 68 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2330 | None | 9.9814 | 60 | V | 0.0112 | 0.0326 | 5 | 0.1 | 911 | 42.2547 | 0.1449 | 0.0329 | TRUE | integral
1452 | 5 | 1 | 68 | 3 | 2798 | 198.9433 | 0.1237 | 0.0425 | 178.573 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 57 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 3000 | None | 6.5113 | 60 | V | 0.0106 | 0.0307 | 5 | 0.1 | 793 | 56.3839 | 0.1778 | 0.0189 | TRUE | integral
1452 | 6 | 1 | 68 | 3 | 1777 | 82.3035 | 0.1519 | 0.0231 | 59.1554 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 68 | 1 | Unique | 1 | 3.2 | 9.9968 | 0.5 | 2230 | None | 9.9957 | 60 | V | 0.0109 | 0.0318 | 5 | 0.1 | 1011 | 46.8255 | 0.1988 | 0.0307 | TRUE | integral
1456 | 1 | 1 | 68 | 3 | 1429 | 66.1735 | 0.1707 | 0.0238 | -2.808 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 78 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1863 | None | 9.9976 | 60 | V | 0.0098 | 0.0278 | 5 | 0.1 | 1166 | 53.9946 | 0.1818 | 0.0232 | TRUE | integral
1456 | 2 | 1 | 68 | 3 | 1618 | 74.9981 | 0.1279 | 0.0229 | 48.8407 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 88 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2004 | None | 9.9879 | 60 | V | 0.0111 | 0.0321 | 5 | 0.1 | 993 | 46.0279 | 0.1511 | 0.0232 | TRUE | integral
1456 | 3 | 1 | 68 | 3 | 1523 | 70.5383 | 0.1464 | 0.0282 | 49.242 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 99 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1811 | None | 9.9959 | 60 | V | 0.0117 | 0.034 | 5 | 0.1 | 1062 | 49.1869 | 0.1714 | 0.0282 | TRUE | integral
1456 | 4 | 1 | 68 | 3 | 2024 | 93.9459 | 0.129 | 0.0287 | 29.131 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 109 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 2270 | None | 9.9742 | 60 | V | 0.011 | 0.0316 | 5 | 0.1 | 1027 | 47.6692 | 0.1665 | 0.0273 | TRUE | integral
1456 | 5 | 1 | 68 | 3 | 1132 | 52.5053 | 0.1458 | 0.0274 | 21.7183 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 119 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1394 | None | 9.9813 | 60 | V | 0.0113 | 0.0326 | 5 | 0.1 | 791 | 36.6888 | 0.1694 | 0.0278 | TRUE | integral
1456 | 6 | 1 | 68 | 3 | 1749 | 81.0936 | 0.1241 | 0.0246 | 51.9269 | 1 | 7 | Regular massibo measurement | 2024-01-26 10:42:25 | Valencia | Carlos G. Benitez | Massibo v1 | None | 1 | 130 | 1 | Unique | 2 | 3.2 | 9.9968 | 0.5 | 1949 | None | 9.985 | 60 | V | 0.0114 | 0.0332 | 5 | 0.1 | 668 | 30.9723 | 0.1617 | 0.0269 | TRUE | integral