## Slide 1: 48 Hour Summary
Patrick Dowdle
MCR Crew Chief
June 14, 2024

## Slide 2: Summary
Wednesday:
  MI-52 pond strainer was cleaned
  Booster studies
  Slow spill studies
  RR beam valves 341, 401 issue
  MI-30 LCW pump #3 trip
Thursday:
  MS2SUP temp too high to run
  MI-62 LCW slow leak
  Muon studies
  Slow spill studies
  EAPS trip on room overtemp
  GPMS ground fault, meter replaced
Friday:
  AP 50 RF skid temps high
  F:NM2Q1 regulation issue
Currently:
  Beam to NuMI, BNB, SWYD.