## Slide 1: Main Injector / Recycler at The Nine
A.P. Schreckenberger 2024-06-07

## Slide 2: Week in Review – NuMI Performance Plots

## Slide 3: Week in Review – MI Downtime 

## Slide 4: Week in Review – RR Downtime  … Wait !!

## Slide 5: Tuning into the Weather Channel… Summer in the City

## Slide 6: Tuning into the Weather Channel… Summer in the City
Monday started with concerns regarding high temperatures
  Instructions provided regarding LCW Supply Temps
    Double-checked alarms, found a cooling tower off since May 25th
      Duty Electrician and Duty Mechanic dispatched to MI-20 for recovery
      Wren found that relevant ponds were 3ºF warmer than other ponds
  MI-20 kicker room AC trip
MI-30 Pump #3 recovered

## Slide 7: More Updates Regarding Upset Things
MI RF Station 11 came back up Monday afternoon
Dry-type transformers at various MI locations had their temps taken
RF Station 2 tripped off and signs pointed to sparking
  Matt elected to turn the station off, recovered later
RF Station 4 also bypassed on Monday, recovered Thursday
Then lost RF Station 1 to trip… RFGE Fault

## Slide 8: More Updates Regarding Upset Things
I:LXSUM20 started reading higher than usual
  Pinned to a readback issue tied to DUE32 reboot
Air compressor at MI60S tripped, beam valves started closing
  Investigated during Booster studies and then some
Losses in 40-60 region started overnight… invaded the MCR

## Slide 9: More Updates Regarding Upset Things
Losses in 40-60 region started overnight… invaded the MCR
  Longitudinal, points to a cavity, started 23 minutes after Station 1 gap envelope noise reported in elog…

## Slide 10: In Pursuit of Science
Limited authorization to attempt 1-MW operation
  Planning this is on the agenda…
ACNET parameter pages implemented to control the new MI/RR scope trigger box
  2 RR scopes connected along with one MI Tek scope
  Cris examining data readout from RR
  Adam looking at stripline data through MI transition crossing
Matilda and Randy “RTK!” did commissioning work on electron gun profile scanner at MI-62
Oh, I also hid a haiku, so no worries! Happy Friday!