## Slide 1: ICEBERG: Status and Plan
Shekhar Mishra
Neutrino Division, Fermilab
06/26/2024

## Slide 2: ICEBERG: Study Plan
Measure Individual Channel Linearity (INL) using pulser data. (Data Taken)
Determine the precision of individual channel gain (LArASIC + ColdADC; e-/LSB) using pulser data. (Data Taken)
Measure and decide the optimal gain setting: 14 mV/fC or 7.8 mV/fC or 25 mV/fC(Data Taken)
Determine optimal baseline for collection plane: 200+ mV (Done)
Study shaping time effect on ENC (1 msec vs 2 msec vs 3 usec) (Data Taken)
Measure cross talks. (14 mV/fC, DAC 15, single and diff pulse) DAC 0 – 63 (32 for 25 mV/fC)
/nvme/dunecet/dropbox/*.hdf5
/nmve2/dunecet/decoded-hdf5
Determine optimal ColdADC Vref settings. (Done)
Learn to use particle interaction in LAr to determine absolute calibration of the TPC + Electronics response (MeV/LSB-tick)
  MIP dE/dX
  Michel electrons
  Ar-39
DUNE-FD2-PD: Integration of DAPHNE-V3 in Ethernet DUNE-DAQ
  Spy-Buffer (Data Taken and Analyzed)
  Starting on FELIX DAQ

## Slide 3: ICEBERG: Cryogenic Cycle

## Slide 4: ICEBERG LAr Lifetime

## Slide 5: ICEBERG:TPC Power Turn ON

## Slide 6: ICEBERG: TPC Current

## Slide 7: ICEBERG: Cosmic Track

## Slide 8: ICEBERG: Photon

## Slide 9: Determine Optimal ColdADC Vref settings
Goal: Expand dynamic range to 1.8V and changes 200 mV to about 2000 for both single ended and differential without moving 900mV.
Study: Adjust Vcmi, Vrefp and Vrefn
Summary: Adjust only Vrefp and Vrefn
  coldadc_settings": { "reg_0": 35, "reg_24": 240, (223) "reg_25": 34, (51) "reg_26": 137, "reg_27": 103, "reg_29": 39, "reg_30": 39, "reg_4": 59 },
This is accmoplised by editing iceberg_wib.json before the nanorc configuration generation.

## Slide 10: Adjusted Vrefp and Vrefn

## Slide 11: Cosmic Event

## Slide 12: Cosmic, Pulser Run

## Slide 13: Pulser Settings
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",7.8 mV/fC,Single-ended,1 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",7.8 mV/fC,Single-ended,2 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",7.8 mV/fC,Single-ended,3 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",14 mV/fC,Single-ended,1 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",14 mV/fC,Single-ended,2 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x3F in 1-bit steps)",14 mV/fC,Single-ended,3 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x20 in 1-bit steps)",25 mV/fC,Single-ended,1 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x20 in 1-bit steps)",25 mV/fC,Single-ended,2 us,0.5 nA,Split
,,"Pulser (DAC=0x00 to 0x20 in 1-bit steps)",25 mV/fC,Single-ended,3 us,0.5 nA,Split