## Slide 1: This Week Summary
Judah O’Neil
MCR Crew Chief
July 19th, 2024

## Slide 2: Summary
General
  Transitioning enclosures to Supervised Access
  Interlocks has been re-coring the complex to Shutdown Cores
Tuesday:
  Scheduled saves have been turned off for the shutdown
Wednesday:
  Recovered Muon Campus after Feeder 24 Power Outage
  Booster 95 LCW pressure issues
Thursday:
  Extraction, M4, Delivery Ring are now on Shutdown Cores
  Feeder 46A outage completed
Currently:
  Recovering from sitewide Windows failure