## Slide 1: Summary
Collimator installation
  Both stands aligned and secured to floor
  Connecting piece welded
  Vacuum leak check successful
  Steel stacking underway
Cable pulls
  Preparing to empty 2 penetrations, cable pull still a couple weeks out
  Need response from Rad Safety regarding any new pre-job requirements for penetrations
Girder 1-2 manifold leak
  Investigation and planning
Kicker and chopper maintenance
  Underway in galleries
802 Sump pump replacement
  Pump in tunnel
  Pending ISD HA
E4R Gradient magnet test stand
  Magnetic probe system safety approved
  First magnetic field measurements planned for today