## Slide 1
Tony Busch
AD Shutdown Coordinator
Planning & Integration Department
Accelerator
Summer Shutdown

## Slide 2: Upcoming power outages
Tuesday September 10th MI buildings and SBND outage, switching normal power to KRS, T85 Starts: Tue Sep 10 2024 08:00 Ends: Tue Sep 10 2024 08:30 Jobs: Normal power to MI from KRS, T85 only Location: KRS Affected Areas: MI service buildings and SBND Duration: 30 min
Wednesday September 11th Master Sub Station De-energized Starts: Wed Sep 11 2024 07:00 Ends: Wed Sep 11 2024 07:30 Jobs: MSS PM, Running from T86 at KRS Location: MSS De-energized, Power off to main site, A0 cryo, except MI and Village - MSS fed from KRS Affected Areas: MSS De-energized, Power off to main site, and A0 cryo, *** MI and Village will not be affected. Duration: 30 min.

## Slide 3: Upcoming power outages
Thursday September 12th Feeder 33 GCC Starts: Thu Sep 12 2024 08:20 Ends: Thu Sep 12 2024 16:00 Jobs: PM Location: Feeder 33 - GCC HV Affected Areas: Grid Computing Center Duration: All day

## Slide 4: Work in the coming weeks
Plan is to move towards running beam Week of 9/30 will start wrapping up jobs and move to operations. Don’t assume that we have unlimited time there is no gray period.
  No new jobs will be added to the worklist without prior approvals.
  Clean up of the workspaces and waste shipments need to begin ASAP.