## Slide 1: LINAC Shutdown Report
Shutdown activities this week:
  MSD jobs done this week
    Klystron module 7 Ion Pumps replaced
    L:ALVV valve cleaned
    Operational Source switched B->A
    LRF5 bulk tuner water chiller work
  LOTO test point installation continued
  PMs in LE and HE systems continued
Shutdown activities next week:
  Wrapping up final tunnel jobs
  LE RF, KRF maintenance wrapping up
  Tunnel cleaning
  MSS power outage Thursday (~30 min)