## Slide 1
Helium Cryogenics
Status 9/20/2024 J.Makara
CMTF: SCP cold and running fine though had minor turbine glitch from FFD ODH response
CMTS: HECM31 running fine at 2 K
PIP2IT: South Stand CM being modified for SSR2 pCM
North Stand CM empty
NML/FAST: Cryo system is shut down and isolated for extended shutdown period;
CC1: at RT
CC2: at RT
CM: at RT
MCTF: cryo system is cold with 3 Comprs and 2 Fridges running
MDB/HTS: at RT
MDB/STC: at 2 K for SSR2 cavity testing
MDB Magnet: at RT
IB1: cryo system running fine with CTi and ALAT CBs coldboxes
Misc: …
Muon Campus: at RT with comprs off and system depressurized; LN2 system at RT; g-2 Expt Hall at ODH=0 (not ODH area)