## Slide 1
Katsuya Yonehara
Beam instrumentation AI meeting
11/05/2024
Milestone of T2K analysis and ML

## Slide 2: Milestone
Establish T2K beam instrumentation data analysis
  Proton beam position from SSEM19 & ESM
    Identify two profile monitors at different locations with respect to the target which provide the beam position at the target and injection angle
  Horn current
    Various horn currents are helpful for ML
  Beam profile
    Never investigate on NuMI
Establish analytical model for three horn focusing mechanism
ML
  Linear regression
  7x7 muon profile with Neural Network (Image ML)
  Digital Twin

## Slide 3: Note from T2K data analysis
Request ESM to identify beam position at two different locations
Find bunch-by-bunch SSEM vs Muon monitor data
  Ask units in the data
Find x-y coupling on SSEM19
Find beam intensity dependence
  Could be correlated with horn current dependence