## Slide 1
Tom Diehl (FNAL), Greg Rakness (FNAL)
Friday 9am AD meeting
18-Oct-2024
Mu2e report
https://indico.fnal.gov/event/66627/

## Slide 2: A couple of things at MC1 and MC2
Work completed on liquid nitrogen system in MC-1 parking lot
  Waiting for ESH to update ODH system before we cool it down
17-Oct: natural gas leak (mu2e-ECL-2039)
  Proper actions from personnel on the ground
  Excellent response from Fire Dept, ISD, DSO
  Under investigation
18-Oct 07:25-07:30 - Power outage at MC1 and MC2
  From mu2e-ECL-2041: “In summary, with MC1 manual transfer, everything worked as expected. With MC2 automatic transfer, everything worked as expected.”