## Slide 1: LINAC Report
Source A was pulled/cleaned last Friday
  Started Saturday morning
  Tuning cesium system to reduce source sparking
    Usually takes ~ 1 week for source to ‘settle down’
MSD replaced DI bottle on LRF3 water skid with larger bottle
  Resistance climbed from 3.7 -> 12.7 MOhm