## Slide 1: Beam Measurement using Drone – drone beam calibration
Jixia Li
2024/11/11

## Slide 2: Comparison of drone, Sun & Simulation
Drone (Top) vs Sun (bottom left, EW beam) vs Simulation (bottom right, NS beam)
Sun et. al. 2022

## Slide 3: 2 types of antenna
Dipole Antenna
3 meter above ground
Drone over 100 meter high
Feed Antenna
0.5 meter above ground
Drone over 100 meter high

## Slide 4: Drone Beam Measured by Dipole vs Feed
Dipole Antenna
3 meter above ground
Drone over 100 meter high
Feed Antenna
0.5 meter above ground
Drone over 100 meter high

## Slide 5: Corrected Cylinder Beam (dipole)

## Slide 6: Corrected Cylinder Beam (feed)

## Slide 7: Dipole2 and circular
New dipole made by Suonanben
(have balun part)
Circular polarization antenna
Experiment done inside/outside GS2 site.
(i.e. with/without ground metal net.

## Slide 8: Simulation of dipole2 (wo/wi metal ground)
Inside GS2 site
(i.e. with ground metal net.)
Outside GS2 site
(i.e. without ground metal net.)

## Slide 9: 2d-Interpolated Simulated Beam – dipole2
Inside GS2 site
(i.e. with ground metal net.)
Outside GS2 site
(i.e. without ground metal net.)

## Slide 10: Simulation of circular (wo metal ground)
Simulation from datasheet
of the manufacture
Only 700 MHz is within our range.

## Slide 11: 2d-Interpolated Simulated Beam – circular
Dipole 2 outside GS2
Circular outside GS2

## Slide 12: Drone Beam – dipole2 outside GS2
Without calibration
With calibration
Dipole2 is 10 cm above ground.

## Slide 13: Drone Beam – dipole2 inside GS2
Without calibration
With calibration
Dipole2 is 10 cm above ground.

## Slide 14: Drone Beam – circular outside GS2
Without calibration
With calibration
Circular feed is on the ground.

## Slide 15: Linear plot

## Slide 16: dB plot
dB