## Slide 1: 302.4.01 Magnets Vertical Test at BNL Weekly Status
Febin Kurian
18-Nov-2024

## Slide 2: MQXFA12b-Incoming Inspections
Magnet is under electrical checks in wiring stand
  Expected to move to the dewar today
Expected start of cool down on 20th Nov (Wednesday)

## Slide 3: Second Top Hat Repair
  Heaters: All Passed Hi Pot
  V-taps: Undergoing pin-by-pin hipot
    Passed: VT1, VT2, VT3, VT6
    Failed: VT4
    Still to be checked: VT5

## Slide 4: CRYOGENIC STATUS
CTI 4000 system status
  Running
Linde 1610 system status
  Running

## Slide 5: MQXFA 18
Waiting for outgoing tests