## Slide 1: Update on Tianlai Hardware Status
Jixia Li
2024/11/26

## Slide 2: Cylinder FRB detect system
Cylctrl server system SSD failed.
  Server sent to Guangdong for repair.

## Slide 3: Cylinder FRB detect system
Cylctrl server system SSD failed.
  Server sent to Guangdong for repair.
Cuda problem remains.
  Error occurred occasionally on cylfrbgpu2.
  Compatibility?

## Slide 4: Cylinder correlator system
No-correlation problem between roach boards turns out to be caused by false output of 1PPS signal.
Upgrade GPU card from GTX690 to RTX3080 for 2 Xengine servers.
Roach 7 netboot resolved by setting environment variables in u-Boot.

## Slide 5: Dish correlation system

## Slide 6
New dish antennas built.
Need connection (power cable and serial cable).
Update control program.