## Slide 1: FBK IV analysis and first measurements M. Andreotti, R. Calabrese, D. Casazza, A. Cotta Ramusino, S. Chiozzi, R. D’amico, M. Fiorini, T. Giammaria, M. Guarise, E. Luppi, I. Neri, L. Pierini, L. Tomassetti
DUNE photo-sensor meeting
14/01/2025

## Slide 2: Last update (12/11/2024)
Analysis of data from FBK HD pre-production
Differences with CACTUS typical data
Results and conclusions
Link to slides
https://indico.fnal.gov/event/66999/contributions/303448/attachments/183172/251722/DUNE_meeting_Tommaso_Giammaria_12_11_2024.pdf

## Slide 3: Last update - General info
Samples (HD pre-production)
100 SiPM strips
FBK model
Aim compare the IV characterization methods
CACTUS : Normalized First Derivative (NFD) →
Vendor : 2nd logarithmic derivative (SLD) →
Received from FBK:
IV Data
Results of NFD and SLD analyses
SiPMs (December)

## Slide 4: Last update - General info
IV curve types (room T)
Packaging IV:
  Strip (or single SiPM ?) level
  Large Vstep: 50 mV (CACTUS: 20 mV)
Parametric IV, also called Wafer Level (WL) IV:
  WL → same temperature for all the SiPMs → more stable
  Larger Vstep: 100 mV (!!)
Task: analyze IV Data with the CACTUS algorithm, then compare the results with the ones provided by FBK
NFD/SLD analyses
Packaging/Parametric IV type

## Slide 5: Last update – Results - NFD
Packaging
Parametric

## Slide 6: Last update – Results - SLD
Packaging
Parametric

## Slide 7: Last update – Conclusions
Comparison of CACTUS/FBK analyses on the same data set
  Parametric (wafer level) IV (100 mV step)
  Packaging IV (50 mV step)
Need a finer resolution for grouping SiPMs
  waiting for data with higher resolution* from FBK
  *50 mV step and 10 mV step

## Slide 8: What’s new?
Strips arrived @Fe on December
  Started first Tray (S0001, IV @RoomT)
  Some differences w.r.t. HPK samples
  Geometric mismatch issue: solved but lost 2 SiPMs
Uploaded some data to DB
  Currently working on automatization

## Slide 9: New - Measurements
Started tests with CACTUS (roomT only, no LN2 until tomorrow)
1st test in December 2024 (Tray S0001) ➡ OK
Standby period
Re-calibration of amplification cards and correction factor
2nd test (S0001) last week to check instrumentation ➡ OK
Some differences w.r.t. HPK strips in (following slides)

## Slide 10: New – FBK/HPK differences
Differences between FBK and HPK samples:
Different strip geometry (next slide)
Char in Tray name (S000X), how many strips per tray??
Each strip contains 2 QR codes, which one to use? And how?
Front: 55825
Back:
SMB05825-FBK3T-07/24

## Slide 11: New – issue in mounting procedure
SiPMs detached from the first two strips (one each) due to geometric mismatch with the mounting tool
Solution: change mounting tool

## Slide 12: New - Database
Tested the new script to upload data on HWDB
Uploaded data:
  Delivery: I04, Box: 11, Batch: Fer13, Trays: 40, 41, 43, 44, 46, 47
Currently working to automatize upload procedure with LabVIEW:
Configuration and/or upload procedure will change?
How to check a whole tray in DB?
Additional info besides xlsx tables needed for the upload?
Next step: implement as SubVI for the CACTUS main interface

## Slide 13: Conclusions
Comparison of IV data analysis with FBK
Started measurements (Tray S0001, RoomT)
Started uploading data on DB
QUESTIONS
Measurements
  N strips per tray?
  Front/back QR?
  Trim QR?
Database:
  Procedure will change
  How to check a whole tray?
  Non-xlsx info?

## Slide 14: BACKUP

## Slide 15: Single IV curve – packaging
NFD
SLD

## Slide 16: Single IV curve – parametric (or WL)
NFD
SLD

## Slide 17: Results – VBD distribution
IV curve type
Packaging IV
Parametric IV
Method
NFD
SLD

## Slide 18: Results – VBD distribution
IV curve type
Packaging IV
Parametric IV
Method
NFD
SLD

## Slide 19: Results – VBD distribution – packaging - differences

## Slide 20: Results – VBD distribution
IV curve type
Packaging IV
Parametric IV
Method
NFD
SLD

## Slide 21: Results – VBD distribution
IV curve type
Packaging IV
Parametric IV
Method
NFD
SLD

## Slide 22: Results – VBD distribution – parametric - differences

## Slide 23: Results – VBD distribution - packaging – max

## Slide 24: Results – VBD distribution - parametric – max

## Slide 25: Reverse IV analysis methods
CACTUS
FBK

## Slide 26: 100 mV step, SLD maximum