## Slide 1: Status and plan for ASTA drive laser system
Jinhao Ruan, D. Edstrom Jr., Todd Johnson, J. Santucci

## Slide 2: Outline
System Diagram
System Performance
Next Stage plan
Future upgrade

## Slide 3: System Diagram

## Slide 4: User Interface

## Slide 5: System Performance: Seed Laser

## Slide 6: System Performance: Seed Laser

## Slide 7: System Performance: Seed Laser

## Slide 8: System Performance: Amplifier

## Slide 9: System Performance: UV section

## Slide 10: System Performance: UV section

## Slide 11: System Performance

## Slide 12: Current Status
Laser is up running with 3MHz pulse train and 5Hz repetition frequency
User interface is set up
The longest flat pulse could be easily up to 200~300s. Some extensive tuning (~3-4 hours) would be needed for 500~600s long pulse train with lower chargies.

## Slide 13: Near future plan
Establish 1ms long pulse operation (by the end of this year)
Clean up the longitudinal structure we observed during the initial commissioning
Setup energy calibration and QE monitoring for the CsTe cathode

## Slide 14: Future plan
Upgrade the 3MHz operation to 9 MHz operation
Explore the possibility of running 81.25MHz bunch train to further test the SRF CM.