## Slide 1: Computational Needs for the Growing Field of Neural Engineering
Bryan Howell
PhD Candidate in Biomedical Engineering
CIEMAS 1133
August 27th, 2013

## Slide 2: Central Nervous System (CNS) Electrical Recording Therapies
Recording electrodes extract information from the nervous system by measuring the electrical activity of neural elements (e.g. axons and neurons) residing in the tissue
Brain Machine Interface (BMI)
(single unit recordings)
http://emergingtruth.wordpress.com
http://futurepredictions.com
Brain Computer Interface (BCI)
(electroencephalogram (EEG))
Branner and Normann, 1999
Utah Array
Notes: Neural engineers work with technology that interfaces between the organic and inorganic

## Slide 3: Deep Brain Stimulation is an Effective Therapy for Parkinson’s Disease
http://www.biotele.com/DBS.htm
Deep Brain Stimulation Patterns
http://medical-dictionary.thefreedictionary.com/_/viewer.aspx?path=mosbyCAM&name=500070-fx19.jpg
Regular
Non-regular
Symptoms
Tremor
Rigidity
Akinesia
Postural Instability
Notes: Typically, DBS uses high frequency, “regular” patterns of stimulation. We think that the pattern of stimulation could be exploited to increase the efficacy or efficiency of stimulation.
What can we do for the people (a) for which drugs do not help anymore or (b) for which aren’t responsive to the drugs (e.g., Depression, etc…).

## Slide 4: What is needed to model DBS?
Volume conductor model, model of stimulating electrode in brain tissue
  Finite Element Method (FEM)
Cable models of neural elements (e.g., neurons and axons)
  Finite Difference Method (FDM)
Chaturvedi et al., 2010
McIntyre et al., 2004
A LOT OF TIME!

## Slide 5: Closed-Loop Optimization Using a Numerical Algorithm
Power Efficiency
Selectivity
3. Evaluate Cost Function
Numerical
Algorithm
4. Update Geometry (Repeat)
Solve Volume Conductor Model
2. Stimulate Neural Population
Solve Time
5 s - 1 hr
Solve Time
10 min – 1.5 hr (100 elements)

## Slide 6: Genetic Algorithm Design Steps
DBS Current
Binary Sequence
1 ms
1) Initialize
2) Evaluate
3) Reproduce
4) Best Solution
Outcome Measure
Uniform Crossover

## Slide 7: The Usefulness of (DSCR) Cluster
Efficiency analyses
  Brute force: 600 FEM simulations + 600 (FDM) NEURON simulations
Selectivity analyses
  Genetic algorithm (GA): 10 GA, 20 solutions/ generation, 150 generations
Notes: DSCR = Duke Shared Cluster Resource

## Slide 8: Impact of Cluster
Typical GA Simulation
  100 Generations
  200 Patterns Evaluated in Each Generation
  Approximately 10-30 min/job
    Depends on model complexity (relatively simple)
Chart: Genetic Algorithm Run Time
| Desktop Computer | Cluster
 | 140 | 2
~140 days
~2 days

## Slide 9: The Growing Need for Cluster Computing
The models our lab uses are relatively simplistic
More complex models require more computational resources
  Patient-specific models of brain, spine, and nerves
  Network models that include the phenomenon of adaption and plasticity
FEM Spine Model
~ 30 minutes
NEURON Simulations
~ 60 minutes
Selectivity Analysis
~ 5 years
10 GA
20 solutions / generation
150 generations

## Slide 10: How to make computational neural engineering more…enjoyable
More available nodes (more jobs / unit time)
Better interface between cluster and local machine
  File transfer can be a rate limiting step!
FEM Spine Model
~ 30 minutes
NEURON Simulations
~ 60 minutes
Selectivity Analysis
~ 5 years
10 GA
20 solutions / generation
150 generations
Bug, oversight, error, network down, etc…
http://ilifejourney.wordpress.com

## Slide 11: Aknowledgements
Dr. Warren M. Grill
  Advisor
David Brocker
  GA to optimize
  temporal patterns for DBS
NIH Grant R01-NS040894 and NIH F31-NS079105

## Slide 12: Questions?
Bryan Howell
PhD Candidate in Biomedical Engineering
CIEMAS 1133
August 27th, 2013

## Slide 13: Why do we need neural engineering?
Future developments in pharmacological therapies for central nervous system (CNS) disorders doesn’t look promising
Regardless, pharmacological therapies do not work for everyone

## Slide 14: Why do we need neural engineering?
Future developments in pharmacological therapies for central nervous system (CNS) disorders doesn’t look promising
Regardless, pharmacological therapies do not work for everyone

## Slide 15: CNS Electrical Stimulation Therapies
Implanted electrodes deliver electrical pulses within specific regions of the CNS to modulate neural activity
http://www..wikipedia.com
Spinal Cord Stimulation (SCS)
www.medicine.net.com
Deep Brain Stimulation (DBS)
1.5 mm
www.soniclab.umn.edu
CNS Electrode

## Slide 16: Design Methodology for Non-Regular Temporal Patterns of Stimulation
Complex Biophysical Model
of Relevant Brain Structures
Genetic Algorithm
Couple