## Slide 1: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant

## Slide 2: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
WIPP: Underground transuranic waste interment facility outside Carlsbad, New Mexico
Run by a contractor (Nuclear Waste Partnership) for the U.S. DOE
Mine cut into large salt formation
Also plays host to a small number of experiments requiring low rad backgrounds
EXO-200: Search for neutrinoless double-beta decay in 200 kg of enriched liquid xenon-136
Built at Stanford University
In place at WIPP since 2011
Installed in a portable clean room in a 25x100m cavern (“the drift”)

## Slide 3: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant

## Slide 4: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
Feb. 2014
Aug. 2014

## Slide 5: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
Aug. 2014
  11:30 a.m. 3 workers smelled smoke
  11:32 distorted, loud, and unintelligible message transmitted over mine phones
  11:35 workers evacuate through alternate exit
  11:36 fire alarm sounds
  11:40 workers meet a WIPP miner
  11:42 workers arrive at Waste Hoist

## Slide 6: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
  Mine entries halted
  Direct cause: broken hydraulic line sprayed hydraulic fluid onto hot catalytic converter
  DOE investigation had 35 findings:
    Preventive maintenance
    Emergency preparedness
    Communication
    Control of combustibles
    Culture

## Slide 7: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
  Waste release:
    Area monitor alarms
    TRU detection offsite
    Cause unknown
  EXO entries since accidents:
  14 Feb 2014: Only inspection and photography allowed
  21 August 2014: Only inspection and photography allowed

## Slide 8: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant

## Slide 9: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
  Effects on EXO:
    Chiller failures necessitated Xenon recovery
    Water leak from thermal-store system
    Other system failures

## Slide 10: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant

## Slide 11: Fire Down Below: 2014 Truck Fire and Transuranics Release at the Waste Isolation Pilot Plant
What we learned:
Fate of experiment uncertain
Our remote-operation capabilities were a little weak
Removal of access privileges did the most damage
Take advantage of fungibility of assets with host
Rad-waste mines are poor places for physics experiments