## Slide 1: Hardware Upgrade Summary
Silicon detectors
Other components
    from previous speakers
Run and Preparations
Overall impression:
  heroic and lucky job, because we assembled exp during beamtime
  but stability, consistency compromised
Peter Kammel

## Slide 2: Si Detector Improvements I
Natural setup
  SiL/SiR
    each on separate MSI8
    try to improve TFA shaping or modify that sum is 1-4 only
    prepare attenuator
    modified Osaka flange
  Si16
    on MSI16
    prepare cables
    prepare attenuators
    Accuglas sub-d feedthrough
Needs testing
Who wants to get involved ?
How to organize

## Slide 3: Si Detector Improvements II
Improve noise stability
  Improve feedthrough and cables: high quality BNC cables and lemo
  Mount shielded boxes on flange to protect preamp and feedthroughShort cables
    UW/OU
  Other ideas ?
    In vacuum requires effort, but interesting,
    if we can use sub-d feedthrough
  Build new FADC crate with linear power supply (UW)
  Dedicated test set-up for Si16 with MSI16, noise, cables, dynamic range

## Slide 4: Other system improvements
DAQ
  500 MHz FADC for muSC and other scintillators
    or muSC on TDC
FADC
  Stability of new firmware, better crate, losses under study
Alignment
  Prepare better alignment laser set-up
Ge detector
  In good shape, some puzzles, better measurement position?
Neutron detectors
  Still some work ahead
Scintillators
  Vacuum seals (better gluing or no aluminum pipe), improve strain relief

## Slide 5: Run Planning
PSI will only run 6 months during the next 2 yrs
  Director’s decision to increase funds for new light source construction
piE1 was one of the most competitive areas
I think it will be difficult to get more than 2 weeks in piE1 (request 4?), neutron measurement in piM1? Final MuSun run.
Would 2 weeks be enough ?
Run first in cycle with >2 weeks advanced on site preparations, to be ready ?
Preparation time in area not a problem, if properly scheduled, separating wall