MICE Tracker Simulation and Reconstruction
Chris Heidt
University of California at Riverside
MAP 2014 Winter Meeting

---
Outline
- Overview
- Geometry
- Tracker MC
- Reconstruction
- Preparing for Step IV

---
MICE Scintillating Fiber Tracker Overview
- Upstream and downstream of MICE Absorber
  - Will make the measurement of beam emittance within 0.1%
- Spectrometer Solenoids
  - 4T field
  - Measurement of
    PT and PZ
- Consist of:
  - 5 stations
  - 3 doublet layered planes

---
MICE Scintillating Fiber Tracker Overview
- Doublet Layers
  - Ensures no gaps
  - Fiber diameter: 350 μm
  - Fiber pitch: 427 μm
  - Ganged into groups of seven for readout
  - Position resolution of 470 μm

---
Tracker Geometry
- Two geometry solution
- Step IV Configuration
  Database geometry
  - Pro:
    - Includes everything
    - Good version control
    - Maintained
  - Con:
    - Slow
  - Useful for MC Analysis studies
*Provided by Ryan Bayes, University of Glasgow

---
Tracker Geometry
- Two geometry solution
- “Simulation” Geometry
  - Pro:
    - Quick
  - Minimalistic Step IV geometry
    - Just the facts
  - Useful for code development

---
MC Tracker Geometry
- Position of stations from CMM measurement at Imperial
  - Gives positions relative to axis through first and fifth stations
- Planes built fiber by fiber
- Other material
  - Glue used to hold fibers in place
  - Mylar sheets separating planes
- Not in MC
  - Carbon fiber tracker body
  - Light guides
  - Aluminum connectors
CMM at Imperial

---
Tracker MC: Basics
- Module of MAUS MC (MICE Analysis User Software)
  - Built on GEANT4
  - Python wrapper, scripts in C++, results in ROOT
- Stripped down, very simple
  - GEANT4 determines:
    - Deposited Energy
    - Scattering
  - MAUS records:
    - Fiber number
    - Deposited energy

---
Tracker MC: Reconstruction
- Reconstructed backward to front
  - Energy deposition converted to photoelectrons (PE)
  - PE converted to ADC counts
  - Smearing due to electron showers
  - Converted back to PE
  - This process does not accurately simulate the electronics!
- Digits created
  - Fibers mapped to readout channels
  - PE, tracker, station, plane, and timing information written out
- Design Philosophy
  - At this point the MC should be indistinguishable from data

---
Tracker MC: Noise
- Developed from single tracker station run in May of 2012
  - Ensemble from all channels
Poisson Mean 5.4
Fits in Red

---
Tracker MC

---
Tracker MC: Electronics
Looking at a single channel reveals a hidden truth.
μ1 = 0.219
σ1 = 0.116
μ2 = 0.928
σ2 = 0.150
Diff between pedestal and first signal: 0.708 PE
Correcting:
σ'1 = 0.163
σ'2 = 0.212

---
Tracker MC: Modeling Electronics
- Bin to nearest integer
- Smear and convert to ADC according to previous adjustment figure

---
Tracker MC: Modeling Electronics
Not too much effort to add in individual channel calibrations

---
Tracker Software

---
Reconstruction
Reconstruction
- Digitisation – unpack the real data or digitise MC data
- Clustering – look for adjacent channel hits and group them
- Spacepoints Reconstruction – look for intersecting clusters on different planes
- Pattern Recognition – use a linear least squares circle fit in x-y, and straight line fit in s-z to associate spacepoints with tracks
- Final track fit – use a Kalman filter to smooth and filter the tracks, accounting with multiple coulomb scattering and energy loss

---
Results I: Pattern Recognition
Results I: Pattern Recognition
Helical Pattern Recognition tracks in T2, shown using a Reducer

---
Reconstruction Efficiency
Testing MC truth vs reconstruction
*Provided by Chris Hunt, Imperial College London

---
Preparing for Step IV
- Tracker Alignment
  - What kind of tolerance do we have on tracker position
  - List of geometries drawn up, study will begin soon

---
Preparing for Step IV
- Field Alignment
  - Offsets in magnetic axis
  - Slope in field strength

---
Conclusion
- MC in place ready to test analysis tools
  - Some fine tuning
  - Determine how much time we want to spend modeling electrons
- Tracker reconstruction in good order
  - Needs testing
  - Unravel Kalman black box
- Analysis tools are in the process of being written
- Next few months should show robust and quantitative results of exactly what we can expect from tracker software