## Slide 1: RF Questions
Eric Prebys, FNAL

## Slide 2: RF For Protons
We heard last meeting from Kermit that the cavity being repurposed for IOTA will run on the 4th harmonic for electrons.
The nearest harmonic for electrons would be 55
Unfortunately, the voltage needed to fully bunch the beam at this frequency is rather large
  Assuming dp/p=.001, Eb=4*sEV0=6.4kV
    RF cavity designed for 1 kV
    Only 55 V at h=4 (2 MHz)
Do we need to fully bunch the beam?
  Only need modulation for BPMs

## Slide 3: f=30 MHz, V=1kV
No adiabatic capture